# MINISTRY of ENERGETICS of REPUBLIC of BELARUS

PROJECTING SCIENTIFIC AND RESEARCH REPUBLIC UNITARY ENTERPRISE

# "BELNIPIENERGOPROM"

# DEPARTMENT OF ENERGY OF THE REPUBLIC OF BELARUS

PROJECTING SCIENTIFIC AND RESEARCH REPUBLICAN UNITARY ENTERPRISE

# "BELNIPIENERGOPROM"

JUSTIFICATION OF INVESTMENTS INTO NUCLEAR POWER STATION CONSTRUCTION IN THE REPUBLIC OF BELARUS

BOOK 11

EVALUATION OF IMPACT ON THE ENVIRONMENT

1588-ПЗ-ОИ4

PART 8

EIE REPORT

# Part 8.3. Estimation of the NPP influence on the surrounding environment

EXPLANATORY NOTE

(Edition  of  06.07.2010 )

| Director | А.N.Rykov |
| --- | --- |
| Deputy director | V.V.Bobrov |
| Chief engineer of the project | А.I. Strelkov |

2010

| Designation | Name | Page |
| --- | --- | --- |
|  | 14 Complex estimation of the influence | 357 |
|  | made by the aes on the surrounding |  |
|  | ambience within the life cycle |  |
|  | 14.1 Introduction | 357 |
|  | 14.2 Estimation of the predicted influence of the and | 358 |
|  | geological environment upon the AES objects |  |
|  | of the AES upon the geological environment |  |
|  | 14.3 Estimation of the influence within the period of | 361 |
|  | the atomic power station construction |  |
|  | 14.4 Influence of the AES on the surrounding environment | 364 |
|  | 14.4.1 Forecast of submerging the platform | 364 |
|  | 14.4.2 Water consumption and water outlet | 365 |
|  | for the Byelorussian AES |  |
|  | 14.4.3 Short specification of the influence rendered | 367 |
|  | to the surrface waters |  |
|  | 14.4.4 Forecast of the influence rendered by the Byelorussian AES | 369 |
|  | to the surrface waters |  |
|  | 14.4.4.1 Specification of the sewer | 369 |
|  | 14.4.4.2 Level and speed modes | 369 |
|  | 14.4.4.3 Water balance factors | 372 |
|  | 14.4.4.4 Forecast of heat contamination | 382 |
|  | for the river of Viliya |  |
|  | 14.4.4.5 Forecast for changing the quality of the water | 385 |
|  | 14.4.5 Preliminary forecast for probability of the | 390 |
|  | biological hindrances in the system of water of |  |
|  | water consumption and water sewage of the AES |  |
|  | 14.4.6 Influence of the AES operation in standard | 394 |
|  | mode rendered to structural and |  |
|  | functional specifications of water ecosystems |  |
|  | 14.5 Radiation influence | 396 |
|  | 14.5.1 Specification of radioactive surge and | 396 |
|  | tapping of sewage under normal |  |
|  | exploitation |  |
|  | 14.5.2 Radiation influence on agro-ecological | 397 |
|  | systems in the mode of normal exploitation |  |
|  | 14.5.2.1 General principles of forecast | 397 |
|  | calculations for contents of radio nuclides |  |
|  | in composition of agro-ecological systems |  |
|  | 14.5.2.2 Forecast for contents of radio nuclides | 398 |
|  | under standard radioactive fallouts |  |
|  | 14.5.2.3 Action of ionizing irradiation on agricultural | 399 |
|  | plants and cattle |  |
|  | 14.5.3 Emergency surges | 400 |
|  | 14.5.3.1 Calculations of density for pollution | 403 |
|  | under the undesigned emergency. |  |
|  | Reference data |  |
|  | 14.5.3.2 Scenario for pollution of small area | 406 |
|  | 14.5.3.3 Scenario for pollution of large area | 408 |
|  | 14.5.3.4 Estimation of possible radio nuclide | 410 |
|  | pollution for water streams |  |
|  | 14.5.3.5 Estimation of possible radio nuclide | 412 |
|  | pollution for water reservoirs |  |
|  | 14.5.3.6 Forecast for contents of radio nuclides | 414 |
|  | in sorts of agricultural products under |  |
|  | maximum projected and undesigned emergency |  |
|  | 14.5.3.7 Action of ionizing irradiation on agricultural | 422 |
|  | plants and cattle under emergency situations |  |
|  | 14.5.3.8 Levels of pollution with radio nuclide Cs-137 | 424 |
|  | of various components in the lake of ecological |  |
|  | systems under maximum projected and |  |
|  | undesigned emergency |  |
|  | 14.5.4 Expected doses of irradiation for the | 427 |
|  | population under maximum project emergency |  |
|  | at the energy block |  |
|  | 14.5.4.1 General provisions | 427 |
|  | 14.5.4.2 The calculation results for doses of | 430 |
|  | irradiation over the population under maximum |  |
|  | projected emergency |  |
|  | 14.5.4.3 Dose of internal irradiation over the population | 439 |
|  | at peroral delivery of radio nuclides under |  |
|  | maximum project emergency |  |
|  | 14.5.5 Expected doses for irradiation over the | 439 |
|  | population under the undesigned emergency |  |
|  | at the energy block |  |
|  | 14.5.5.1 General provisions | 439 |
|  | 14.5.5.2 Results of calculations for doses of | 440 |
|  | irradiation over the population under |  |
|  | undesigned emergency |  |
|  | 14.5.5.3 Doses of internal irradiation over the | 447 |
|  | population at peroral delivery of radio |  |
|  | nuclides under undesigned emergency |  |
|  | 14.5.5.4 Contribution from various constituents into | 452 |
|  | the total effective dose of irradiation |  |
|  | over the population |  |
|  | 14.6 Summary | 453 |
|  | 14.6.1 Geological external natural | 453 |
|  | factors |  |
|  | 14.6.2 Influence on the surface waters | 454 |
|  | 14.6.3 Forecast for possible radiation pollution | 457 |
|  | of underground waters |  |
|  | 14.6.4 Influence AES on structural и functional | 460 |
|  | specifications watersных ecosystems |  |
|  | 14.6.5 Influence rendered by the AES to the agricultural ecological systems | 462 |
|  | 14.6.6 Influence of the AES over the population | 464 |
|  | 15 Forecast for transborder | 465 |
|  | influence from the byelorussian aes |  |
|  | 15.1 General provisions | 465 |
|  | 15.2 Specification of the region in | 465 |
|  | transborder context | 468 |
|  | 15.3 Model for calculation, the initial data |  |
|  | and the results of estimation | 470 |
|  | 15.4 Lithuanian Republic |  |
|  | 15.4.1 Surrface waters | 472 |
|  | 15.4.2 Underground waters | 473 |
|  | 15.4.3 Radioactive pollution of the territory | 476 |
|  | at undesigned emergency |  |
|  | 15.4.4 Estimation of radiation influence rendered | 479 |
|  | by the Byelorussian AES to the population |  |
|  | 15.5 Poland | 482 |
|  | 15.6 Austria | 485 |
|  | 15.7 Republic of Latvia | 487 |
|  | 15.8 Ukraine | 488 |
|  | 15.9 Russian Federation | 490 |
|  | 16 Ecological results of the ovos | 490 |
|  | 17 Measures for protection of the | 492 |
|  | surrounding environment |  |
|  | 18 Proposals on organizing the program | 498 |
|  | for ecological monitoring over |  |
|  | 18.1 General provisions | 498 |
|  | 18.2 Specifically protected natural | 499 |
|  | territories |  |
|  | 18.3 Organizing structure of ecological monitoring | 505 |
|  | 19 Summaries of non- technical character | 511 |
|  | 20 List of reference normative | 514 |
|  | documents and literature |  |
|  | 21 List of adopted abbreviations | 526 |

14  COMPLEX ESTIMATION of the INFLUENCE  made  by

the NPP ON  the SURROUNDING AMBIENCE  within

the LIFE CYCLE

14.1 Introduction

The ecological concepts of nucleus energy are founded on analysis of the generalized information  about preservation of ambience surrounding  the NPP, behavior  of polluting materials in ambience surrounding  the NPP  and response of ecological systems in natural ambience surrounding  the NPP  for the influence, accompanying  the NPP operation. These concepts  mean the following:

- the  NPP -  is a complex, representing  by itself  namely the NPP, its auxiliary and building organizations and enterprises,  the city (the village)  for power engineering specialists with institutions and enterprises for its public-and-domestic provision;

-  the NPP – is a source  for four types of  influence rendered  to the quality of living conditions  for  the population and the  natural environment, as follows: radiation, chemical, heat and  that, which is connected with urbanization of the region and performance of  building works;

- under normal operation of the NPP the population, and equally its natural environment are absolutely protected from radiation influence rendered by the NPP,  but at breach  of standard mode of operation  the radiation influences may become the main type of the  influence;

- the  main type of the  influence rendered by the  orderly working NPP on  the water ecological systems is  heat influence i.e. escape  of the excess  heat worked out by the  NPP into water reservoir;

- the  main type of the  influence  rendered to the overland ecological systems is the  influences, accompanying building works, urbanization  of the region and possibly chemical influence;

- in  the region  of the NPP there  exist critical groups of the population in relation to  the NPP influence, and equally critical  biocoenosis, critical landscapes and landscape  interfacing, critical types of  plants and cattle;

- in  the region  of the NPP there are  no  both  as synergetic, and so protection effects of the  influence, however there may  reveal itself the effect of  polluting materials  accumulation,  which consequences  due to their mutual  direction may summarize.

Naturally, for estimation of admissibility for additional anthropogenesis influences ( loads) it is  necessary to know, what they may be both  as during construction, and  so within the NPP functioning. The most reliable information about this  may be literary data about  the loads, accompanying construction and operation of  the analogues AE stations.  At estimation of the possibility to use this information  one   shall come from the fact that  the future NPP is certainly  the source  of small influence both on the natural objects, and  so on the individuals from  the population. To perform such estimation there is provided  the OVOS type procedure. The purpose of this action   is  to get support from the public, local organs, specialists and scientists to  the proposal for  building  the NPP on the territory of this region. This is not a  simple  action, it must be conducted at high professional level, and  the remarks  and proposals, made by the participants of the readings  on provision of  the NPP ecological safety must be taken into account at development  of the following motivating materials, ecological requirements  laid to  the project and  the  NPP exploitation.

14.2 Estimation of the  predicted influence of the geological

environment upon  the NPP objects and  of the  NPP upon  the

geological environment

The degree of stability for the geological environment, its characteristics predestine the possibility of the geological environment influence on  the NPP objects, that is  stipulate safety  for its exploitation. In its turn  the NPP may render technogenic influence upon  the geological environment; under  the determined combination of technogenic loads this influence may be either negative in the event of insufficient stability (vulnerability) of the geological environment, or positive, that is  raising stability for the  geological environment.

Possible influence of the geological environment on  the NPP objects is  stipulated by  presence and combination  of the natural geological and natural-technogenic factors, rendering external influence upon  the  NPP constructions and  being  considered as external natural factors (VPF). The level  of the VPF  influence upon stability of  buildings and construction elements depend on  the characteristics and stability of the geological environment. Under the influence  of  technogenic factors  it is  possible  to make changes for  some external natural factors (VPF),  moreover, these changes may cause by  themselves both  as deterioration,  so improvement  of the geological environment characteristics in active zone, where  the foundations of the  AES buildings are laid down.

The  inherent  characteristics of the geological environment within  the NPP zone being thirty kilometres wide, are not able to render  the VPF influence upon  the NPP objects .

In Table 121  there are  laid down  the  list  and analysis  of the VPF geological environment,  the degree their investigation, as well as  the possibility of their changes under  the influence  of  technogenic effect,  and consequences  of these  changes.

As a whole the  geological environment of the NPP platform is characterized by sufficient stability,  and in this connection  it does not render  negative influence upon operation of the NPP construction elements.

During construction and exploitation  of the NPP the geological environment will be subjected to  the  influence of different  factors, among which  it  is   necessary to note the  following:

-  redistribution of the loads under vertical planning of the industrial  site, steady-state loads on thick mass of the ground from the weight of  buildings and construction elements, and dynamic  loads – those, which are connected  with functioning of machines, mechanisms and, the most important,  of turbo-alternators;

-  changes of  hydro-geological conditions, change  of  the soil durability and deformation characteristics  as the  result of moistening.

The main factors, determining  the influence  of the NPP on  the geological environment within the accident-free mode of  exploitation, possible negative consequences and actions, removing negative consequences, are provided in Table 121.

On  the platform  there exist  conditions for development  of the surface submerging  under technogenic drains or  at breach of the surface sewer. Submerging  is conditioned  by disposition beside  the surface of the land relatively to the  compressed morainal sandy loams with frequent layers and lenses of sand. Sands have different granulometric composition and filtration properties. Spreading and power of the lenses  are  very different, regularities are not determined. In this connection submerging  may  be local, within the  area of  separate buildings or on the whole platform.

Submerging  at the account of raising the level  for the first water carrying  horizon is hardly probable at preservation  of the unchangeable mode for  the  escape base  - the  rivers of Vilya, Gozovka, Oshmyanka.

Table 121 - External natural geological and natural technogenic

factors  (ВПФ- external natural factors), their changing

under  technogenic influence  of the NPP (within the limits

of  the NPP area)

| The list of external natural factors |  | changing of external natural factors | external natural factors, |
| --- | --- | --- | --- |
|  | The degree of study | under technogenic influence | influencing upon safety |
|  |  | possibility | consequences |  |
| 1 Seismic activity | + | - | - | + |
| 2 Tectonics |  |  |  |  |
| 2.1 Presence of tectonically active breaks | + | absent |
| 2.2 Presence powerfully dislocated sorts, complicated with explosive breaches of tapping and shift nature | absent |
| 2.3 Mud vulcanizing | absent |
| 3 Geomorphologic conditions |  |  |  |  |
| 3.1 Quantity of geomorphologic elements | + | - | - | - |
| 3.2 Separation of relief | + | + | Conditions improved | - |
| 3.3 Gradient of the surface | + | + | Conditions improved | - |
| 3.4 Presence of steep declivity | absent |
| 3.5 Presence of ravines, lakes | absent |
| 3.6 Presence marshy areas | absent |
| 4 Disadvantageous physical-geological processes |  |  |  |  |
| 4.1 Karst type ( collapses, subsiding surfaces) | absent |
| 4.2 Suffosion-karst type ( decompaction soils) | absent |
| 4.3 Technogenic karst | absent |
| 4.4 Erosion | absent |
| 4.5 Gravitation slopes (screes, collapses, mud flows, landslips, protruding deformations, folded deformations) | absent |
| 4.6 Ravine creation | absent |
| 4.7 Marshy areas | absent |
| 5 Geological constructions |  |  |  |  |
| 5.1 Conditions of the soil laying down | + | - | - | - |
| The list of external natural factors |  | changing of external natural factors | external natural factors, |
|  | The degree of study | under technogenic influence | Influencing upon safety |
|  |  | possibility | consequences |  |
| 5.2 Lythological composition of soil at the basis | + | - | - | - |
| 6 Specifications and properties of the soil |  |  |  |  |
| 6.1 Engineering-geological elements (IGE) of quarterly soils |  |  |  |  |
| 6.1.1 Degree to homogeneity on genesis | + | - | - - | - |
| 6.1.2 Ditto according to the age | + | - |  | - |
| 6.1.7 dynamic properties | - | + | dilution | + |
| 6.1.8 filtration properties | + | - | - | - |
| 6.2 Presense of specific ground |  |  |  |  |
| 6.2.1 weak, settling, swelling, filled with salt and other | absent |
| 6.2.2 having karst natute | absent |
| 7 Actions for technical melioration of soils | At present stage of study there is no need |
| 8 Hydrogeological conditions |  |  |  |  |
| 8.1 quantity water carrying horisons | + | + | possible change of hydrogeological conditions at forming of technogenic horison | - |
| 8.2 level of ground waters (LGW) | + | + |  | - |
| 8.3 direction,velocity of ground waters motion | + | - | - | - |
| 8.4 hydraulic connection with surface waters | + | - | - | - |
| 8.5 area for unloading underground waters | + | - | - | - |
| 8.6 area of feeding underground waters | + | - | - | - |
| 8.7 temperature of underground waters | + | + | Temperature rise and change of chemical composition | - |
| 8.8 chemical composition and activity | + | + |  | + |
| 8.9 Protection of the water carrying horisons | + | - | - | - |
| 9 Submerging of the area |  |  |  |  |
| 9.1 speading of support at high waters | + | - | - | - |
| 9.2 leakage from water carrying communications | + | + | change of hydro geological conditions and submerging | - |
| 9.3 infiltration of atmospheric precipitations | + | + |  | - |
| 9.4 potential possibility of submerging | + | + | is present | - |
| The list of external natural factors |  | changing of external natural factors | external natural factors, |
|  | The degree of study | under technogenic influence | Influencing upon safety |
|  |  | possibility | consequences |  |
| 10 Technogenic factors |  |
| 10.1 presense worked out territories | absent |
| 10.2 presense of oil and gas open works | absent |
| 10.3 presense of pumpimg hydrotechnical constructions | absent |
| 10.4 creation of water reservoir for cooling | absent |
| 10.5 presense of water extraction for underground waters close under the platform of the AES | absent |
| Remarks: Table is filled in the following manner: а) into column 2: + ВПФ suffisiently studied, - ВПФ not suffisiently studied; b) into column 3: + changing ВПФ are possiblr, - changing ВПФ is impossible; c) into column 4: - consequences absent; d) into column 5: + ВПФ influence upon safety, - ВПФ do not influence upon safety; e) absent - ВПФ at the platform of the AES dot not reveal themselves. |

14.3 Estimation of the influence within the period  of  the

atomic power station construction

The NPP construction comprises in itself different stages: earthworks, construction of the block(blocks), works for  installation and montage of the equipment, starting- and-adjustment works, commissioning and etc. As the  result of conducting the  works  at the  present stages there  will  be inevitably created non- radiation waste in the form of building rubbish, waste products from the packing material, sanitary waste of the working personnel, sewers, polluted with  oil products and so  on.

At the first stage  of  the byelorussian NPP construction  there will is executed big volume of  earthworks. The depth of the construction site  for the byelorussian  NPP will be from 8 to 16 meters. The extracted  ground will be removed to the  designed damp for ground, located near the platform. The amount of the excavated ground will be within 850 000 m3 for one block  of the NPP, and 1 400 000 m3 for two blocks.  Certain amount of  the excavated ground will be returned to  the construction site  of the byelorussian NPP , but  the rest  of the ground will remain for  temporary storage at  the damp for ground.

Within the  process of  planning the territory,  removal of the earth masses, at the storehouses for  inert materials there is taking place pollution of the atmosphere. However this possesses local and short-time nature, and with provision for applicable action on dust pollution suppression, eventually, does not bring  changes to  the condition  of the surrounding  environment.

The enterprises  of the  construction base for  production of concrete, concrete solution, assemblies from reinforced concrete  are  also  the  source of dust pollution.

Dust suppression is realized at the account of  installations being  cyclone-dust separators, filters in  the systems of pneumatic transport and suction apparatus, installation of  ventilated local covertures in  the places for overloading the fillers, moistening  of opened storehouses for  fillers  and roads within the summer time.

The enterprises for fabrication  of metal constructions,  pipe nodes with performance of works for  painting, counter corrosion, chemical protection  are the  pollution  source with  welding aerosols,  manganese  oxides, vapors of  solvents, acids and alkali. For reduction of  harmful materials concentration on the  worker places and  of surge into the  atmosphere there  is provided local ventilation and, if required, cleaning of the surge to the  level of maximum permissible concentration.

The asphalt-concrete  plant is the source of surge with the burned out oil products  and dust.  Reduction of  surge  with these material is reached by installation of  cyclone-dust separators, high temperature  fireboxes for full incineration of  technological fuel and  a smokestack, providing necessary height and diluting  of the surge.

The enterprises of the motor transport, building machines and mechanisms deposit, basically, oxide of carbon, oxides of nitrogen and sulphur, aerosols of lead, hydrocarbons and other materials.

Reduction of  the surge is reached to account of the optimum scheme for motion of  the transport and machines,  by regulation of the engines for achievement of  normative surge  factors.

All  the afore-mentioned objects, polluting  the atmosphere, are found within  the construction base and industrial site and their influence, including noise, are not beyond the scope of territory stipulated for construction  of the NPP and do not exceed permissible values.

The main harmful materials, being  thrown into the  atmosphere, are:

-  dioxide of the nitrogen;

- benzene;

-  oxide of carbon;

- phenol;

-  formaldehyde;

- dust, and others.

Maximum contents of harmful admixtures in  the point of the surge according to similar construction  sites will form approximately:

- 0.45 MPC for phenol + formaldehyde;

- 0.5 MPC for dioxide of the nitrogen + carbon + formaldehyde.

The rest materials - vastly below  the MPC.

The irrevocable consumption of water for the necessities  of the construction  are minimal. For  treatment of the sewages  there are provided reservoirs and pits – settling basins, local treatment  construction elements. After treatment  the sewers enter into the  system  of circulating water  supply.

Maximum intensity of the motor vehicles and mechanism motion is not more than 40 - 60 machines per hour. The noise level  outside the industrial site and at a distance from automobile roads will not  exceed  the permissible  value - 60 dBА.

The stage for  assembling the equipment is connected with formation of  considerable  volume of  hard waste products, usually consisting of building and domestic  waste. The type and predicted amount of waste materials  at the present stage  is  provided in Table 122 [13].

Table 122 -  Type and volume of   common waste products at

the stage  of construction

| Sort of waste | 1 reactor | 2 reactor |
| --- | --- | --- |
| Paper | Total quantity: 14500 t from them 1000-2000 t are not subjected to further usage ( the lower limit) Approximate maximum quantity of waste 385 t/ month | Total quantity: 27000 t from them 2000-4000 t are not subjected to further usage ( the lower limit) Approximate maximum quantity of waste 740 t/ month |
| Glass |  |  |
| Waste of the packing |  |  |
| Metal |  |  |
| Waste of the electronics |  |  |
| Waste of buses |  |  |
| Disused transport |  |  |
| Sediments of sewage waters |  |  |
| Sediment of concrete |  |  |
| Leaden batteries |  |  |
| Polluted soil |  |  |

The exact amount, characteristics and  the volumes of  waste materials may be determined after  the project  of the  NPP has been chosen, the architectural project of the  byelorussian NPP has been developed, the suppliers of the equipment  for the NPP have been selected.

Considering that  the period  of construction will occupy 6-8 years, the  maximum annual production  of hard waste materials will be reached closer by the end of the first year and during the second year  of construction, then it will slowly and constantly decrease [13].

Within  the  period  of the NPP construction  there  inevitably appears negative influence on the  surrounding ambience. However on the water ecological systems  the influence of the building works practically will not be rendered since all water reservoirs and water streams are removed from  the construction site  by  a significant distance. The nearest river to  the worksite Viliya runs at a distance of  6 km. Provided that  by the project  of construction  there will be  provided  rectification  constructions and systems for circulating water-supply, minimizing unset of the sewages into the hydrographic network, dust suppression at  execution of  building works and other nature preservation measures,  the process  of the NPP construction must not render any observable negative influence on  the water ecological systems.

A component part  of  the atomic station construction  is also building of electric power  lines. When making choice of their routes one must  take into account ecological value of  natural complexes in the  region.  The specification of the considered region is  presence  within its limits  of natural complexes, having considerable and   general  national importance for conservation  of biological and landscape variety. They are  included into the composition of the national ecological  network created on  the territory Belarus.

Within the  borders  of 30-km zone enter all elements of national ecological network  of  Belarus -  ecological kernels, ecological corridors and buffer zones. As ecological kernel  of the European level stands the national park "Narochanskiy" with adjoining to  it  reserve  platform of republican importance "Sorochanskie lakes".  The lands adjoining to these objects form a buffer zone  for the ecological kernel.

The function of the ecological corridor  is executed by  the  forest massive, situated along  the river Viliya and its inflow -  the river of Oshmyanka. They connect the ecological kernel, being situated on  the Byelorussian side, with natural complexes of  Lithuanian Republic.

Taking into consideration  the need to preserve  the wholeness  of the elements of the  national ecological network, located within  the 30-km zone,  the choice of the routes  for the  electric power lines from the NPP there must be  conducted in such manner, so as not to allow  fragmentation of  large natural  complexes, being  the  component parts of the  ecological network.

As a whole, the stage of the NPP construction  stands as the most significant from the standpoint of the  influence rendered to the  natural environment. Herewith  the main changes  for the    landscape will occur only  at  the  construction site  and in the neighborhood. They will not cause any essential disadvantageous ecological consequences since  the landscapes, which will be  subjected to changes, have no high ecological value. For natural ecological systems, which are located  at a distance from  the  platform,  the  danger  is  presented  not  by conduct of the building works on it, but by laying of the routes  for the electric power lines.  It is necessary to make project of them with  passing-by  natural complexes being significant for conservation biological and landscape variety.

Within the  territory, adjoining to  the platform and along the automobile roads,  there will increase chemical soiling  of the atmospheric air, ground and water.  However, at observance  of the corresponding  nature  preservation actions, it will not  present  high intensity and will not render the negative influence upon  the natural ecological systems. Tо the most risk of  contamination  there  will be  subjected  small rivers Gozovka and Polpa. For them  there must be realized  water  preservation measures.

Ay the stage of construction and  while  exploiting the NPP  in  the region there will occur increase  of the population amount. This will bring  to  reinforcement of recreation loads on the  natural ecological systems. Possibly there  will  take place   rubbish accumulation,   digression of  vegetation, increasing of  fire danger in wood. For prevention of the disadvantageous changes for the ecological systems there  may be needed  arrangement  of additional  rest objects  within  the nature with their corresponding  equipment near the  places of  residence and labor activity of the people.  Besides there  will be necessary some  measures  for  intensifying   control over observance  of the stipulated mode for  nature exploitation.

14.4 Influence of the  NPP on the  surrounding environment

14.4.1 Forecast  for  submerging the  platform

The calculation  of possible submerging is executed according to the scheme of  unlimited water carrying layer for the  event of the additional infiltration arrival from  the round  system of the sources with constant intensity within the time, under the following conditions (See the Table 123):

- the  radius of the round system of the  technogenic  feeding source  (r0) is  equal  to  the radius of the circle , being equivalent by the  area to the accommodation platform of one NPP reactor, its  area being 0.56 km2, and is 422 m;

-  the  calculated  time for the NPP exploitation is fixed  being equal  to 5, 25, 60 years;

- the  average (efficient) power of  waterless  end-moraine   deposition is equal to : 2.65 m (at Wmin  = 6.8 · 10-4  m/day) and 20.0 m (at  Wmax = 5.12 ∙ 10-3   m/day);

- the  border of spreading dome technogenic horizon (the верхоwatersки) R(t) is defined by selection on dependencies:

.                              (1)

- the  calculation of the maximum ridge rise at spreading  of  the  technogenic water  carrying  horizon  (the high waters) (Δh)  is executed according to the formula:

,                (2)

where r -  is the  distance to the centre of the circular platform on which  there is realized technogenic  infiltration from the  point, in which  there is defined  the  water level  rise,  the rest of the  parameters remaining the  same.

- by the  calculation  there is defined maximum possible rise of the level  for  the technogenic water  carrying  horizon (the high waters)  in the centre of the circular platform for  r = r0.

Table 123 - Value of the  rise  for  the technogenic water  carrying

horizon level according to the results of  preliminary

calculation

| Period for exploitation of the AES, years | Intensity of technogenic infiltration feeding, Wmin = 6,8∙10-4 m/day | Intensity technogenic infiltration feeding, Wmax = 5,12∙10-3 m/day |
| --- | --- | --- |
|  | R(t), м | Δh, м | R(t), м | Δh, м |
| 5,0 | 585 | 2,99 | 790 | 11,3 |
| 25,0 | 975 | 4,9 | 1500 | 17,6 |
| 60,0 | 1440 | 6,9 | 2300 | 20,8 |

Maximum ridge rise at spreading  of  the  technogenic water    carrying  horizon within the accounting period (60 years)  for  exploitation of one byelorussian NPP reactor will form from 6.9 to 20.8 m.  The ridge radius at spreading of the  technogenic water carrying  horizon (the high waters) may form from 1.44 to 2.3 km.

The results  of  predicted analytical calculations are preliminary data and will be elaborated at the following stages of  performing the studies, including  the method  of  mathematical model making.

14.4.2  Water consumption  and  water  outlet  for  the  byelorussian NPP

At development  of preliminary byelorussian NPP OVOS  it was admitted that the  whole volume of water, required for production water-supply  at the byelorussian NPP being calculated  as 1.27 m3/sec per one EB (2.54 m3/sec  per 2 EB) will be completely used - irrevocable water consumption corresponds to  the water  taking out.

After revision  of   decisions  made before the  project with usage  of the data  received from the JSC "SANKT-PETERSBURG Atomenergoproekt" on the grounds of balance  for  water consumption and  water outlet at the  byelorussian NPP with provision for irrevocable water consumption  ( See the Table 124)  it is received that  the necessary need for production  of water-supply for the  byelorussian NPP per 1  energy  block  (1 EB) depending on  the time of the year form from 0.95 m3/sec in winter to 1,39 m3/sec  in summer (1.8-2.78 m3/sec per  2 EB). At  that the amounts  of water outlet for the  worked out technical sewages form per 1 EB from 0,48 m3/sec   in winter – to 0.69 m3/sec   in  summer (0.96-1.38 m3/sec per  2 EB).

Table 124 -  General specifications  for production (technical)

water-supply and outlet of  technical sewages at the

byelorussian NPP

| Name | Months | average | Maximum |
| --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  |
| Water consumption (1 EB), m3/ hour |
| Total per 1 EB | 3431 | 3447 | 3719 | 4182 | 4643 | 4876 | 5013 | 4955 | 4642 | 4258 | 3889 | 3594 | 4221 | 5013 |
| Total per 2 EB | 6862 | 6894 | 7438 | 8364 | 9286 | 9752 | 10026 | 9910 | 9284 | 8516 | 7778 | 7188 | 8442 | 10026 |
| Water sewage (1 EB), m3/hour |
| Blowing through the reverse system РА with с cooling towers | 1572 | 1587 | 1707 | 1917 | 2127 | 2247 | 2322 | 2277 | 2157 | 1962 | 1785 | 1647 | 1942 | 2322 |
| Mineralized waters from a water preparing installation | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 |
| Slam waters from a water preparing installation | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 |
| Total 1 EB | 1725 | 1740 | 1860 | 2070 | 2280 | 2400 | 2475 | 2430 | 2310 | 2115 | 1938 | 1800 | 2095 | 2475 |
| Total 2 EB | 3450 | 3480 | 3720 | 4140 | 4560 | 4800 | 4950 | 4860 | 4620 | 4230 | 3876 | 3600 | 4190 | 4950 |
| Irrevocable water consumption (1 EB), m3/hour |
| Filling of losses in river waters by means of the cooling tower | 1503 | 1504 | 1656 | 1904 | 2150 | 2260 | 2320 | 2308 | 2118 | 1934 | 1746 | 1591 | 1858 | 2320 |
| Feeding of tanks with production and counter fire stock of water | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 |
| Feeding after removal of salt from the spraying pools | 92 | 92 | 92 | 97 | 102 | 105 | 107 | 106 | 103 | 98 | 94 | 92 | 98 | 107 |
| Feeding after removal of salt from the AES contours | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 |
| Total per 1 EB | 1706 | 1707 | 1859 | 2112 | 2363 | 2476 | 2538 | 2525 | 2332 | 2143 | 1951 | 1794 | 2126 | 2538 |
| Total per 2 EB | 3412 | 3414 | 3718 | 4224 | 4726 | 4952 | 5076 | 5050 | 4664 | 4286 | 3902 | 3588 | 4251 | 5076 |

The main technical and economic factors and composition  of objects  within the standard production base  for construction  of the  NPP with reactors of the  VVER  type in a part of the systems  for  water supply and  water  outlet are the  following:

-   the extent  of the water pipe for production water-supply – equals to            10000 m

- the  extent  of the domestic and drinking pipe – up to 7000 m;

-  the extent of the water pipes for  domestic and home sewerage, p.m – up to  6500 m;

-   the expenditure of water:

- drinking water  - 1050 m3/day;

- technical (at construction of the NPP) – up to 800 m3/day;

- technical (at exploitation of the NPP): per one energy block – 0.95 -1.39 m3/sec  (82.08 – 120.1 thousand m3/day ), for two energy blocks  - 1.9 – 2.78 m3/sec  (164. 16 -240.2 thousand m3/day);

- repeatedly -used from treatment  constructions of the domestic, production- downpour and sewers, containing oil products: per one energy block - 41 m3/hour (984 m3/day ); per two energy blocks - 82 m3/hour  (1968 m3/day);

- the technical sewages: per one energy block – 0.48 – 0.69 m3/sec   (41,47-59,62 thousand m3/day), per two energy blocks – 0.96-1.38 m3/sec   (82.94 – 119.24 thousand  m3/day);

- public-home sewages - 1050 m3/day ;

- irrevocable water consumption: per one energy block – 0.47-0.70 m3/sec   (41.61-60.48 thousand  m3/day ), per two energy blocks – 0.94 -1.40 m3/sec   (81.22-120.96 thousand  m3/day).

14.4.3 Short specification of the influence  rendered to the

surface waters

The main type of the influence rendered by the NPP to the on surface waters after commissioning is   changing of  hydrological mode for water objects -  the  sources of  production water-supply at the NPP. To account of  constant  taking out of water  there is changing  the level  and the  speed   mode in  the  river Viliya – the  main source of the production water-supply  at the byelorussian NPP.

In relationship with technical sewages pouring down  into  the river Viliya in  the volume for two energy blocks up to 87.67 million m3/year   with the temperature being  up to  37 °C there may occur heat contamination of the river, as well as its  chemical pollution.

In relationship with pouring down  the  treated  public-home sewages  there  may  occur changing  of the  water quality in  the surface water object-receivers for the rectified sewages (the total amount public-home sewages for  the NPP of the given type per two energy block may  create  up to  0.383  million m3/year ). Herewith for minimization of the negative influence  rendered  by the  sewages  created  at  the  byelorussian NPP to  the  surface waters will  be  used  by the system for  water  treatment.

The source of   the fluid non-radiation unsets formation are production processes, connected with usage of water (the production sewers); economic-home and rain sewers; the amounts of water at blowing  through  the closed (circulating)  system  for  supply with technical waters.

Domestic-home sewers from industrial site of the NPP, construction base, located within  the zone  of the NPP, living village  of the NPP and construction base, located beyond the  zone  of the NPP along the self-flowing networks enter into  the  corresponding  pumping stations  for  pumping over and hereinafter  through the  pressure pipe line are delivered to treatment constructions. The treatment constructions  for  domestic  sewers are  projected for  complete bio logical rectification of  sewers. The  rectified sewers  through the pipe line are conducted into  nearest water reservoir.

The rain waters  from  the  water collecting territory of the administrative building by self flowing  networks are collected  into the  existing pumping station  for  pumping over of  rain sewages possessing capacity  up to 100 m3/hour with  the help of reservoir  being an interfacing  element  with capacity up to 60 m3 and then  they are  pumped over into  the self-flowing networks of the rain sewerage for  the region OVK. At  that the amounts of  repeatedly used,   extracted from  rectifying constructions, domestic, production and  downpour sewers, containing oil products per two energy blockов, constitute  0.72 million  m3/year.

Rain waters  from  the  water collecting  territory of the region OVK and  the energy blocks after weakly intensive rains and  the polluted part of the  sewer from intensive rains through  the separator camera move into the  pumping station  for  pumping over the  rain sewages having capacity up to  100 m3/hour  with  the help of reservoir being an interfacing element and having  capacity  up to 60 m3 and hereinafter – for   clarification into  slime collector. The remaining portion of the rain sewer after  the separation camera  along the  self-flowing collector enters into the  leading channel of the main cooling system. The annual volume of rain sewers, delivered into the  water  reservoir, constitute  66 thousand  m3/year.

Rain waters from the water collection territory  of  the energy blocks   No 1 and  No  2, and rectifying constructions of the  "dirty zone"  by  self-flowing networks are delivered  into the  collector and are conducted into the  leading channel of the main  cooling system.

To  the type of the byelorussian NPP influence on  the surface water pertains possible radio nuclear contamination  of water object, connected with unset  of radioactive materials  from the  station within  the limits of permissible unsets (PU). After radiation check up, realized by the sensors ASRTK in control  tanks,  and  by analysis of the samples, performed  in  the  radio-chemical laboratory, counter-balance waters  of the station are thrown from  the ZKD.  On necessity  the water from  the control tanks enters  for  repeated rectification into the  system for  treatment of  fluid radioactive materials (the trapping waters). Rectification  of trapping waters is produced within the  evaporation  installation. As the  result of treatment  for trapping waters  there is  received  clean condensate, repeatedly used in the  cycle  of the NPP operation, and  the concentrate of the salts (the deep blue remainder), being  the liquid radioactive  remainder.

One of the most essential types of the NPP influence on  the surface water is their emergency  radio nuclear  contamination.

In the event when the remainder of the water in  the  cooling towers (up to 3.785 million m3/year) will enter back into river,  the given factor  is also  an additional source  of the influence on surface waters, since in accompaniment to  the indissoluble hard particles this water will contain the chemicals, added for prevention of  corrosion and littering in the  cooling towers. Usually for these aims there  are used  sulphur-acid inhibitors on  the basis of  chrome.

The source of the influence rendered to  the microclimate change may be  evaporation in  the  cooling towers.  Consumption of water through evaporation in the  cooling towers  for providing the requirements of cooling approaches to 15.14 million m3/year.  Evaporation of water in such amounts may cause formation of mist or ice crust within local scale - this effect  is inherent  to any station, where  there are used the  cooling towers.

14.4.4 Forecast of the influence rendered by the  byelorussian

NPP to the  surface waters

14.4.4.1 Specifications of the sewer

The forecast  made  for  the influence  of the byelorussian NPP  rendered to the  specifications of the sewer is founded on the  maximum volume of the  irrevocable  water consumption of  the station, which for two energy blockов constitutes  120.96 thousand m3/day (1.4 m3/sec) - when extracting for production water supply up to  240.2 thousand m3/day  (2.78 m3/sec) and flowing down  the technical sewages up to 119.24 thousand m3/day  (1.38 m3/sec).

Drain specifications of the river Viliya after tapping water are compared with minimum features, required for  its ecological operation. The main ecological restriction is the  claim about preservation in  the river after tapping of the minimum possible consumption (MPC) not less, than 75 % from minimum  average monthly consumption  of water  being 95 %  of supply within  winter or summer lowest water level (least of them), which under any hydrological condition after tapping must constitute not less, than 22.73 m3/sec [147,148].

The forecast of the influence  rendered by  tapping  water for necessities  of the NPP from  the river  Viliya shows that at accommodation  of two energy blocks and  at expenditure of water in  the river, close to average annual, irrevocable water consumption will not more, than 2.2 % from consumption of water in the river. Under condition of a  year bearing little water and expenditure of water in the river  being close to minimum average daily  of  summer-autumn and winter lowest water level being  95 % VP, per two energy blocks - not more, than 4.6 %. Under conditions of a year bearing very little water and  at expenditure of water in  the river being  close to minimum average daily of  summer-autumn and winter lowest water level  constituting 97 % VP per  two energy blocks - not more, than 6% from consumption of water in the river.

14.4.4.2 Level and  speed modes

The forecast about the changes for  the level and speed modes in the river Viliya at accommodation  of the surface water  extractor and under tapping of water for two energy blocks of the  NPP is executed with use of  the mathematical model for  uneven motion of water [149] and the  reference hydrological and morphometric information  about cross-sections  of the river Viliya, received in the course of the  field experimental studies. The present forecast is executed for different hydrological  conditions: at expenditure of water in the river, close to average annual , minimum  average  monthly and average daily  having 97 % probability of  exceeding within the  period  of summer-autumn lowest water level ( See the Tables 125,126). The forecast example of  changing the level and speed modes for the most disadvantageous event (under minimum average daily  expenditure having  97% probability of  exceeding ) is shown in Figures 88,89.

Maximum reduction level within the area of the river Viliya below the place for accommodation of  water extractor  and tapping of the technical sewages may constitute per two energy blocks and average annual  expenditure of  water up to 3 cm  (up to 1 cm  within transborder range -TR), under minimum expenditure – up to 7 cm  (up to 5 cm in TR). Maximum reduction  of the level within the area between water extraction and tapping of the sewages (2.7 km) at average annual  expenditure of water will constitute up to 4 cm, under minimum expenditure - up to 9 cm.  The specified water level reduction within the area between  the water extraction and tapping will not render any essential negative influence on conditions for transit type of fish, since within this area  there are no  inflows. Also within  the specified area there are  no water extractions  and tapping of water, which stipulates the absence of  negative influence of the water level reduction in the river on the  water usage specifications.

The forecast for the speed mode of the river Viliya at accommodation  of the byelorussian NPP has shown minute  reduction of the current average velocities (maximum – by 0.04 m/seс) within the area of the river below accommodation of water extraction  and unessential change for transborder range.   Accommodation of water extraction  will render small influence on  the speed mode above accommodation of the water  extraction -  maximum increase  of the current average velocities will constitute 0.02 m/seс per  two energy blocks within the area up to 1.5 km upstream of the river.

Table 125 -  Generalization of the forecast for changing the level

mode in the river  Viliya at accommodation  of the

surface water extraction for production water-supply

of the  byelorussian NPP within the area "populated

settlement Malye Sviryanki - populated settlement Muzhily"

| Hydrological conditions/ specifications of the change | At average perenial expenditure of water | At minimum average monthly expenditure by summer-autumn lowest water level | At minimum average daily expenditure by summer-autumn lowest water level |
| --- | --- | --- | --- |
| The depth in the river under natural conditions (maximum within transverse river sections),m | 2,4 – 3,4 | 1,7-2,6 | 1,6-2,3 |
| maximum disposition within the area, having the length 2,7 km (lower than the water extraction till tapping of technical sewage waters from the NPP), m/sec | 0,04 | 0,07 | 0,09 |
| maximum disposition within the rest of the areas, to the border (lower than tapping of technical sewage waters), m | 0,03 | 0,05 | 0,07 |
| Within the transborder range, m | 0,01 | 0,04 | 0,05 |

Table  126 - Generalized forecast for changing  the speed mode  of the river

Viliya  at accommodation  of the  surface water   extraction

for production water supply for the byelorussian NPP

within  the  area  of the « populated settlement Malye Sviryanki -

populated settlement Muzhily"

| Hydrological conditions/ specifications changing | At average perennial expenditure of the water | At minimum average monthly expenditure by summer- autumn lowerest water level | At minimum average daily expenditure by summer- autumn lowerest water level |
| --- | --- | --- | --- |
| Average velocities of the flow (естественные conditions) | 0,5-0,7 | 0,4-0,6 | 0,35-0,55 |
| maximum change within the area lower than the water extraction, m/sec | -0,03 | -0,04 | -0,04 |
| maximum change within the area above the water extraction, m/sec | +0,01 | +0,03 | +0,03 |
| в transborder range, m/sec | -0,005 | -0,01 | -0,015 |

Figure 88 – The results  of forecast for changing  the level mode

(the depth of the stream)  in the river Viliya  at accommodation  of

water  extraction  under expenditure  of waters, being close

to the minimal  average daily summer-autumn lowest water

level with 97% of water consumption

Figure 89 -  Forecasting results  about  the change  in the speed mode for

the river Viliya at accommodation  of water extraction at

expenditure of water being  close to minimum  average daily

within summer-autumn lowest water level  constituting 97%

14.4.4.3 Water balance  factors

The water resources  and  the need for water from the standpoint of  development and accommodation of production facilities  are closely interconnected. The main means of control over the  present condition  of water resources and planning exploitation of water  for  the nearest period and for  different prospects are  water exploitation balances. Water exploitation  balances present  by themselves  the  material of calculation, enabling to compare the  need for water with  the water resources, available on given territory, and are intended for estimation of presence and  the degree of  use for  water resource, planning and decision making for  the  problems of water use and protection  ( See the article 92 Water code of the Republic  of Belarus). The order for  development and registration of  water exploitation balances is fixed by  the technical code of  the stipulated practical  activity                                  ТКП  17.06-03-2008.

For more complete (complex)  estimation of the condition  for  water supply  and  for determination of the influence rendered by one or several large water users to the on water facility  there is used a variety of the accounting balances, standing for comparing  the disposable water resource with  the actual extraction of water. Such type of the balance is used for determination of the possibilities for  exploitation of  water resource  in the river of  Viliya for steady water supply  needed for operation  of the  AES. The algorithms for scheduling the balances  of all types are based on algorithms for scheduling the balances belonging to two main types:  the accounted and the reported  ones.

Into the debit part  of the accounted  water exploitation  balances (WEB)  there are included disposable water resources.

Into the  expenditure part of accounted balances  there are included  the quotas for the volumes of extracted water, specified by  the permits, issued for special water usage. During practical activity for  regulation  of water exploitation the  quotas for the volumes of extracted water  are similar for conditions  of  the average according to water filling year and  the year having  75 %  of the supply. But for conditions of the river flow  having 90 and 95 %  of the supply these quotas may  be decreased by introduction  of  the corresponding corrective factors.

For calculation of water exploitation  balances in common event  there is used  the following basic equation (in  the units of the  water volume per the  accounted time interval):

Wо=Wвс+Wе-МWе+Wизм+Wвх+Wрр-МWвх+Wпд-WUEб-Wпу+МWсбр-Wпер-Wтр+Wсбр     (3)

where Wо -  is water exploitation balance: excess (+) or deficit (-)  of the river water resource within the area or in  a pool;

Wвс -  is  arrival of water from  the above mentioned area within the  river network;

Wе – is the  river flow down, forming within the area  under the natural conditions;

МWе -  are  natural losses of the river flow down  along the  length  of the  river;

Wизм -  the  changes, which have taken place in the river flow down    created  within the  area (in  the pool)  under  the  influence of economic activity on  the water collecting  area (plough and drainage of the lands,  agricultural and forest melioration, fight with erosion, mountain works, urbanizing the  territory);

Wвх – disposal (+) or filling (-) of water reservoirs and ponds  within the area;

Wрр -  change  of  water  spare stock in  the river network  at the expense of   the influx and  flow down fluctuations  occurring   within  the area;

МWвх -  losses of water, related with  processes in the water reservoirs  (additional evaporation, filtering into the  coast and bed, for new objects -  filling  of a dead volume);

Wпд -  supply of water to the area from  other pools or regions (through channel and pipe lines);

Wвх – disposal (+) or filling (-) of water reservoirs and ponds  within the area;

Wрр -  change  of  water  spare stock in  the river network  at the expense of   the influx and  flow down fluctuations  occurring   within  the area;

МWвх -  losses of water, related with  processes in the water reservoirs  (additional evaporation, filtering into the  coast and bed, for new objects -  filling  of a dead volume);

Wпд -  supply of water to the area from  other pools or regions (through channel and pipe lines);

WUEб -  extraction of water from  the river;

Wпу - reduction  of the river  flow down, caused by extraction of the underground waters;

Wсбр -  arrival of  drainage, revocable, mine and other  kinds of water into the  river network within the area  along opened channels and closed collectors or pipe lines;

МWсбр – throwing down   of collected and  drainage waters into the  river network by  the underground  path;

Wпер -  transfer  of water into other pools ( areas);

Wтр -  necessary transit  flowing down (complex tapping) in the locking range for satisfaction of the  water user’s requirements  within  the riverbed  river and  below  along the river flow.

In the absence of reliable reference data separate constituent elements of   water exploitation balance are not taken into account. At present for conditions of the Republic of Belarus this simplification  may  be applied  for the  values Wизм and Wрр, as well as  for МWсбр.

The condition (the sign) water exploitation  balance is defined with provision for accounted supply  aimed to satisfy the  requirements in water (according to the number of   steady years,  made in percent)

The criterion to satisfy the  requirements  of water users is the accounted supply according to the number of   steady years (Рчбл),   calculated in percent on  the formula:

(4)

where N -  is the length of the perennial accounting row,  taken as the  prototype of the future water mode, in years;

m -  is the number  of steady years (having  deficit of water at least in one interval  of the  year).

The supply  according to the number of steady years shows  the probability of the fact,  that  the  need for water on the part of the  water users will be preserved  in  full amounts in Рчбл  number of   the years from 100.

The  state of the water exploitation balance  is   determined  by comparison  of the received supply with  the  prescribed value.

For water transport  it is reasonable to use the factor  of satisfaction  according to the  amount of the steady months ( decades) of the perennial accounting period, which enables to evaluate the  relative length  of steady time intervals. The supply satisfaction  according to the length  of the steady time intervals  is defined by  the formula:

(5)

where M -  is total length of  steady time intervals within  the accounted row;

n - total length  of considered periods within  the year.

For scheduling of water exploitation balance  of the  river Viliya   there  is used information of the Department for  hydrometeorology about  the measured  water tapping within  the range of the populated settlement Mihalishki.

The sewer  of the river  Viliya  has suffered significant changes since 1976 after construction  of Vileysky water reservoir and  from the beginning of   the Vileysky-Minsky water system operation. For the reason  of analysis  over  homogeneity of the sewer rows  the whole period of  observations  over  sewer with  two hydrological posts was divided into 2 parts (before creation  of  the water reservoir  and after it). For each of  them there were determined  the main hydrological specifications, brought together into the  Table 127.

The received  data are indicative of significant divergence  of  the accounted hydrological specifications, determined for the  period before construction  of Vileysky  water reservoir  and after it . At  that the influence  of the water stock reservoir rendered  to the  sewer within  the range  of the  populated settlement Mihalishki turns out to be much lower, in the  consequence of significant lateral inflow between  the ranges of Vileyka and Mihalishki.

Table 127 -  Comparative specification of the accounted values for the

sewer within  different time periods

| Factor | 1949-1975 years. million m3 | 1977-2007 years. million m3 | Value of divergence, million m3 | % divergence |
| --- | --- | --- | --- | --- |
| The river Viliya - Vileyka |
| Average perennial volume of the sewer | 883,0 | 655,9 | 227,1 | 26 |
| Maximum volume of the sewer | 1277,2 | 1088,0 | 189,2 | 15 |
| Minimal volume of the sewer | 567,7 | 444,6 | 123,0 | 22 |
| The river Viliya – Mihalishki |
|  | 1945-1975 years. | 1976-2007 years. |  |  |
| Average perennial volume of the sewer | 2163 | 1895 | 268 | 12 |
| Maximum volume of the sewer | 3154 | 2655 | 499 | 16 |
| Minimal volume of the sewer | 1492 | 1321 | 171 | 11 |

The accounted hydro graphs for the  necessary supply to make  analysis of  water exploitation balance are chosen on empirical curve of supply within  the  period after filling  Vileysky water stock reservoir.

The value  of the established  to the present time influence of  economic activity on  the water collection rendered   to the  water mode, that the studies have shown, is found within  the accuracy of calculation, and that is why  when scheduling the balances is ignored [150].

In all events of  scheduling the balance  there are taken into account either the  attracted underground waters,  being unbound with  the river sewer hydraulically, or used underground waters, influencing on river sewer. In quantitative attitude they are characterized  by  the  data of  statistical  report making.

Within the area  of Vilya below  the Vileysky water stock reservoir  there are  not any other water stock reservoirs. The main parameters of the  ponds, located within  the  water  collector [151], are shown in Table 128.

Table 128 – Specifications of ponds within the  pool  of the river  Viliya

| Small | Average | Large | Total |
| --- | --- | --- | --- |
| quantity | area, hectares | volume, thousand. m3 | quantity | area, hectares | volume, thousand. m3 | quantity | area, hectares | volume, thousand. m3 | quantity | area, hectares | volume, thousand. m3 |
| 66 | 301,2 | 2325,7 | 30 | 489,6 | 7376,8 | 4 | 159,2 | 4734,8 | 100 | 950,0 | 14437,3 |

Excessive   adjustment of the  river sewer within the  considered area  is small, which enables to realize only  its partial perennial  redistribution. In necessary events  the modes of  the ponds operation may be taken into calculation  according to the rules  of seasonal regulation for  the sewer. At calculation of the balance for  the  year  having little water with 95 %  of the  supply they were not taken into account. At calculation of the balance for the  year  having little water with 97 %  of the  supply  there is provided additional arrival of water  at the expense of the sewer  regulation in  the volume of 1.85 million m3 per one month.

Determination of the needs for water was  executed by discovery  according to statistical reporting data   about  exploitation of water according to the form "1-Water (Minpriroda)"  of modern quota for  the  water consumption and water sewage by water users, located within  the  pool  of Viliya above  the supposed accommodation of the  surface water extraction by the  NPP, determination of  sanitary and ecological  tapping, additional losses during  evaporation from the  surfaces  of  ponds and  water stock reservoirs, as well as in estimation of the perspective needs for  water.

The basic level for estimation of  modern conditions for  water consumption is accepted  the year of 2007.  The conducted analysis of materials and their comparison with retrospective factors allows to make a conclusion that they with sufficient degree of accuracy characterize the modern condition  for water consumption and water sewage within  the considered region [152].

On the grounds of these data into calculation of the balance at a modern level  there is  put the  value  of  the water extraction in  the volume of 104.5 million m3 from  the surface natural water sources and 32.76 million m3  from  the underground  sources.

The losses during additional evaporation are taken in  the volume of  1.3 million m3  per annum  with 97 %  of the supply and 0.73 million m3  per annum  with 95 % of the supply.

Minimum necessary tapping is accepted from  the calculation in the  volume   of  75 % from  the minimum average monthly consumption of water  with 95 % supply (22,72 m3/sec) which corresponds to the ecological minimum for conservation  of the river as self-repairing element  of the surrounding environment.

The calculation of the balances are executed  according  to the following variants:

- for  the years  having the accounted supply  for the sewer  with  50%, 75% and 95 %, as well as for  the years  having little water  with 95 % and 97 % supplies per  monthly  value;

-  according to the  calendar daily rows of the sewer.

The performed analysis of the received  results according  to all accounted years is indicative of thу fact,  that removing the sewer from  the river bed at present does not exceed 124 million m3 per annum which constitutes  less 10 % from annual sewer  with 97 % supply above  the populated settlement Mihalishki. Consequently,  any observable influence upon changing  the drain mode  of the river  may not be  rendered.   The growth  of  irrevocable extraction, planned  for perspective,  will not  surpass 10 %  of the sewer  and 95 %  of the supply, which is also found within inaccuracy of  determination  for the  hydrological values. So water exploitation balances per  the years with 50 % and 75 %  from the accounted supply according to the  sewer  are not shown here.

Check up of the  whole calendar hydrological row is indicative of the fact, that as a whole  the perennial transit tapping is fixed in all members of the  hydrological row or  is practically steady (with  the supply p>97 %).  The analysis  executed over the calendar row in daily register ( See the Table 129) enables to calculate the accounted supply according to the number of  steady years (Рчбл):

a) in the event of  the NPP two blocks operation, when  the number  of  years with faults, connected with dissatisfaction of the transit sewer, at least per  one day constitutes 20:

(6)

At  that  the supply  according to duration of steady time intervals is defined by the  formula:

a) in the event of  the NPP two blocks operation,  when the total duration of faulty  period per one  year   constitutes 64 days:

(7)

It must be noted  that  the results  of calculation  for the water exploitation balance and analysis  of the periods, having little water, during which  there may  be violated ecological restrictions in  the river Viliya with provision for production water-supply  of the NPP according to the  calendar row, consisting  62 years (since 1946 to 2007 year), have shown that under extraction of water for two energy blocks  duration of the  deficit periods may constitute at the average three days with average deficit of water  being  296.4 thousand m3.

The exceptions constitute particularly waterless  years of 1950 and 1992, when  the number of  deficit days constituted  accordingly for two energy blocks  - up to 19 days with maximum deficit of water  being  1656.3 thousand m3.  Herewith  the additional extraction of water from  the river during  the specified period has formed not more, than by  1 m3/sec under  the remaining  in  the river consumption after taking away 21.73 m3/sec  (71,7% from  the MDR instead of 75%).

In Tables 130 and 131  there are  shown the  results of  water exploitation balance, calculated according to  the  represented specifications of the  sewer for  the year  having 95 % and 97 % of the  supply as a whole and in monthly consideration for the following conditions:

- the level  of the water exploitation in  the year of  2007 (the line 3);

-   the need for  satisfaction of  the  requirements in water in  the events of  operation  for the  two blocks  of the designed NPP (the line 3.5).

Perennial reliability  of  water supply  to the  consumers is calculated  according to the results of  compiling the water exploitation balances according to monthly  intervals. The result of  water exploitation balance, received for  the year having  95 %  of the supply  for  the  sewer, is indicative of thу fact, that with 100 % warranty  the requirements  of the economy and ecology, including requirements  for delivery of  water for operation of   the NPP 2 blocks, will be  fully satisfied.

Per annum  having 97 %  of supplies on sewer  in the event of necessity for  extraction of water for  the two AES blocks  the  water exploitation balance during individual periods  of specifically waterless year may turn out to be tense.  During  individual months of the year  it will be difficult to bear the  ecological  tapping in  the required  volume. Its maximum reduction  within individual months  may constitute form 6-8%.

Analysis  of the water exploitation balance, executed for waterless years  having 95% and 97% supply per  the year as a whole, is indicative of thу fact,  that  the water exploitation balance  of the river  is positive and provides both  as all utilitarian necessities for extraction of the  river water, and  so  preservation in  the river  of sufficient water volume for ecological aims at accommodation  of two energy blocks when providing the required level  of Vileysky water stock reservoir and without breach of  operation  for Vileysky-Minsky water system.

Taking into consideration transbordering nature  of the river Viliya, there was executed calculation of the additional lateral influx  within the area of the  river from the populated settlement Mihalishki up to  the border with Lithuania. The data are indicative of the fact that increase of consumption  at the expense of the sewer, created at the area, constitutes  per  the   year  being  an average one  for water delivery 5.4 m3/sec, per annum with  95 %  of supply for   the sewer  of 3.9 %, but per annum  with 97 %  of supply – 3.6 m3/sec.  Herewith, the minimum daily sewer increases by 1.3 m3/sec in winter and by 2 m3/sec  in summer.

Table 129 - Analysis  of waterless periods, during which there may be  violated ecological restrictions in the river of  Viliya with provision for production water-supply  of the NPP during extraction of water for two  energy blocks.

| Number of days in the row | year | Deficit of water, m3 |
| --- | --- | --- |
| 1 | 1946 | 2592 |
| 1 | 1948 | 184032 |
| 19 | 1950 | 1656288 |
| 1 | 1961 | 54432 |
| 2 | 1961 | 143424 |
| 2 | 1965 | 506304 |
| 2 | 1972 | 177984 |
| 1 | 1976 | 45792 |
| 1 | 1976 | 28512 |
| 4 | 1976 | 286848 |
| 2 | 1980 | 65664 |
| 1 | 1983 | 11232 |
| 1 | 1985 | 11232 |
| 1 | 1988 | 80352 |
| 16 | 1992 | 1207872 |
| 4 | 1992 | 416448 |
| 1 | 1999 | 11232 |
| 2 | 2002 | 350784 |
| 1 | 2003 | 477792 |
| 1 | 2006 | 209952 |

Generalization  of the calculation results of  the  water exploitation  balances  for the river of Viliya have shown that at accommodation of two energy blocks  of the byelorussian NPP under the general positive balance (sufficiency of  water resources)  the need in use  of Vileysky water stock reservoir for possible covering  of water deficit for its production water supply may appear only in very waterless years (for two energy block  with  supply of  97 % and more) with approximate maximum volume up to 1.66 million m3 and reduction  of the level in water stock reservoir under its exhaustion  being no more than by 10  cm  from the  НПУ level.

Table  130  - Water exploitation balance for the area of the  river Viliya

( the year  of  95 %  water sufficiency),  million  m3

| Items of the balance | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | the year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 Water resouses being at disposal |
| 1.1 The calculated delivery of water to the area | 34 | 33,9 | 70,8 | 49 | 46,9 | 36,3 | 36,7 | 44,8 | 29,3 | 33,8 | 35,2 | 36,4 | 487,1 |
| 1.2 Conditionally recovered sewage, created within the area | 74,8 | 79,6 | 114 | 105 | 82 | 52.6 | 47,2 | 54,7 | 56,7 | 55,5 | 63,7 | 61,9 | 847,7 |
| 1.3 Water sewage (tapping into the water carrying pools) | 1,5 | 1,5 | 1,5 | 1,7 | 1,9 | 1,95 | 2 | 1,9 | 1,77 | 1,5 | 1,5 | 1,5 | 20,22 |
| 1.4 Adjustment of sewage |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TOTAL | 110,3 | 115 | 186,3 | 155,7 | 130,8 | 90,85 | 85,9 | 101,4 | 87,77 | 90,8 | 100,4 | 99,8 | 1355,02 |
| 2 Expendable part |
| 2.1 Extraction of water from the underground sources, hydraulically connected with the river | 1,5 | 1,5 | 1,52 | 1,66 | 1,77 | 1,78 | 1,8 | 1,8 | 1,7 | 1,67 | 1,5 | 1,5 | 19,7 |
| 2.2 Extraction of water from the surface sources | 8 | 8 | 8,2 | 8,6 | 8,7 | 8,8 | 10,1 | 10,1 | 8,9 | 8,6 | 8,5 | 8 | 104,5 |
| 2.3 Total additional evaporation с from the surface of water stock reservoirs and ponds | 0 | 0 | 0 | 0 | 0 | 0,13 | 0,2 | 0,303 | 0,1 | 0 | 0 | 0 | 0,733 |
| 2.4 Ecological tapping | 60,8 | 54,9 | 60,9 | 58,9 | 60,9 | 58,9 | 60,9 | 60,9 | 58,9 | 60,9 | 58,9 | 60,9 | 716,7 |
| TOTAL | 70,3 | 64,4 | 70,62 | 69,16 | 71,37 | 69,61 | 73 | 73,103 | 69,6 | 71,17 | 68,9 | 70,4 | 841,63 |
| 3 Balance | 40 | 50,6 | 115,68 | 86,54 | 59,43 | 21,24 | 12,9 | 28,297 | 18.17 | 19,63 | 31,5 | 29,4 | 513,39 |
| 3.5 Irrevocable water consumption for two blocks of the NPP | 2,54 | 2,29 | 2,76 | 3,04 | 3,52 | 3,57 | 3,78 | 3,76 | 3,36 | 3,19 | 2,81 | 2,67 | 37,28 |
| 3.6 Balance with taking into account operation of two NPP blocks | 37,46 | 48,31 | 112,92 | 83,50 | 55,91 | 17,67 | 9,12 | 24,54 | 14,81 | 16,44 | 28,69 | 26,73 | 476,11 |
| 3.7 Delivery of water for the lower lying area | 98.26 | 103,21 | 173,82 | 142,40 | 116,81 | 76,57 | 70,02 | 85,44 | 73,71 | 77,34 | 87,59 | 87,63 | 1192,81 |

Table  131  - Water exploitation balance for the area of the  river Viliya

( the year  having  97 %  water sufficiency),  million m3

| Items of the balance | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | the year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 Water resources being at disposal |
| 1.1 The calculated delivery of water to the area | 30,6 | 30,51 | 63,72 | 44,1 | 42,21 | 32,67 | 33,03 | 40,32 | 26,37 | 30,42 | 31,65 | 32,7 | 438,3 |
| 1.2 Conditionally recovered sewage, created within the area | 37,26 | 38,72 | 99,4 | 204,78 | 68,43 | 61,64 | 55,87 | 47,94 | 43,2 | 63,88 | 53,25 | 51,83 | 826,2 |
| 1.3 Water sewage (tapping into the water carrying objects) | 1,5 | 1,5 | 1,5 | 1,7 | 1,9 | 1,95 | 2 | 1,9 | 1,77 | 1,5 | 1,5 | 1,5 | 20,22 |
| 1.4 Adjustment of the sewage |  |  |  | -1.85 |  |  |  |  | 1.85 |  |  |  |  |
| TOTAL | 69,36 | 70,73 | 164,62 | 248,73 | 112,54 | 96,26 | 90,9 | 90,16 | 73,19 | 95,8 | 86,4 | 86,03 | 1284,72 |
| 2 Expandable part |
| 2.1 Extraction of waters from the underground sources, hydraulically connected with the river | 1,5 | 1,5 | 1,52 | 1,66 | 1,77 | 1,78 | 1,8 | 1,8 | 1,7 | 1,67 | 1,5 | 1,5 | 19,7 |
| 2.2 Extraction of waters from the surface sources | 8 | 8 | 8,2 | 8,6 | 8,7 | 8,8 | 10,1 | 10,1 | 8,9 | 8,6 | 8,5 | 8 | 104,5 |
| 2.3 Total additional evaporation from the surface water stock reservoirs and ponds | 0 | 0 | 0 | -0,35 | -0,29 | 0,13 | 0,6 | 0,53 | 0,42 | 0,26 | 0 | 0 | 1,3 |
| 2.4 Ecological tapping | 60,8 | 54,9 | 60,9 | 58,9 | 60,9 | 58.9 | 60,9 | 60,9 | 58,9 | 60,9 | 58,9 | 60,9 | 716,7 |
| TOTAL | 70,3 | 64,4 | 70,62 | 68,81 | 71.08 | 69,61 | 73,4 | 73,33 | 69,92 | 71,43 | 68,9 | 70,4 | 842,20 |
| 3 Balance | -0,94 | 6,33 | 94,00 | 179,92 | 41.46 | 26,65 | 17,50 | 16,83 | 3,27 | 24,37 | 17,50 | 15,63 | 442,52 |
| 3.5 Irrevocable water consumption for two blocks of the NPP | 2,54 | 2,29 | 2,76 | 3,04 | 3.52 | 3,57 | 3,78 | 3,76 | 3,36 | 3,19 | 2,81 | 2,67 | 37,28 |
| 3.6 Balance with taking into account operation of two bloc of the ks NPP | -3,48 | 4,04 | 91,24 | 176,88 | 37.94 | 23,08 | 13,72 | 13,07 | -0,09 | 21,18 | 14,69 | 12,96 | 405,24 |
| 3.7 Delivery of water to the lower lying area | 57,32 | 58,94 | 152,14 | 235,78 | 98.84 | 81,98 | 74,62 | 73,97 | 58,81 | 82,08 | 73,59 | 73,86 | 1121,94 |

14.4.4.4 Forecast of  heat contamination  for the river of  Viliya

In relationship with unset of the technical sewages  from the byelorussian NPP into the river of Viliya in volume up to 1.38 m3/sec, which according to  the data  from the JSC "SANKT-PETERSBURG Atomenergoproekt" will have the temperature at   the outlet from  the water conduct into the river of Viliya  equal to 37° С, as well as  will contain various polluting materials - very important becomes the question about estimation  of possible heat and chemical contamination  of the river.

According to Appendix 1 to  the Resolution of the  Ministry of natural resources and protection  for  the surrounding environment of the Republic  of Belarus and  the Ministry of  public health of the Republic  of Belarus from the  8-th of  May, 2007 No  43/42 "About some problems of the water quality standardization  in  fish growing water objects " the  temperature of  water must not increase in contrast with natural temperature of the water object more than by 5 °C  with the general increasing of the temperature no more than up to 20 °C   in summer  time and  no more than by 5  °C  in winter for  the water objects, where  dwell (salmon and sig)sorts  of  fish, and no more than up to 28 °C   in summer and 8 °C  in winter in  the rest  of events.

According to the specified nature protection requirements  there are executed calculations of  possible heat contamination of the  river Viliya below the  place for  unset of the technical sewages with provision for execution of  criterion about not exceeding the temperature of  water in the  river:  in summer time no more than 28 °C; for salmon type of fish - no more than 20 °C  ; in winter - no more than 8°C  for 2 energy blocks for various hydrological  conditions (at average perennial and minimum average daily  97 % ВП expenditure of water). The calculations are executed under maximum unset of the technical sewages with use  of  the Frolov - Rodziller method and recommendations from  Rosgidromet [153]. Herewith   there were used the results of  generalization  for the observed data above the  warming-up mode in the river of  Viliya. At calculations made for  the summer conditions  there was taken maximum registered   average monthly temperature of the water 1 % ВП – 23.8 °C  ; at calculations  executed for salmon sort of fish  there  was taken the  average temperature  of the water for  the period of the spawning (the  months April-May), which constitutes 13.5 °C ; at calculations executed for the  winter  time conditions -  the  minimum temperature of the water – 2.0 °C .

In  the calculation  there were taken into account actual morphometric and hydrological specifications  of the river, including  curvature  of the river, as well as transverse and longitudinal dispersion. In the  result  of the calculations there  was defined  the distance up to  the  control range  of practically full mixing of the river and sewage waters, as well as sharing the temperature of the water within  the zone of  mixing  the river and sewage waters  at the specified area of water and estimation of the zones  having  heat contamination.  In  the generalized manner the results of calculation are provided in Table 132. The detailed results  of the calculation are provided in Figures 90, 91.

Forecast for temperature  pollution  in the river  Viliya  after tapping of the  technical sewage waters from the  byelorussian NPP with  temperature of  37 оС showed temperature pollution  of the  river Viliya:

- within the area up to 0.6 km  at the  period of spring-autumn and  up to 1.1 km during winter period   at expenditure of water in the  river,  close to average perennial;

- within the area up to  7 km at the   period of spring-autumn and  up to  13 km during winter period at minimum average daily expenditure of waters in the  river     97 % ВП (conditions  of  heavy lack of water).

In consequence  with considerable temperature pollution of the river  Viliya as the  as the result of tapping of technical sewage waters from the  byelorussian NPP for execution of nature protection requirements till tapping of technical sewage waters into the river of Viliya there are recommended engineering constructions  for their  cooling: at summer period –up to 25 оС, in winter – up to 10 оС. In this event  the  forecast for the zone  having  heat pollution is estimated not more than 500 m (in average 100-150 m), which correspoinds  to the requirements  for the quality of  waters for   fish growing water objects  located lower  than  tapping down  of  sewage waters.

According to Item 7  of “Instructions about  the order of  stipulation for  qualification standards permissible for  tapping of chemical and other materials into water objects”, confirmed by  the Resolution of the Ministry  for natural resources and protection  of the surrounding environment  in the Republics of Belarus 29.04.2008, No  43 - "during tapping of polluting materials from the sewage waters into fish growing water streams the  standards for  the quality  of water streams must be provided within the  whole water object or its area, beginning from  the control range, located  at a distance not  further 500 meters lower  than the tapping down  of sewage waters".

Table  132 –  Generalization of results at the expense of  possible heat

pollution in the river  Viliya after tapping of technical

sewage  waters  from  the byelorussian NPP at

accommoda tion  of  two energy blocks

| Hydrological conditions of the river Viliya lower the water extraction for the Byelorussian AES | Expediture of water, m3/sec | Width of the river Viliya, m | Average depth of the river Viliya, m | Maximum depth of the river Viliya, m | Average velocity of the flow, m/sec | Distance to the control range (КС), km | Temperature of water in control range (after complete mixing) and length of the area with temperature pollution in the river Viliya by execution of criteria: |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | <28 оС in summer time | <20 оС for salmon | <8 оС in winter time |
|  |  |  |  |  |  |  | t-КС, оС | L, km | t-КС, оС | L, km | t-КС, оС | L, km |
| At average perenial expediture of water | 65,78 | 65,17 | 1,75 | 2,57 | 0,58 | 29,5 | 24,07 | 0,45 | 14,0 | 0,60 | 2,8 | 1,10 |
| At minimum average daily expediture of water being 97 % of water consumption ВП by summer-autumn lowest water level | 21,25 | 57,38 | 0,91 | 1,55 | 0,41 | 33,2 | 24,07 | 5,00 | 14,0 | 7,00 | - | - |
| At minimum average daily expediture of water being 97 % of water consumption ВП by winter lowest water level | 16,55 | 56,81 | 0,79 | 1,43 | 0,36 | 31,0 | - | - | - | - | 4,3 | 13,0 |

Figure 90  -     Temperature mode  of the river  Viliya within the zone  of mixin  the river and technical sewage waters  from the byelorussian NPP by average   perenial expediture of  water  in the  river and the  temperature  of technical sewage waters constituting 37 0С at accommodation  of two energy blocks (EB).

Figure 91 -        Temperature mode  of the river  Viliya within the zone  of mixing the river and technical sewage waters  from the byelorussian NPP by minimum   average daily expediture of  water  in the  river  having 97 % of water consumption (ВП) and  the  temperature  of technical sewage waters constituting 37 0С at accommodation  of two energy blocks (EB).

## 14.4.4.5 Forecast for changing the quality of the  water

### Technical sewage waters

In volumes, of thrown down technical sewage waters into the river of  Viliya, there will be kept polluting  materials. According to data  from JSC "SANKT-PETERSBURG Atomenergoproekt"  the technical sewage waters according to  such factors, as zinc, phosphates, will exceed  maximum permissible concentration for the fish growing purpose by 4  times.

The main parameters, influencing upon diluting and spreading of the sewage waters, are: water mode of the river Viliya, volume  of tapping the  sewage waters, morphologic metric contents of the  riverbed and flood plains of the river Viliya. Also it is  possible to  take into account the fact that  the water floods, taking  the sewage waters, may  be in different hydrological  conditions during the year. For determination of the distances  for mixing sewage waters with waters of the river Viliya  there is used  the formula Frolov-Rodziller,  the factor of turbulent diffusion D  was calculated by the  method  of A.V. Karaushev with provision for unevenness of  distribution  by the depth of the river Viliya within  the considered area [153]. The distance to the range  of complete mixing (100 %) theoretically is equal to infinity,  that is why for practical aims  there is used  the notion “range  for guaranteed mixing”. As such range at calculation  of the distances for mixing  there was taken γ =0.8.

At that the expenditure zone  for practically complete mixing the river and sewage waters (80 %) constitutes: under expenditure  of waters, close to  the average perennial – 18.4 km, under minimum average daily expenditure  having 97 % of water consumption (ВП)  within conditions of  heavy lack of water – 29.6 km. Forecast for diluting the river and technical sewage waters  of the byelorussian NPP at accommodation  of two energy blocks by  average perennial and minimum average daily expenditure having  97 % of water consumption (ВП)   is  shown in Figure 92.

Figure 92- Change of maximum concentration of polluting  materials within the  zone of mixing the river and и technical sewage waters of the  byelorussian NPP (the degree dilution) within the area from   tapping down  to the control range

In Tables 133, 134 ( with bald italics are  there  shown the points of exceeding for   maximum  permitted concentration PD  as  the background concentrations in the river of Viliya there  are accepted the data  from expeditionary investigations for  the corresponding hydrological  modes.  The forecast for changing the quality  of the river Viliya was executed under condition  of tapping  in it technical sewage waters with concentration  of polluting materials  and according to the data of JSC "SANKT-PETERSBURG Atomenergoproekt".

According to the pointed data  the technical sewage waters on such factors, as zinc and phosphates will exceed maximum  permitted concentration for  fish growing purpose by  4 times. According to the   analyzed materials the quality of  technical sewage waters also more then by three times exceed the  maximum  permitted concentration.  The forecast for changing concentration of the polluting materials within  the zone  for mixing the river and technical sewage waters  is shown K).  On  the rest  of factors the quality specifications for the sewage waters are  located  within the limits  of the maximum  permitted concentration PDK.

That is why  additional  rectification of technical sewage waters is expedient not  more than  up to the maximum  permitted concentration PDK of  fish growing purpose on condition of  minimization their negative influence on the quality  of the river  Viliya.  In  the event  of executing recommendations for  additional  rectification  of technical sewage waters  from the byelorussian NPP there will not occur chemical pollution of the river Viliya and  there not will be rendered  any negative (including, transborder) influence.

Table  133 – Forecast for changing concentration  of the polluting  materials

in the  river Viliya after tapping  in it   sewage waters  from the

byelorussian NPP at expenditure of  water  in the river,  close

to the average perennial values

| Name of the factor | Maximum permitted concentration for fish growing purpose | Concentration of polluting materials in the river | Concentration of polluting materials at the tapping point of sewage waters | Change of concentration for polluting materials in the river Viliya within the zone of mixing the river and и technical sewage waters at a distance from their tapping place, m |
| --- | --- | --- | --- | --- |
|  |  |  |  | 500 | 1000 | 2000 | 3000 | Control range 18400 |
| Suspended materials, mg/l | на 0,25 | 3.960 | 11.700 | 5.914 | 5.356 | 4.952 | 4.772 | 4.289 |
| Mineralizing, mg/l | 1000 | 262.3 | 697 | 372.060 | 340.701 | 318.023 | 307.877 | 280.757 |
| Calcium Са2+ (mg/dm3) | 180 | 61.23 | 119.1 | 75.842 | 71.667 | 68.648 | 67.297 | 63.687 |
| Magnesium Мg2+ (mg/dm3) | 40 | 15.75 | 32.58 | 20.000 | 18.785 | 17.907 | 17.515 | 16.465 |
| Sodium Na2+ (mg/dm3) | 120 | 6.65 | 11.28 | 7.819 | 7.485 | 7.244 | 7.135 | 6.847 |
| Potassium. К+ (mg/dm3) | 50 | 2.65 | 4.74 | 3.178 | 3.027 | 2.918 | 2.869 | 2.739 |
| Iron total (mg/dm3) | 0.1 | 0.15 | 0.064 | 0.128 | 0.134 | 0.139 | 0.141 | 0.146 |
| Manganese Mn2+ (mg/dm3) | 0.01 | 0.049 | 0.028 | 0.044 | 0.045 | 0.046 | 0.047 | 0.048 |
| Aluminum Al3+ (mg/dm3) | 0.04 | 0.028 | 0.049 | 0.033 | 0.032 | 0.031 | 0.030 | 0.029 |
| Zinc Zn2+ (mg/dm3) | 0.01 | 0.011 | 0.0264 | 0.015 | 0.014 | 0.013 | 0.013 | 0.012 |
| Phosphates PO43- (mg/dm3) | 0.066 | 0.097 | 0.238 | 0.133 | 0.122 | 0.115 | 0.112 | 0.103 |
| Chlorides Cl - (mg/dm3) | 300 | 13.78 | 25.9 | 16.840 | 15.966 | 15.334 | 15.051 | 14.295 |
| Sulphates SO42- (mg/dm3) | 100 | 25.88 | 45.7 | 30.884 | 29.455 | 28.421 | 27.958 | 26.722 |
| Hydrocarbonates (mg-ekv/dm3) |  | 224.74 | 432 | 277.072 | 262.121 | 251.308 | 246.470 | 233.540 |
| Silicon SiO32- (mg/dm3) |  | 6.44 | 15.3 | 8.677 | 8.038 | 7.576 | 7.369 | 6.816 |
| Ammonium NH4 - (mg/dm3) | 0.39 | 0.153 | 0.161 | 0.155 | 0.154 | 0.154 | 0.154 | 0.153 |
| Nitrates NO3 - (mg/dm3) | 40 | 4.29 | 1.88 | 3.681 | 3.855 | 3.981 | 4.037 | 4.188 |
| Nitrites NO2 - (mg/dm3) | 0.08 | 0.041 | 0.0177 | 0.035 | 0.037 | 0.038 | 0.039 | 0.040 |
| Oil products | 0.05 | 0.0094 | 0.016 | 0.011 | 0.011 | 0.010 | 0.010 | 0.010 |
| Synthetic surface-active materials | 0.5 | 0.025 | 0.0037 | 0.020 | 0.021 | 0.022 | 0.023 | 0.024 |

Table  134 – Forecast for changing concentration  of polluting  materials

in the river of Viliya after tapping  in it of  sewage waters  from the

byelorussian NPP  at expenditure of  water in the  river,

being close to the  minimal  average daily 97 % ВП

| Name of the factor | Maximum permitted concentration for fish growing purpose | Concentration of polluting materials in the river | Concentration polluting materials at tapping point of sewage waters | Change of concentration for polluting materials in the river Viliya within the zone of mixing the river and и technical sewage waters at a distance from their tapping place, m |
| --- | --- | --- | --- | --- |
|  |  |  |  | 500 | 1000 | 5000 | 10000 | Control range 29600 |
| Suspended materials, mg/l | на 0,25 | 0.800 | 11.700 | 9.617 | 7.795 | 4.313 | 3.326 | 2.285 |
| Mineralizing, mg/l | 1000 | 257 | 697 | 612.920 | 539.364 | 398.804 | 358.948 | 316.929 |
| Calcium Са2+ (mg/dm3) | 180 | 59.25 | 119.1 | 107.663 | 97.658 | 78.539 | 73.117 | 67.402 |
| Magnesium Мg2+ (mg/dm3) | 40 | 16.04 | 32.58 | 29.419 | 26.654 | 21.371 | 19.872 | 18.293 |
| Sodium Na2+ (mg/dm3) | 120 | 6.78 | 11.28 | 10.420 | 9.668 | 8.230 | 7.823 | 7.393 |
| Potassium. К+ (mg/dm3) | 50 | 2.25 | 4.74 | 4.264 | 3.848 | 3.052 | 2.827 | 2.589 |
| Iron total (mg/dm3) | 0.1 | 0.312 | 0.064 | 0.111 | 0.153 | 0.232 | 0.255 | 0.278 |
| Manganese Mn2+ (mg/dm3) | 0.01 | 0.138 | 0.028 | 0.049 | 0.067 | 0.103 | 0.113 | 0.123 |
| Aluminum Al3+ (mg/dm3) | 0.04 | 0.03 | 0.049 | 0.045 | 0.042 | 0.036 | 0.034 | 0.033 |
| Zinc Zn2+ (mg/dm3) | 0.01 | 0.011 | 0.0264 | 0.023 | 0.021 | 0.016 | 0.015 | 0.013 |
| Phosphates PO43- (mg/dm3) | 0.066 | 0.097 | 0.238 | 0.211 | 0.187 | 0.142 | 0.130 | 0.116 |
| Chlorides Cl - (mg/dm3) | 300 | 12.54 | 25.9 | 23.347 | 21.114 | 16.846 | 15.636 | 14.360 |
| Sulphates SO42- (mg/dm3) | 100 | 22.33 | 45.7 | 41.234 | 37.327 | 29.862 | 27.745 | 25.513 |
| Hydrocarbonates (mg-ekv/dm3) |  | 223 | 432 | 392.062 | 357.123 | 290.357 | 271.425 | 251.466 |
| Silicon SiO32- (mg/dm3) |  | 9.72 | 15.3 | 14.234 | 13.301 | 11.518 | 11.013 | 10.480 |
| Ammonium NH4 - (mg/dm3) | 0.39 | 0.04 | 0.161 | 0.138 | 0.118 | 0.079 | 0.068 | 0.056 |
| Nitrates NO3 - (mg/dm3) | 40 | 1.3 | 1.88 | 1.769 | 1.672 | 1.487 | 1.434 | 1.379 |
| Nitrites NO2 - (mg/dm3) | 0.08 | 0.026 | 0.0177 | 0.019 | 0.021 | 0.023 | 0.024 | 0.025 |
| Oil products | 0.05 | 0.0085 | 0.016 | 0.015 | 0.013 | 0.011 | 0.010 | 0.010 |
| Synthetic surface-active materials | 0.5 | 0.021 | 0.0037 | 0.007 | 0.010 | 0.015 | 0.017 | 0.019 |

### Public-domestic sewage waters  and rain waters

In the course  of construction  of the NPP there will be formed public-domestic sewage waters in the volume up to 1050 m3/day [154].

In the course of exploitation  of the NPP the average daily expenditure  of  public-domestic sewage, delivered into the rectification constructions  of the NPP with ВВЭР-1200 (two energy blocks), constitutes  910.9 m3/day [155].  Cleaned sewage waters will  be directed into the  nearest water  object - into the river Polpa.

The volumes  of tapping for expenditure waters up to 0.01-0.021 m3/day  at accommodation  of two energy blocks in the manner of additional inflow into the river Polpa will render unessential influence to the  hydrological feature of the river Viliya and will not bring about additional submerging

As the background concentrations in the river of Polpa there may be taken the expeditionary data. Exceeding of  standards for fish growing  in water objects in  the river of  Polpa  there exists only for iron general, manganese and copper (which is explained by their natural origin) and on bio-chemical consumption of oxygen .

Forecast for changing the quality  of the river Polpa under tapping  in it of public-domestic sewage waters  from the byelorussian NPP under condition of  their rectification up to  1 maximum permitted concentration PDK (the most disadvantage variant) according to the corresponding  chemical materials is provided in Table 135.

Table  135 – Forecast for changing polluting  materials  in the river of

Polpa after tapping  in it  sewage waters  from the NPP

| Parameter | Rise at construction of the AES in shares of maximum permitted concentration PDK р/х | Rise at exploitation of the AES in shares of maximum permitted concentration PDK р/х |
| --- | --- | --- |
| Sulphates (mg/dm3) | 0,78 | 0,85 |
| Chlorides, (mg/dm3) | 0,85 | 0,92 |
| Calcium, (mg/dm3) | 0,52 | 0,56 |
| Magnesium, (mg/dm3) | 0,46 | 0,50 |
| Sodium , (mg/dm3) | 0,85 | 0,92 |
| Potassium, (mg/dm3) | 0,83 | 0,90 |
| Ammonium, (mg/dm3) | 0,39 | 0,42 |
| Nitrites, (mg/dm3) | 0,30 | 0,32 |
| Nitrates, (mg/dm3) | 0,80 | 0,86 |
| Phosphates, (mg/dm3) | 0,23 | 0,25 |
| Oil products, (mg/dm3) | 0,80 | 0,87 |
| БПК5, mg О2/ dm3 | -0,14* | -0,15* |
| ___________________ * - « - » means improvement of the quality for water at providing the demanded rectification |

Obviously, what such increase  of concentration in waters of  water streams, falling into the river of Viliya, will not render any essential deterioration for  the quality of  waters in the river of Viliya.

Rain waters  from water collecting territory of the  administrative building   through self-flowing networks are collected in  the existing pumping station  for moving the  rain sewage waters  with production capacity  of 100 m3/hour  by means of reservoir -interfacing installation  having capacity 60 m3 and then  are pumped into self-flowing networks  for rain canalyzation of the region united auxiliary building (OBK).

Intensity  of precipitations constitutes 105 d m3/sec  from 1 hectare,  the average perennial quantity  of precipitations constitutes 641 mm, including within  a warm period - 449 ms, within a cold period - 192 mm.

Rain waters from the water collecting territory of the region of the united auxiliary building (OBK) and energy blocks due to  non- intensive rains and polluted part  of the sewage from intensive rains through separation camera move into the  pumping station for transfer of the rain sewage waters  with production capacity  of 100 m3/hour with reservoir-interfacing installation  having capacity of  60 m3 and hereinafter – for clarification into a  slam collector. The est part of the  rain sewage after  the  separation camera  through the  self-flowing  collector enters into the supply channel  of the main cooling  system.

The rain waters from the water collecting territory  of the energy blocks  No 1 and  No  2, and rectifying  installations within the  "dirty zone"  through self-flowing networks are collected into the  collector and  are  directed into the supply channel  of the main cooling  system.

The rain sewage of the area will  move into  the slam collector and into the  water objekt.

The perennial volume  of the rain sewage, directed into  the  slam collector, constitutes 80 thousand m3/ year.

The perennial volume of the rain sewage, directed  into the water object, constitutes 66 thousand m3/ year. Since on territory of the area  there is excluded possibility  for pollution  of the determined rain sewages,  then their quality will not  be worse, than  those, received  from the  natural surface  of the land, which also with provision for their small volume will not render negative influence to the on water objekt.

14.4.5 Preliminary forecast for probability of the biological hindrances

in  the system  of water consumption and water sewage  of the NPP

Any technological decisions, connected with provision  of industrial objects  with technical waters, certainly face with  the problem of  biological hindrances and damages. The biological hindrances and damages appear in consequence of natural process  of hard substratum  sunk in water,  become populated with  alive organisms (hydrobioitic objects). Becoming populated with  alive organisms are  subjecteв any surfaces, having constant contact with waters:

- walls  of water extraction  channels;

-  pumping equipment;

- locking armature;

-  equipment  of cooling towers  and others.

Because  as the result  of biological accumulation there  speeds up the process of corrosion  for metals and destruction for protection coverings, decreases reception capacity and hydraulical properties  of water conducts, decrease  warmth exchanging properties  of  cooling and heating equipment. In  the event of  taking off  the  accumulated layer  from  the substrate,  there occurs contamination of the  pumping equipment, locking armature, nozzles of the water-sprinkling machines which may bring about  to  the systems breakage.

The main sources for  alive organisms, participating in mud accumulation of surfaces, are natural inhabitants water reservoirs, from which there is extracted water for  technical necessities. So aspectual composition  of   mud accumulation and its nature will be defined aspectual composition of living beings dwelling in the  water reservoir – from  the source  of water  supply. Besides the  fact, that to the  process  of mud accumulation  the essential influence  is rendered from the  particularities for exploitation  of that or other element of the equipment, the degree of  rectification for the  water, feeding the system, velocity  of the stream, temperature, season of  the yearа and others.

Biological accumulation  in dependance from qualitative composition is divided into micro- and macro accumulation.

In  creation of micro accumulation (the biological films) participate  bacterias, water  plants, mushrooms and protozoa. Formed by them community possesses the form of slime with different coloration (from light, transparent till black) having thickness up to 30-40 mm. Velocity  of micro accumulation powerfully depends from  the temperature  of water, velocities of the flow, contentses of  organic materials and oxygen. In average, on shaping  of  a fine layer (several millimeters) of film  is spent  1-4weeks.

Exactly with  the development  of micro accumulation there are connected rapid corrosion of  metal sand destruction  of protective covering  in water conducts and of the  cooling equipment, particularly if the source  of the water  supply are surrface water reservoirs.

Overgrowing is created at the expense  of sedimentation on  the surface substrates  of distributing  forms  of macro organisms, their growing and duplication. In fresh water  in the process of macto accumulation  there are  participating mainly  thread water plants and multicellular invertebrates. The invertebrates are  the  main  source of  hindrances in  the systems of  technical water  supply. Exactly, at the expense  of development  of multicellular invertebrates there  occurs the main mass of  breakages  in the systems of  technical water supply and terminates the operation  of  the equipment  in the  systems of water  supply for the  power station. Taxonomic composition of invertebrates is enough varied. In  accumulation there are met  sponges, hydroides, warms, insects,  shellfishes,  crustacean beings.

Amongst all enumerated groups of  organisms the highest hindrances  are causes by accumulation of sponges and shellfishes.

Sponges (Porifera).  Sponges - still colonial multicellular organisms, being rather strongfiltrators. Their body has mineral (lime or silica) skeleton  or organic skeyears (from spongine). For fastening  the colonies it  is  necessary to have  hard substratum, therefore them are  referred to specific peritophonic forms. In fresh waters there are  dwelling approximately 50 types  of sponge. In Europe there are commonly  spread usual Spongilla lacustris, S. frangillis, Ephydidatia mulleri.  Different types of sponge  according to their  morphologies and ecologies  are close. For efficient filtration feeding  the sponges prefer  the  place of  dwelling with sufficient water exchange. In individual events  they may form rather powerful accumulation. For instance, in water  reservoirs of  Uchinsky water stock reservoir  there is noted the sponge biomass  constituting more than 600 g/m2, in accumulation  round   stones in the river of  Yu. Bug  there are noted colonies with the  biomass of  1.5 kg/m2. The sponges multiply through a sexless way, liberating small fragments of the body or accumulating  the cells required for development. The cells required for development, which are produced by freshwater sponges,  are covered with  strong hard shell from spongine and spicules, enabling them to  spend winter time. At sexy duplication  there is formed  a maggot -  being covered with  fragellums.  Within a short period of  time before sedimentation on the  substratum it  spends  plankton lifestyle.  The sponges poissess  hich ability  for  regeneration. The body  is capable  to restore even from one  sell.

The sponge is discovered in  the  river of  Viliya.Within 30-km zone  around the byelorussian NPP. The most quantitative development  of sponge was registered within the water extraction construction of the  cardboard factory (the river of Stracha).  Concrete walls of the buildings in  August, 2009 were covered with a layer of  sponge having thickness  of 2-3 cm.

Two-folded shellfishes (Bivalvia). One of the the most large organisms for  fresh water accumulation. Exactly development of  two-folded shellfish is the main  reason,  leadibg  to a  full stop  of operation  of the equipment in  the systems  of wate  supply and cooling  for electric  stations.

The most widely spread type in accumulation are  representatives  of sorts Pisidium, Sphaerium, Dreissena,  Unionidae.

From all types of  two-folded shellfish the most high degree of developments is noted for Dreissena (Dreissena polymorpha). So, the biomass  of Dreissena on concrete facing  of water extraction channel  of the Chernoby NPP eached 30 kg/m2. Dreissena – is a  rather large shellfish,  the length  of the  shell usually constitutes 30-50 mm; life time - 6-19 years. Thanks to the ability of  Dreissena firmly fasten to  a substratum, there is  possible to find its settlings in  the systems with big velocity of  the water stream, where other organisms  are not capable to remain. Such strong fastening is reached  at the expense  of the  bissus threads, produced  by bissus  gland of the shellfish. Their toughness exceeds toughness  of steel  of the corresponding  diameter.

Dreissena multiplies  under temperature of  water above 11 оС by means of way  throwing into water of eggs - trohophors in thick quantity. The female Dreissena under optimum conditions is  capable  to produce  above 70 000  eggs, which  are thrown out in portions  during  a warm period of the  year. Trohofors change into veligers (the maggots) sizing  60-70 mcm. Veligery liberally sail in  the water and  by its  stream may be distributed  on the whole system  of water supply and water sewage. When  the veliger  reaches 225-250 mcm, it begins to settle on hard surface and  to lead the attached lifestyle. In summer period the year quantity  of velogers in water pools, for instance, water stock reservoirs, reaches 0.1-2.0 million  species/m3  of water.

Within  a cool period of the   year Dreissena at any stage of the development, not having time to finish its conversion, as if   it  "is preserved", all the  processes stop, but  at springtime with  warm temperatures  up to before 11 оС   Dreissena renew its development. Dreissena  gets its food  by the way of filtering water. 90 %  of the food constitutes detritus. The mass development and distribution of Dreissena promote not only particularities of its biology, but also conditions of  external environment. Optimal for sedimentation and development are  the following conditions:

-  constant contents of  oxygen in water  is not lower 8 mg/l;

- pH 7-9; permanganate oxidability 5-15 mg O2/l; velocity of the water flow 0,5-0,8 m/sec;

- temperature 18-25 оС.

Intensity  of   mud accumulatio for  different surfaces depends  on  the position of the  washed plane in the  space. Most powerfully become overgrown  with  Dreissena lower horisontal planes.

Dreissena negativly  withstands to high temperatures,  the temperature  of survival - 0-36 оС. Under 45 оС Dreissena dies within several minutes. Under the  temperature above 30 оС Dreissena is in an depressed condition. In this event  is possible changing of the two-folded shellfish population, particularly in the zones of maximum heating,  with  other types of shellfish,  being  sTable to the  temperature influences. One of such types is Sinanodonta woodian . So, in  the tapping  channel  of the Patnovskoy TES, where  the temperature exceeds 30 оС the  biomass of  Sinanodonta woodian constituted 43 kg/m2, reaching in individual places 50-70 kg/ m2 [156].

The  shells  of two-folded shellfish, either as  abdominal, present  by itself good substratum for overgrowing  with other organism. Thanks to thick colonies of  two-folded  vastly increases heterogenous capability  of the  substrate and  the area of its surface which creates good conditions for further growing  of macro  growing.

In August, 2009 in the river of  Viliya ( the range  of Tartak) Dreissena is discovered in composition of  peritophone of  macrophytes in  the amount  of 27 species/m2  at the bottom. In spite of  the so low quantitative development  for Dreissena in water reservoir for technical water  supply, at  delivering its distribution forms into the  system of  cooling,  there may be created powerful layer of  Dreissena accumulation practically on all types of  hard surfaces. For instance, at examination  of concrete walls  of the pumping station  at  the South-Ukrainian NPP there was  was revealed that they  are completely cover ed  with powerful layer of Dreissena, which biomass reaches  up to 5 kg/m2 and more. All  metallic surfaces of the  cameras  in circulating  pumps at  Krivorozhsky ГРЭС  are populated  with Dreissena  having  the  biomass  equal to 9 kg/m2 [157].

Moss-grown (Bryozoa).  The module-type, colonial cattle; each colony consists of separate  species (the zooides), which number  may  reach to a million. The colonies are formed  at the expense  of sexless duplication (gemmation) of the person-founder. Fabrics  of each zooide get in  contact with fabrics  of its directneighbours. In fresh water  are wide-spread basically representatives of the class Phylactolaemata: sorts of  Fredericella, Pumatella, Hyalinella, Pectinatella, Australiella, Cristatella   and others. Nearly all attaching forms. The form  of the moss-grown colonies is very varying and has a complex spatial orientation. Moreover to the  size and the form  of the colonies big influence is rendered by  factors  of environment and dwelling. The amounts vary within broad  limits: from  the  size  of zooides  equal to  shares of  millimeter  up to  colonies  in several metres. In the greatest amounts the  moss-grown  species develop in  the systems with raised temperature  of the water.  Mass development is noted under  the temperature  of 36-38 оС. In  the cameras of oil coolers at  Krivorozhsky ГРЭС  there is discovered moss-grown  species with biomass up to 18 kg/m2. Together with two-folded  shellfish, the moss-grown  species are the main organisms for  overgrowing in fresh waters. In the river of  Viliya the moss-grown  species  are constantly met in qualitative samples.

Aside from  the biological  mud  accumulation  the greater danger for water extraction systems may stand  metaphyton, formed in  the waters source  of the water  supply. With current  of the water  the metaphyton fragments  may be delivered into the  system  of water supply and be one more source of  technical  disturbances.

14.4.6 Influence  of the NPP operation in standard mode   rendered

to structural and functional specifications  of   water ecosystems

During construction. In  the period  for construction  of the NPP inevitably  there arises negative influence on  the surrounding environment. However on  the water ecological systems  the influence  rendered from construction works practically will not have  any consequences since all water reservoirs and water  streams are removed from  the construction  area  at  considerable distance. The exception constitutes only  the river  of Gozovka, running in close proximity  to the borders construction area. In respect to this water stream  there must be undertaken special measures for  protection from the influence of the  construction works. As a whole, under condition that  the projected construction will foresee rectification installations and  the system  for circulating water  supply,  the minimizing tapping of sewage waters into the  hydrographical network, dust suppression during  execution  of  construction works and other nature protection measures,  the process  of the NPP construction   must not make considerable  negative influence on  the water ecological systems.

Under standard mode of  operation. At the first stage  of works for  estimation  of the influence  from the NPP on biological components of  water ecosystems and  the processes of  quality waters creation there was expected that  the system  of water  supply and water sewage will operate in closed cycle without massaged tapping of perfected waters into the river  of Viliya.

Calculations have  shown that under average perennial expenditure of  water in  the river  of Viliya  being 50 m3/sec, the  volume  of sewage waters constitutes  in total 0,2 % from the perennial volume of the  river sewage. Thence it follows that, negative influence  of the NPP on  the ecosystems of the river Viliya  will  be minimal, local and weakly expressed.

However, the calculations, coming  from  the elaborated water balance,  executed  by the JSC "SANKT-PETERSBURG Atomenergoproekt",  it follows that tapping of perfected technical sewage waters constitutes  per 1 energy block from 0,48 m3/sec in winter time up to 0,69 m3/sec in summer time (0,96-1,38 m3/sec per 2 EB). Herewith  the sewage water, in spite of preliminary rectification, will contain considerable quantities  of biogenic elements, salts  of metals, oil products,  synthetic surface active materials, and  other ingredients, rendering active influence to the  biological components  of waters   ecosystems. According to  the data of  JSC "SANKT-PETERSBURG Atomenergoproekt",  the technical sewage waters on such factors as zinc, phosphates, will exceed  the maximum  permitted  concentrations (PDK) for fish growing purpose up to 4 times, but  the temperature  of the sewage waters, thrown into the river Viliya will change from 27.1 0С in winter time up to 38 0С in summer time.

It is absolutely obvious that under such parameters the  designed tapping of the  sewage waters  for operation of the  NPP presents the serious threat for biological communities and ecological systems of the river Viliya  in  total.

The calculations, executed  by the ЦНИИКИВР, have persuasively shown, that on significant  areas of the river Viliya  there will be tracked considerable temperature pollution, under which existence and normal distribution  of  the row  of rare and disappearing sorts of fish, put in  the Red book of the Republic Belarus, becomes  impossible. However the threat for  the ecological systems of the river Viliya  comprises  not only this fact.

At present  the river  Viliya presents  by itself highly populated water stream with the  level of  gross primary product above 7g S/m3 per day, and the  concentration of  chlorophyll in waters up to 90 mg/ m3, sharply standing out on the  level  of trophy on  the background   of other water streams  and water pools within   the 30 kilometer zone of the NPP. Delivery  together with drainage waters of  quite a numbers main trophic elements (compound of phosphorus and nitrogen) on the  background  of thermal pollution, certainly, will bring about the further rise the trophic level. Negative consequences  of this process  are well known.  It is possible uniquely  to forecast sharp increasing the biomass of the phytoplankton,  thanks to the perennial  mass duplication  of bluish-green  water plants, causing "blossom" of the water,  thus worsening its quality and conditions  for life of   hydro biotic  inhabitants, producing toxins, dangerous not only for hydro biotic  inhabitants, but also for human body.  Self trophic ability is accompanied  with the breach of the structure of trophic relationship of   hydro biotic  inhabitants, worsening of biologic variety in plankton and benthos communities which leads to loss  genetic fund, reduction  in  abilities  of  the ecological systems in the river Viliya to  homoeostasis and  self regulation. Entering with  the drainage waters salts  of toxic heavy metals, for instance, chromium, may break  the production – destruction  balance in  organic materials, which may  bring about surplus accumulation of the biomass,  further decomposition of which will influence  on  the quality  of water and sanitary condition of the river Viliya.

Thereby,  the planned mode  for tapping of sewage waters into the river Viliya  is inadmissible. It is necessary in  the system of  water sewage to provide additional engineering constructions, providing diminishing of the  temperature and additional rectification of the sewage waters.  The level  of cooling and of   hydro biotic  inhabitants  must provide in  the river Viliya within  the zone  of tapping for the sewage waters, delivery  of self trophic and polluting materials on level of the  maximum  permitted  concentrations (PDK) for the water objects  pertaining to the first category  of fish growing  purpose.

The lake ecological systems are located on sufficient removal from the area  of the NPP and will not be a subject to direct influence of fluid  sewage tapping. Within the  30-km zone  around the byelorussian NPP the share of pollution  for the soils  with radio nuclides from  the surge under normal  exploitation  of the two energy blocks to  the natural pollution is neglected small and  it changes from 2.0 ·10-3 % (after  the first  year for exploitation) up to 2.3 ·10-2 % (after exploitation constituting sixty years). The share of radio nuclides, which from  the composition of the  sewage of the  water collection will move over to water ecological systems, will  be more lower. Thence it follows that under operation of the NPP in stationary mode the danger of  radiation pollution  in water ecosystems, significantly exceeding  the background level,  is  small and neglected.

The real threat for the river and lake ecosystems will present increased anthropogenic (recreation) load. In connection with commissioning of the NPP the number  of population in  the  town of Ostrovets   will increase approximately by 30000 persons, which will inevitably bring about growth  of anthropogenic press not only on  the water ecological systems, but also on all natural complex as a whole. However this influence may be compensateв with nature protection measures.

14.5 Radiation influence

14.5.1 Specification of  radioactive surge and tapping of sewage

under  normal  exploitation

For ensuring radiation safety for the  personnel, population and surrounding environment  by the project NPP -2006  it is provided  a complex  of technical and arrangement decisions, which realizing is directed at observance  of the following principle:

- the  irradiation for the personnel within all modes for exploitation of the  NPP must not exceed the corresponding  main limits of doses, installed by НРБ -2000 (Belarus), НРБ -99 (Russia);

- the irradiation  for  the population must not exceed the corresponding  main limits of doses, installed  by the Legislature of the  Republic of  Belarus "About radiation safety for the  population", НРБ -2000, НРБ -99;

-  by the project  there was  realized the  concept  of deeply introduced protection, founded on using  the system physical barriers on  the way  of spreading ionizing radiations and radioactive materials in  the surrounding environment and  the system of  technical and arrangement measures for protection barriers and preservation of their efficiency;

-  maintenance  of  the irradiation  for the personnel and  the number of  irradiated persons on possible low and attainable level with  taking into account  of economic and social factors (the principle ALARA).

The source  of the radiation influence from the NPP are radioactive tapping and surges. The possible  permissible surges (ДВ) and tapping  sewages (ДС)  under normal  exploitation for the NPP are fixed  СП AES-03 [45] coming from  the quota for  the population irradiation equal  to 10 μSv perennial for each of way of the  influence.

With provision for technically achieved  level of safety  for the NPP in  the mode of  normal  exploitation (when actual surges and tapping  sewage of the  AES create on each  way for the  influence of the irradiation dose  for  the persons from the  population not more than 10 μSv / year) the radiation risk for the  population under   exploitation of the NPP is unconditionally accepTable (<10 -6  per year -1). In this connection  by the Rules there   is specified  a surge of the following radio nuclides: inert radioactive gases (ИРГ), iodine 131, cobalt - 60, cesium - 134 and 137 ( See Table 31). The influence  of the radioactive surge and tapping sewages in  the mode of  normal exploitation  of the AES on  the surrounding environment  is minimum. So in 2008 the  gas aerosol surges and fluid sewage  tapping   of all  the NPP were far less  than the installed possible values (ДВ and ДС) and  they created in addition to the  background irradiation for the population  the doses from natural sources  of irradiation (2,2 mSv) not more:

- 0,1 μSv at the NPP with reactors ВВЭР - 1000;

- 0,5 μSv at the NPP with reactors ВВЭР - 440;

- 2,0 μSv at the  NPP with reactors РБМК - 1000.

Thereby,  the level of radiation influence  from the NPP on the population and  the surrounding environment in 2008  has not exceeded  0,1 % from  the doses, created by  natural sources of irradiation, and does not change the level  of natural radiation in the region of the NPP location. The surges even at  the level  of 100 % from possible  permissible are unconditionally accepTable and do not create the detecTable  by the instruments of radiation control change of the  radiation situation in of the regions of the NPP location. The actual surges  from the NPP are optimized, and their  further closing is not  economically justified. The purpose of the NPP for the forthcoming period for provision  of the radiation safety and  the population – is preservation of the achieved surge and tapping of sewage into the  surrounding environment. The brought above data allow certainly to speak of ecological purity  for the atomic stations.

14.5.2 Radiation influence on agro-ecological systems in  the mode

of normal exploitation

14.5.2.1 General principles  of forecast calculations for contents of

radio nuclides in composition of  agro-ecological systems

Forecast calculations for contents of  137Cs and 90Sr in composition agro-ecosystems was executed on  the base  of commonly adopted in the radiation ecology of content mathematical models, in which  the investigation system  is shown in the manner of individual sections (for instance, 0-30 cm layer  of soil, >30 cm the  layer of  soil,  the elevated part harvest,  the underground part harvest), between which  there occurs carrying radio nuclides with commonly adopted admissions and restrictions [158 - 162]. At that the dynamics of  carrying  the radio nuclides is described by  the system of the differential first-order equations.  The parameters  of the carrying are accepted in accordance with  the modern scientific data achieved  in the field of agricultural radio ecology[158,161,162].

The forecast  calculations are executed for standard and emergency fallouts for the most wide-spread types of the agricultural products: grain of the cereals (the rye, wheat, barley and oats), root- and tuber crop (the beet and potatoes), sheet verdure (the salads), grass  of natural  fodder crops  within the  peat grounds, as well as milk and beef, got under growing on provender, produced on peat grounds.

Under standard fallouts there  was expected  to receive delivery 137Cs with intensity of  0,001 Bk (m-2(с-1 (1,16 10-8 Bk (m-2(с-1) and 131I - with intensity of  0,01 Bk (m-2(с-1 (1,16 10-7 Bk (m-2(с-1). In view of  the low value  for standard  surge  of 90Sr - not more than (1(10-13 Bk (m-2(с-1) its pollution was neglected.  It was considered, that root delivery into plants  takes place  with  constant and comparatively high velocity [158, 162].

For emergency fallouts  the forecast calculations  of the contents for  137Cs, 131I and 90Sr were executed in the first vegetation period, characterizing  with  the surface pollution of plants at the  moment of maximum development  for  the elevated phytomass and  the following  vegetation periods, when  the root way  of delivery for  radio nuclides into agricultural plants is the most significant [162].

Under the  forecasted radiation pollution in the first vegetation period there  is used the most conservative approach, providing maximum  degree  of  holding  aerial fallouts by the  elevated phytomass of the plants (up to 70 %  with the green mass and up to 5 % -  with the grain) having  the period of half rectification up to 15 days [159].

Under  the forecasted estimation  of  the radiation pollution in the  following  vegetation season there  was used conservative approach under which  there were considered 95 % of  probability  for  non-rising of the calculated values under real radioactive pollution. For this  there are  used constants for carrying, corresponding to  the soils with minimal contents  of fraudulent potassium and рНKCl.  The calculations of pollution  with 137Cs in the  fodder crops and products  the cattle breeding (milk and beef), was used the most conservative approach, expecting use of grasses at  natural pasture and hayfield on peat grounds with maximum factor of  transition  for radio nuclides in the  system "ground-plant" in contrast with  the ground from the mineral rows.

At estimation  of pollution  with 90Sr  there was expected that  the herbs are produced on  soddy-podzol sandy grounds with high acidity  of salt extraction.

Special importance was paid  at estimation  of correspondence  of the calculated levels for  contents of the  radio nuclides in products of agriculture to the  real observed  values according to the  data, published in scientific literature [163 - 167]. The forecast  of  calculated  factors for transition of  radio nuclides  in the  investigated types of the agricultural products correspond to  those, practically observed, received on the grounds of  measures  for  radio-ecologic monitoring in East Europe, and on the grounds of designed models it is possible to realize  the forecasted values with sufficient  degree of  reliability and uncertainty  being not more than 50 %.

The calculations  were executed with using normalized conditions (per  1 Bk(m-2) and with using  concrete scenarios for  development  of the undesigned and maximum designed emergences.

The estimation  of pollution  for the agricultural products on the  territory Lithuania was executed coming from  the distance  from the NPP to state border in west, north-west and north directions (being beside 20 km).

The  criteria for decision making about restriction consumption  by the types of  agricultural products in the first  year after emergency, in accordance with  the НРБ -2000 [168], is  contents  of radio nuclides. Under non-excess for  the   level А, corresponding to  the specific activity of  137Cs and 131I 1000 Bk(kg-1, and 90Sr  - 100 Bk(kg-1, there is no need to in using protection measures. If contents  of the  radio nuclides in  the sorts of  agricultural products exceeds  the level B (>1000 Bk (kg-1  for 90Sr and above 10000 Bk (kg-1  for 137Cs and 131I) it is necessary to limit  consumption by sorts of  agricultural products with exceeding of the determined standard. Under specific activity of the radio nuclides in sorts of  agricultural products with exceeding the level А, but more low in contrast with  the level B,  the decision on its use is taken separately in each concrete event in dependency from  the forecast of doses for the  internal irradiation.

In the following  year after emergency surge and under standard fallouts  the  content of the s radio nuclides in sorts of the agricultural product is specified according to  the acting in the  Republic  of Belarus possible level for contents  of the 137Cs and  90Sr in food-stuffs, agricultural raw material and provender: for grain on food purposes - 90 Bk (kg-1  on 137Cs and 11 Bk (kg-1  on 90Sr, for milk - 100 Bk (kg-1  on 137Cs and 3,7 (kg-1  on 90Sr, for root- and tuber crop - 80 Bk (kg-1  on 137Cs and 3,7 Bk (kg-1  on 90Sr, for rubbed natural provender beside the fodder for production of  raw milk - 165 Bk (kg-1  on 137Cs and 37 Bk (kg-1  on 90Sr, for beef - 500 Bk (kg-1  on 137Cs and 37 Bk (kg-1  on 90Sr

14.5.2.2 Forecast for contents of  radio nuclides under standard

radioactive fallouts

The forecasted calculations are indicative of extremely low delivery  of radio nuclides into the  surrounding environment in consequence of standard radioactive fallouts during  exploitation  of the byelorussian NPP (See Figure 93). Even under condition  of constant precipitation of 137Cs on the same territory  during  the total period for exploitation the  maximum surface activity  in the 0-30 cm layer will not exceed 12 Bk(м-2 , which will constitute  not more than 1 % in contrast with  the existing level.

Figure  93  – Forecast for specific  activity of  137Cs in  agricultural products

at standard precipitations   from the AES with  intensity equal

to 0,001 Bq (m-2(day-1

Activity of 90Sr in standard precipitations  is extremely low (several Bq pert one day) so its contribution into pollution  of soil is neglected small.

The data of the calculation executed coming from conservative suggestion about constant sedimentation on the same territory, it is obvious that real values at account of the wind rose  will approximately be by an on order  higher.

Additional contents  of the radio nuclides in  the investigated sorts  of agricultural products  are forecasted on very low level and constitute  at the order  of 10-4-10-2 Bq(kg-1. From  the investigated products some higher values (10-2 Bq(kg-1) will exist in beef and milk (previously total, during usage  of the provender, produced on peat soils),  the herb  from natural pasture. In herbs, produced on peat soils,  the specific activity may  constitute  the value 0,1 Bq(kg-1, however this is nearly by  100 times less in contrast with  the existing level of contents  for radio nuclides. The minimum values (10-4 Bq(kg-1)  of the forecast calculations were executed  for grain, root- and tuber crop.  The comparable values for  specific activities are  forecasted for 131I, and the  contents for  90Sr is expected at extremely low level - (10-6 Bq(kg-1.

Thereby, long exploitation  of the NPP will bring about extremely low exceeding of contents 137Cs in  the products  of agriculture.

14.5.2.3 Action  of ionizing irradiation on agricultural  plants and cattle

The forecast calculations for dose loads on  the representatives  of  the bio population in agro-ecosystems were executed coming from  the model  calculations  for  precipitation  of the radiation materials on the surface of soil in consequence with the  standard and emergency fallouts by means of Gauss models for  spreading the admixtures in  the atmosphere.  Herewith  there were used conservative parameters of the models, allowing  to calculate greatly unfavorable variants of radiation pollution and determining creation  of  the most levels of  pollution and of doses for  ionizing irradiation. Such approach is  broadly used under model making the  consequences  of radiation emergences. The received results testify about the  absence of  radiation-induced effects under standard  surges of the  byelorussian NPP. Under daily surge  the forecast calculations  testify creation  of very low  doses: not more than 0.05 μSv  for (- and (- - irradiations from  the cloud radiation fallouts and not more than 10-4 nSv · hour-1 on (-irradiation from radio nuclides, fallen down on  the ground which is greatly lower  than the natural radiation background.

14.5.3 Emergence surges

The incidents and emergency at atomic stations may be subdivided into categories, with use of the  international scale INES [169]. The categories 0-7 show the  nature and the importance  of the  events at the NPP. The categories 1-3 mark the incidents, which reduce safety, but  do not lead  to surge  of radioactivity, accompanied  with significant exceeding level of doses for  the population (not more  than the order of one tenth share being  maximum  for the perennial dose). The categories 4-7 pertain to  various types of  emergences. The category 4 ("emergency without considerable risk outside the borders of the area") corresponds  to the  defined designed emergency. The categories 5-7 – is an emergency with serious damage  for fuel.  In the process  of evolution development  for the NPP there was raised ecological safety  in the NPP (See Figure 94).

Figure 94 – Evolution development NPP [170]

In accordance with  the acting  requirements in Russia ОПБ--88/97 [56] and corresponding  international requirements EUR [43] in  the project NPP -2006 are considered  the so named designed and undesigned emergency, including heavy emergency with melting  of the fuel.

As  the main quantitative criteria, characterizing the  level of  safety,  there  stands  the  values  for probability of  serious damage in  active zone and at most possible emergence surge  of the main  dose forming radio nuclides in  the surrounding environment under heavy undesigned emergencies (ПАВ).

The  aim probabilistic factors, installed by the  exploitation organization for  the energy block NPP -2006 [171]:

-  the  probability of  emergences  at the  energy block with serious damage  in the active zone  of the reactor up to the  level 10-6 1/year per  one  reactor and  the greater surge over the  limits of the area, for which it is necessary  to undertake quick countermeasures outside  the area,  the level being  10-7 1/  year per reactor;

-  of  restriction  maximum emergency surge (ПАВ) of the  main dose creating nuclides into the  surrounding environment under heavy undesigned emergency with probability  being  10-7 1/  year per reactor of the level 100 Tbq  for 137Cs .

-  calculations  for maximum emergency surge (ПАВ)  of  the  main of dose forming nuclides into the  surrounding environment under heavy undesigned emergency with probability  being 10-7 1/  year per reactor, up to the level, under which:

-  there is excluded  the need of  introduction  urgent measures, including both obligatory evacuation, and long transfer  of the population outside the borders of the area;  the calculations of the zone radius for  planning obligatory evacuation of the  population does not exceed 800 m from  the reactor department;

- obligatory introduction of protection measures for the  population (the coverture, iodine preventive maintenance) is limited by  the zone not more than 3 km from  the block.

Installed for  the energy block of the type NPP -2006 the  doses limits and target probabilistic factors completely respond to the requirements in the  acting Russian  standard documents (НД), recommendations and  the standards of safety IAEA, International consulting group on nucleus safety (INSAG1 - INSAG12) and requirements  of the European exploitation organizations  laid for  the  projects of  atomic stations of the new generation  having  reactors of the type PWR [43]. In  Table 136 there are shown for comparison the   target factors for radiation and nuclear safety of  energy blocks with higher safety for different projects of the NPP and requirements for them.

Table 136 – Factors of the radiation and nuclear safety  for  the NPP

| Criteria | EUR [43] INSAG-3 [173] | НД РФ [56,34] | Project of AES-2006 [171] | Project of USA-APWR [172] |
| --- | --- | --- | --- | --- |
| Quotas for irradiation of the population from surges (tapping sewage) at НЭ AES, μSv/ year | No limit | 50(50) [34] | 10(10) | - |
| Quotas for irradiation of the population from surges and tapping sewage at НЭ taking into account ННЭ AES, μSv/ year | 100 | No limit | 100 | 100 |
| Effective dose for the на population at projected emergencies, mSv/event |  | No limit |  |  |
| - with frequency more than 10-4 1/ year | 1 |  | 1 | 1 |
| - with frequency not more than 10-4 1/ year | 5 |  | 5 | 5 |
| Criteria | EUR [43] INSAG-3 [173] | НД РФ [56,34] | Project of AES-2006 [171] | Project of USA-APWR [172] |
| Effective dose for the population at projected emergency, mSv / year | - | 5 [34] | - | - |
| Probability of serous damage in the active zone, 1/ year per reactor. | 1E-5 | 1E-5 [56] | 1E-6 | 1E-6 |
| Probability of serous surges, for which there are necessary quick counter measures outside the area, 1/ year per reactor | 1E-6 | 1E-7 [56] | 1E-7 | 1E-7 |

Tightening of requirements for  safety  of the for new blocks (USA- АPWR, EPR, NPP -2006 and others) has required  development  of such additional technical decisions, which have safely limited the sphere for undertaking actions of  emergency nature  with the most nearest from  the atomic power station vicinity. So in the  project NPP -2006 for the further softening  of the consequences  from heavy emergences  there are incorporated two new passive systems of  safety: СПОТ ГО,  safely providing preservation for  functioning of  the  protective shell under heavy emergencies, and СПОТ ПГ, providing cooling  in the active zone of the  reactor under full switching off  of the  block.

In composition of the  project  for the NPP -2006 the  ПАВ is installed coming from  the reached level  of safety for  the class  of heavy emergences at the  block [174]:

- for early phase  of emergency, connected with drains ПД through non-dense of the  double ЗО and  bypass for the  containment, in the absence of energy supply on  the block: xenon -133 – 104 ТBq; iod-131 - 50 Tbq; ceziy-137 - 5 Tbq.

- for intermediate phase  of emergency after reconstruction of energy supply on  the block, connected with the surge through the ventillation pipe: xenon -133 - 105  Tbq; iod-131 -50 Tbq; ceziy-137 - 5 Tbq.

For development  of ПАВ  there was executed analysis  of the radiation consequences according to the riper scenario  for heavy emergences, connected with slow growing of the pressure in  the containment, (total probability  at the order 10-7 1/ year.reactor) according to  the recommendation IAEA for NPP with PWR [175]. In composition OVOS of the  Baltic NPP ПАВ is used for preliminary estimating the volume of protection actions for the  population under heavy emergency on  the energy block.

In Table 137 there  are brought for comparison the calculated ПАВ values  and  the requirements for  them, installed in various countries and projects. Realization in the  projects of the  marked strategy has reduced the calculated levels for ПАВ,  motivated according to  the above indicated requirements.

Table 137 – Maximum permissible emergency surges and

the requirements to  them, Tbq

| Dose forming nuclide | Requirements for disposition of АС, СССР 1987г. 1) | Requirements and decisions of the State council of Finland 395/91 | Тяньваньская AES[176] | Project AES-2006 [174] | USA- PWR [172] |
| --- | --- | --- | --- | --- | --- |
| xenon -133 | Not limited | Not limited | 106 | 105 | 3×105 |
| iod -131 | Not over 1000 | Not limited | 600 | 100 | 349 |
| ceziy -137 | Not over 100 | Not over 100 | 50 | 10 | 5,6 |
| Strontium -90 | Not limited | Not limited | 1 | 0,12 | 0,15 |
| ______________ 1) The requirements are excluded at repeated issue of the document. With the document ПНАЭГ -03-33-93, НП -032-01 there are harmonized requirements of the russian НД with recommendations of the IAEA (INSAG-3): measures on management and weakening of consequences after heavy emergences must reduce probability of greater surges over the limits of the area, for which there are necessary quick counter measures outside the area, the level being 10-7 1/ the year.reactor. |

14.5.3.1 Calculations of  density  for pollution under  the undesigned

emergency. Reference data

In OVOS for  the new NPP, available for  free access in Internet,  there are used and other methodological approaches for estimations of the influence  after heavy emergences on  the surrounding environment within greater distances. Usually during  the process  of development of the OVOS  the detailed design of the  NPP is not yet designed so for the OVOS  there is  put  the task to make a model, being  general for various projects of the   NPP a potentially significant situation, which renders limited influence on  the surrounding environment, and  the value  of the risk  for  the supposed economic activity, herewith not being founded on the actual design decisions.  The scenario for  the  development  of referent heavy UE is provided in Table 43.

As the example may serve  the OVOS  for new NPP, designed by Finnish specialist s[177 - 179]. In the indicated document  there is considered  the influence  of the UE outside the limits of the state borders for  heavy hypothetical emergency  belonging to the Categories 6 ("heavy emergency") under ПАВ  being on  the level  of 100 Tbq 137Cs in accordance with the maximum value, installed by the Decision  of the Government of Finland (395/1991). For estimation  of the  value for the influence, caused  by the damage,  there were  made models of surges and   other nuclides, which form more than  90% of the forecasted dose of  irradiation, on correlation of their contents in active zone  of the reactor (for instance, surge 131I constituted 1500 Tbq.

For calculation of the  radiation  of the pollution under various meteo conditions in  the OVOS  of the byelorussian NPP there are considered 2 scenarios for heavy undesigned emergency (Table 138).

Table 138 – Scenarios for model making  of consequences

after  heavy undesigned emergency

| Name | Scenario 1 | Scenario 2 |
| --- | --- | --- |
| Period for model making | 24 hours | 24 hours |
| Duration of the surge | 1 hour | 1 hour |
| Dynamics of upper and lower border of the surge | 21 – 25 m | 21 – 25 m |
| Effective diameter of the source | 3 m | 3 m |
| Velocity of the trow | 1,8 m/sec | 1,8 m /sec |
| Overheating | 30 0 С | 30 0 С |
| Activity iod - 131 | 1×10 14 | 3,1×10 15 |
| Activity ceziy - 137 | 1×10 13 | 3,5×10 14 |

For model making  the spreading radiation pollution in the  atmosphere under  the undesigned emergency UE/ МПА in dependence from meteorological conditions  there was used automated system  for analysis and forecast of the radiation situations RECASS NT (FIAC of the Roshydromet (ГУ НПО "Typhoon"). The automated system RECASS NT was received by  the РЦРKM within the framework of realizing  the Program  of the Union state "Improvement and development  of the united technology for reception, collection, analysis and forecast, keeping and spreading of hydro meteorological information and data about pollution of  natural environment (the second stage) in 2003-2006 years.". The  RECASS NT was introduced and  within many years was successfully used in ФИАЦ of  the  Roshydromet,  at the  Russian NPP - Leningadsky, Volgodonsky, Novovoronezhsky, Kolisky, Beloyarsky, Bilibinsky, Smolensky, Balakovsky, Kalininsky, Kursky, as well as in РЦРKM  of the Department on hydrometeorology in  the Minprirody  of the Republic of  Belarus.

The calculations for  spreading  the radiation pollution under  the undesigned emergency UE/MPA were executed with use  of the models  with various spatial solution. This  is model:

- meso - scale – up to 100 km (was used for МПА);

- transborder - ~ 103 km  (was used for undesigned emergency UE).

The model calculated field density  for pollution  of the laying undersurface  as the result  of dry/humid sedimentation, integrated within time  of  the near ground concentration and  the field  of near ground  with concentration  of the radio nuclides in concrete moments of the time. The calculations are completed, when  the cloud deletes from  the source of the surge at maximum for model distance or when the stock quantity  of the radiation materials diminished up to  1 E-14 from  the reference stock quantity.

For operation of the  models for carrying polluting materials in the  atmosphere  there were used the data  of objective analysis and  the quantity forecast for meteorological parameters on standard geopotential surfaces from  the prognosis centers of the  Worldwide meteorological organizations (ВМО), got in РЦРKM This is the calculated fields with  meteorological parameters being  at the  level  of land (10 meters on  the level  of land for wind component and 2 meters on the level  of land for temperature) and on standard geopotential surface - 1000 gPa; 925 gPa; 850 gPa; 700 gPa;   500 gPa. The results  of model making  for carrying radiation materials in the  atmosphere - the data  for integral fallouts of  radiation materials on  the laying undersurface in 24 hours from  the beginning of  emergency in the manner of spatial fields with values in elements of the net with regular step having indicated accuracy and discreetness. The  received data were integrated into the  environment ГИС Mapinfo in the manner of thematic layer on the  digital map of the  territory  of the Republic of  Belarus scale 1:100000. For model making  of carrying  the radio nuclides in the  atmosphere  there were used the prognosis data of fields with  meteorological parameters in different periods of  the year.

In Figure  95  there is shown a scheme with indication  of  the wind directions in  compass points and degrees

Figure 95 – Layout with designation of wind directions in

compass points and  degrees

Spreading radiation materials in the  atmosphere occurs  as the result  of turbulent diffusion and wind  carrying. Under mathematical model making carrying  of the radiation materials form of  the trace, previously total, depends on interaction of various factors of the  atmospheric diffusion and wind carrying. At long-lasting surge  the radioactive cloud  has  a form of a  stream. In as the result interaction with small scaled  atmospheric curls, transverse  sizes of the radiation cloud may increase by miscellaneous degree. Interaction with large-scale atmospheric curls leads to  twisting of the path. The size of  the atmospheric curls is determined, previously total,  by vertical profile  of the temperature in  the  atmosphere and  the velocity of the  wind

The calculations of   radiation pollution over the  territory was executed with use  of the transborder model. In  the event of   the transborder pollution  there was executed  calculation  of the area for the zones of pollution (for various levels), delivered on  the territory of  the adjacent  states.

There was arranged model making  for carrying radiation materials in  the atmosphere and there was evaluated density over the  territory  of pollution  with radio nuclides in dependence of meteorological conditions.

Analysis of the  prepared results after  model making enabled to select 2 most conservative scenarios.

14.5.3.2 Scenario for  pollution of  small area

The given scenario is characterized  with comparatively low velocity of the  wind and sparingly firm condition of  the atmosphere which defines sedimentation of big quantities  of radiation materials on  a comparatively small area of  space - the zone  of maximum pollution will have  the extent up to 15 km from  the NPP and  the width being up to 1 km. Within the limits  of the zone  with maximum sedimentation  area  ( 2000 hectares  the density  of  the soil pollution 137Cs and  131I  the forecast  is executed within the scale from 2500 to 20000 kBq m-2, and  90Sr  - more than 37 kBq(м-2.  The density  of the soil pollution  with 137Cs and  131I  above 37 kBq(м-2 will exist on territory of the  area ~ 17500 and 22000hectares,correpondingly.

The meteorological situation: in summer  there  was defined  passing of atmospheric front with little activity.  All around  there  was preserved a  warm, mainly dry, only in the night at the  western part  of Brest area  there were noted small rains. By the  meteorological station of  the lake  Naroch on the  beginning  of the  emergency there was  registered:

- temperature  of the air 14,4   °С;

- direction  of the wind - 250  °С;

- western, 2 m/sec;

-  pressure 1013,0 gPa;

-  dew point 2,7  °С ;

-  general cloudiness 90 %;

-  cloud lower level - 40 %;

- category  of stability -D

At the  meteorological station of  Vileyka  there was registered:

- temperature  of the air 15,9  °С ;

- direction  of the wind - 350  ;

- northern, 3 m/sec, pressure 993,3 gPa;

-  dew point 1,7  °С ;

- general cloudiness 90 %;

- cloud  lower level - 20 %;

- category  of stability -D

The model making was executed with use  of the data prognosis for fields with meteorological parameters from  the Moscow  prognosis centre under the following conditions:

- the  wind at the height 10 meters, western, 25 km/hour;

- temperature at the height  of two meters over the land - 11  °С.

Precipitations were absent. The height of the  layer  for mixing reached 0,11 km.  The parameter  of stability according to Smith -5,6.

The density of  pollution  with radio nuclides over the  territory on  the axis of the trace and fields of  density  over the pollution territory with 131I are provided in Table 139 and  in Figure 96.

Table 139 - Density  of radio nuclides pollution over the

territory  on  the axis of the trace В, Bq/m2

| Р/н Bq/м2 050512 | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
| Scenario 1 |
| I-131 | 5,3Е+05 | 7,1Е+05 | 1,0Е+06 | 1,1Е+06 | 4,6E+05 | 1,4E+05 | 1,4Е+05 | 8,7Е+04 | 7,5Е+04 | 5,0E+04 |
| Cs-137 | 5,6Е+04 | 8,1Е+04 | 1,2Е+05 | 1,2Е+05 | 6,8Е+04 | 1,5Е+04 | 1,5Е+04 | 1,1Е+04 | 7,2E+03 | 5,4E+03 |
| Scenario 2 |
| I-131 | 1,6Е+07 | 2.2Е+07 | 3,5Е+07 | 3,7Е+07 | 1,9E+07 | 3,9Е+09 | 3,9Е+06 | 3,1Е+06 | 2,1Е+06 | 1,6E+06 |
| Cs-137 | 2,1Е+06 | 2,8Е+06 | 4,1Е+06 | 4,4Е+06 | 2,2Е+06 | 5,4Е+05 | 5,6Е+05 | 3,5E+05 | 2,5E+05 | 2,1E+05 |

# Figure 96 -  Fields  having  density of pollution over the territory  with 131I

# per track В.

Model making was executed with use  of  the prognosis data for the fields  of meteorological parameters from the  Moscow prognosis center under the following conditions: wind at the  of height 10 meters western, 25 km/hour, temperature at the height  of 2 meters on  the ground - 11 °С. Precipitations were absent. The height  of the layer for mixing reached 0,11 km. The parameter  of stability according to Smith -5,6.

14.5.3.3 Scenario for  pollution of  large area

The given scenario is characterized  with high velocity of the  air mass motion under moderate fluctuation which defines creation of  long stretching – up to  70 km from  the AES and comparatively broad -  up to  15 km of the fields  with radiation pollution having comparatively low density of  pollution: for 137Cs  range of values from 100 to 900 kBq(м-2 is expected  within the limits  of the trace over the area 45000 hectares,  and 131I in  the same diapason of  pollution - about 100000 hectares. The value  of density  for pollution  of soil 37 kBq (m-2 will exceed for 137Cs  over the area  for about 100000 hectares, and  for 131I  - over 130000 hectares.

Meteorological situation:  in summer there was defined western periphery  of extensive little movable anticyclone with the centre above   the Voronezh area. Mainly without precipitations, only on  the western part  of Brest area under the  influence of  little movable atmospheric front  there passed  short rains.  The wind  is south-eastern and  moderate. At the meteorological station  of Lintupy at the beginning of  the  emergency  there was registered:

- temperature  of the air 4,2  °С;

- direction  of the wind - 120 °;

- south-east, 1m/ sec;

-  pressure 995,7 gPa;

-  dew point 1,7  °С;

- general cloudicity 0 %;

- category  of stability - F

At the meteorological station  of Vilnius  there was registered:

- temperature  of the air 5,5  °С;

- direction  of the wind - 130 °;

- south-eastern, 1 m/sec;

-  pressure 1001,1gPa;

-  dew point 4,3  °С;

- general cloudicity 0 %;

- category  of stability – F.

Precipitations  were not observed.

Model making was executed with use  the data  of prognosis  for  the fields  having meteorological parameters from  the Moscow prognosis center under the following conditions:

- wind at the height of  10 meters, south - 20-28 km/hour;

- temperature at the height  of two meters above the ground - 6,0 - 7,2  °С.

The height  of the layer for  mixing reached 0,4 km. Parameter of stability according to Smith - 4.

Density of  pollution  over the  territory 131I and 137Cs on the axis of the trace is shown  in Table 140 and  Figure 97.

Table 140 - Density of radio nuclides pollution over  the  territory

on the axis of the trace  Сs, Bq/m2 (11.04.2009)

| Р/н Bq/м2 110400 | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
| Scenario 1 |
| I-131 | 4,0Е+04 | 5.3Е+04 | 8,0Е+04 | 1,2Е+05 | 8,9E+04 | 1,7Е+05 | 1,0Е+05 | 6,9Е+04 | 6,0Е+04 | 5,4E+04 |
| Cs-137 | 4,3Е+03 | 5,7Е+03 | 8,6Е+03 | 1,3Е+04 | 9,7Е+03 | 1,8Е+04 | 1,1Е+04 | 7,5Е+03 | 6,5E+03 | 5,8E+03 |
| Scenario 2 |
| I-131 | 9,7Е+05 | 1.3Е+06 | 2,1Е+06 | 2,7Е+06 | 2,3E+06 | 5,0Е+06 | 2,9Е+06 | 2,1Е+06 | 1,7Е+06 | 1,7E+06 |
| Cs-137 | 1,2Е+05 | 1,6Е+05 | 2,6Е+05 | 3,5Е+05 | 2,9Е+05 | 6,0Е+05 | 3,7Е+05 | 2,6Е+05 | 2,2E+05 | 1,9E+05 |

Figure 97 – Scenario 1.

Fields  having  density of pollution with 131I  and137Cs    over

the territory (track Cs)

## 14.5.3.4 Estimation of  possible radio nuclide pollution for  water streams

Changing  the condition of  surface waters  at creation  of the NPP and  appearing  of the emergency situation may be connected with radio nuclide pollution as the result  of dropping  the radio nuclides into the  inflow of the river Viliya in composition of the  sewage waters or  as the result of the radio nuclides surge into the  atmosphere and further sedimentation on  the water surface of the river Viliya and its inflows as well as on water collection area with  the following washing down a  part of the radio nuclides fallen down by the  surface sewage in to the river.

Volumes  of fluid  sewages  tapping into the  surrounding environment and delivery  of radio nuclides to  the surface water in 2005  year  related to  the permitted sewage tapping  (DS) for  the NPP, located in the  Russian Federation, with liquid sewage tapping  from the NPP of  Russia were less permitted (not exceeding the  DS).

Emergence  pollution  with radio nuclides of  surface waters in  the region of  location  for the byelorussian NPP is possible in the event of  dropping radio nuclides into the  sewage water and further into the  composition of  sewage waters for the river of Polpa.  For location  of  the given variant  for development  of emergency situation it is sufficiently to  plan construction  of rectification elements  as the most simplest partitioning building in the place  lower the  tapping down  of sewage waters for interception  of possible emergency pollution.

The mathematic model making for  estimation  of possible radio nuclide pollution of water streams and transborder transfer  of the radiation pollution executed for most unfavorable situation - maximum density of precipitation  for radio nuclides on  the water surface with taking into account maximum rain sewage from  the water collecting territory, polluted  with radio nuclides as the result of  emergency.

In generalized form the results  of estimation possible radio nuclide pollution in the river of  Viliya and transborder transfer of  radiation pollution for most unfavorable meteorological conditions under maximum precipitation  of radio nuclides on  the water surface shown in Figures 98 - 100 and in Table 141.

Figure 98 – Dynamics of  changing concentration 90Sr along the  river

bed of the river Viliya for various variants  of water provision

Figure 99 - Dynamics changing concentration 137Cs  along the  river

bed  of the river Viliya  for various variants  of water provision

неблагоприятных  погодных условиях: большого дождя,  тумана, грозы с градом, и снегопада или  если  максимальная скорость ветра в самой верхней части  конструкции башенного крана,  больше, чем 13м/сек или при наличии на строительной площадки удушающего дыма.

2.2 Строго соблюдайте  величину подъемной  высоты, которая  определена в соответствии с требованиями схемы (нумерация   секций мачты), и это  значение не  разрешается модифицировать без особого  разрешения во время  выполнения  рабочих операций. После получения  подтверждения  на проведение модификации  следует  составить новую схему  конструкции для исполнения, если  действительно необходимо произвести  изменения в проекте.

2.3  Выполните  все соответствующие подготовительные операции.

2.3.1 Проведите проверку   рабочего состояния молотка, гаечного   ключа, оправки, перфоратора,  каната безопасности и различных инструментальных средств и  вспомогательных устройств, которые нужно использовать для подъема. Инструменты должны быть  комплектными, работоспособными, и надежными  для выполнения  работ.

2.3.2 Подготовьте  достаточно штырьков (пар для  болтов), и соответствующих  длинных кабельных проводников,  основываясь на  количестве секций.

2.3.3  Проведите проверку   качество гидравлического масла  и  проведите замену  масла, утратившего свое качество, или  загрязнен, но имейте в виду, что масло  различных  марок не следует смешивать при использовании в гидравлической системе.

2.3.4 Проверяют чувствительность и рабочее состояние поднимающей системы.

2.3.5 Проверяют надежность работы подъемного  захвата, подвесной балки и  впуска трелевочной системы, а также  гибкость  управления перемещением частей.

2.3.6 Проверяют гибкость и надежность пролетов для верхнего и  нижнего  перекрестных лучей, и  проведите тестирование   без какой-либо  нагрузки , чтобы узнать, могут ли  пролеты гладко перемещаться.

2.3.7 Проверяют надежность вспомогательных захватов и подъемной  системы и проверяют  рабочее состояние грузовой  тележки, подъемного механизма , и стального кабеля,  убедитесь в отсутствии  ржавчины или искажения формы. Части с наличием серьезного поражения  ржавчиной и   деформированные части следует  заменить.

2.3.8 Проверяют надежность и чувствительность соответствующих тормозов и ограничителей.

2.3.9 Все  операторы, принимающие  участие в рабочем процессе, должны  быть специально направлены  на обучение  в соответствующие  учреждения,  они должны  пройти  экзамен и получить сертификаты на право  выполнения  работ при помощи башенного крана. Обслуживающий персонал должен получить разъяснение в отношении  их обязанностей и степени ответственности.  Расставляйте  операторов  в подходящие для них  позиции, чтобы они могли наилучшим образом использовать свои навыки, чтобы  они могли выполнять как можно  больше функций на строительной площадке.

2.3.10 Перед  каждой  процедурой  подъема,  всех  участников  выполнения рабочих операций необходимо собрать вместе.  Проведите рабочую планерку перед началом рабочей смены и объявите план работ  для установки и демонтажа башенного крана. Особенности для выполнения  процедур  подъема  описаны в руководстве, чтобы каждый участник  мог  хорошо изучить  весь объем операций, предполагаемых для выполнения.  Каждый оператор должен  знать  его обязанности  и степень ответственности прежде, чем фактически приступить  к  выполнению   операции телескопирования (увеличения вылета стрелы).

2.3.11 В контактные области штырьков и отверстий,  следует  ввести  некоторое количество масла и воска, а также  следует   выполнить мероприятия  по защите от  ржавчины.

2.3.12 Проведите проверку состояния  защитных устройств. Операторам разрешено   только тогда  приступить к выполнению  рабочих операций, когда  все требования  по технике безопасности  будут удовлетворены.

3.  Действия  в процессе подъема

3.1 Проведите подготовку всех необходимых компонентов,   расставьте операторов на  их позициях, и дайте   операторам  некоторое время, чтобы они   мысленно могли  войти в рабочее состояние, перед  тем как будет начата операция   телескопирования. Определите одного командира, который будет подавать   унифицированные   сигналы для определения операций   и сигналы отмены  выполнения. Внешний вид этих сигналов должен быть ясным и точным. Запрещается  выполнять  действия  на  двух уровнях одновременно во избежание несчастных случаев. Обязательно наличие  и применение профессионального ремня  безопасности для  обслуживающего персонала  при  выполнении операций  в подвесных частях.

3.2  Монтажники должны поддерживать  штырьки и болты, когда они  вбиваются в отверстия  и выбиваются из них, чтобы предотвратить  их  падение  и повреждение находящихся внизу людей.

3.3 Держатели молотков  должны быть достаточно прочными для  поднятия молотка,  с фиксированным центром  тяжести, и  локализованной  точкой  приложения  усилия.

3.4 Во время операции  подъема,  обратите особое внимание на увеличение длины  кабеля, с  наличием достаточного запаса. Должен быть назначен специальный человек для тщательной  проверки, чтобы предотвратить  воздействие на   кабель от  пережатия,  перетягивания и трения,   от ударов и повреждений, и т.п.. Зафиксируйте  кабель на  надежной шине, после того, как он будет правильно установлен.

3.5 Обратите  внимание на  позицию пролетов для перекрестного луча. Держите башенный кран  в сбалансированном состоянии и  перед продолжением телескопирования следите за тем, чтобы    размеры зазора между  направляющим шкивом  и секцией мачты   на раме рукава  были одинаковыми.

3.6 Запрещено  выполнять действия различных  механизмов в время  процедуры подъема .

3.7 Когда верхняя часть  башенного крана  опускается,  обслуживающий персонал должен   убрать головы, руки, и ноги   с  траектории относительного перемещения частей.  Опасными участками считаются : пространство между   рамой рукава и секций мачты, между  нижним  поворотным столиком   и самой верхней секцией мачты  на корпусе башни , а также в соединительных частях штырьков и осей на четырех углах.

3.8 Когда секция мачты, которую нужно добавить к конструкции, поднимается снова, соединительные болты должны быть установлены между  нижней  границей поворота башенного крана  и всеми сторонами корпуса башни , чтобы гарантировать их стабильную связь.

3.9 Операторам  запрещено  сидеть на  заградительном поручне в перерыве  между   операциями установки секций, которые предстоит  добавить к высоте конструкции.

3.10 Сохраняйте  полное  спокойствие, если в подъемной  системе  происходит любая неудача. Пригласите весь  персонал, имеющий отношение к монтажным работам, для устранения неисправности, прежде, чем  продолжить  дальнейшее  выполнение операций. Попытайтесь опустить конструкцию

Figure 100 - Dynamics changing concentration  131I   along the  river

bed  of the river Viliya for various variants water provision

Table 141 – Result  of calculations  for time  of reaching и maximum

concentration of  radio nuclides

| Variants of water supply | Time of reaching for the front of radio nuclides to the range at 1,1 km from the border, hour | Maximum concentration in transborder range at 1,1 km from the border , kBq/m3 |
| --- | --- | --- |
|  |  | 90Sr | 137Cs | 131I |
| 5 % provision | 4,56 | 0,3 | 1,2 | 0,9 |
| 50 % provision | 10,2 | 0,76 | 2,2 | 2,4 |
| 95 % provision | 13,2 | 1,48 | 4,5 | 4,4 |

From Figures 98 - 100  it is seen that the  maximum specific activity  of riper radio nuclides in water of the river Viliya  is observed  within the  area 1.1 from  the border up to the populated settlement Tartak. Lowering of  specific activities in water of the river Viliya occurs at the expense  of blurring convection spots in the flow and diffusion in transport  of water media. In the calculations there  was taken that riper radio nuclides are found in waters in  the diluted or adsorbed forms. During  motion  of the  spot  of the  radiation pollution  there occurs its  near bed blurring at the expense of radio nuclides interaction in  the system "waters - suspension -  bottom sediment". Full passing of the main mass of  radiation materials in  the diluted form along the calculated  area occurs within 100-120 hours from  the beginning of the  fallouts. Maximum forecasted  concentrations of  radio nuclides (131I, 137Cs, 90Sr) in the  transborder range in event  of  undesigned emergency do not exceed  the level of  interference (УВ), provided  by the Standards for  radiation safety (НРБ-2000), according to which  the УВ for 90Sr constitutes 5 kBq/m3 , 137Cs – 10 кBq/m3 , 131I – 6,3 кBq/m3.

14.5.3.5 Estimation  of possible radio nuclide pollution  for water reservoirs

Under radio nuclides sedimentation on water surface  of the water reservoirs  significantly and  gradually join to the  weighted particles having different diameters and within time move over to  the bottom sediment. Accordingly, maximum concentration  of radio nuclides in water reservoirs  will exist at  the moment  of radio nuclides sedimentation, and  further concentrations will fall  down at the expense  of radio nuclides transition into the  bottom sediment. For  calculations of temporal sedimentation  of the main radio nuclides mass and accordingly  lowering the  concentration  of radio nuclides is used  in the following approach:

- the  calculated velocities  of sedimentation  particles getting on  a free surface  of the water reservoir and  the  particles residing in it  in weighted condition are defined on  the formula  of  Г.И. Шамов [180] with  taking into account maximum velocities, under which sedimentation  of the alluvium particles stops. Hydraulic size is taken on recommendations [180].

The calculated velocities  for sedimentation  of the particles constitute:

- for large particles having the  diameter 0,1- 0,05 mm - 0,0067 m/sec;

- for average particles having the  diameter 0,05 - 0,01 mm - 0,0007 m/sec;

- for small particles having the  diameter 0,01- 0,005 mm - 0,000066 m/sec;

The calculated time  for  sedimentation of particles is provided in Table 142.

Table 142 - Maximum time  for sedimentation of particles in

water reservoirs

| Name of water reservoir | Time for sedimentation, hour |
| --- | --- |
|  | large particles (diameter 0,1- 0,05 mm) | average particles (diameter 0,05 – 0,01mm) | small particles (diameter 0,01- 0,005mm) |
| the radius 15 km |
| Olihovskoe water storage basin | 0,22 | 2,06 | 21,89 |
| Lake Slobodskoe | 0,21 | 1,98 | 21,04 |
| the radius 20 km |
| Lake Gomeli | 0,21 | 1,98 | 21,04 |
| Lake Beloye | 0,17 | 1,59 | 16,84 |
| Lake Klevie | 0,09 | 0,83 | 8,84 |
| Lake Baranskoe | 0,34 | 3,25 | 34,51 |
| Lake Turoveyskoe | 0,19 | 1,87 | 19,78 |
| Lake Zolovskoe | 0,52 | 5,00 | 53,03 |
| Lake Kayminskoe | 0,81 | 7,74 | 82,07 |
| Lake Golubina | 0,87 | 8,33 | 88,38 |
| Lake Tumskoe | 0,38 | 3,65 | 38,72 |
| Lake Podkostelok | 0,25 | 2,42 | 25,67 |
| Lake Yedi | 0,82 | 7,82 | 82,91 |
| Lake Gubeza | 0,53 | 5,12 | 54,29 |
| Lake Vorobyi | 0,13 | 1,23 | 13,05 |
| Yanovskoe water storage basin | 0,31 | 2,98 | 31,57 |
| the radius 25 km |
| Rachunskoe water storage basin | 0,19 | 1,87 | 19,78 |
| Lake Ryzheye | 0,11 | 1,03 | 10,94 |
| Lake mertvoye | 0,07 | 0,63 | 6,73 |
| Lake Tuscha | 0,08 | 0,79 | 8,42 |
| Lake Sviri | 0,36 | 3,45 | 36,62 |
| Lake Gluhoye | 0,21 | 1,98 | 21,04 |
| Lake Svirinische | 0,11 | 1,07 | 11,36 |
| Lake Byk | 0,21 | 1,98 | 21,04 |
| Lake Bilidzhyu | 0,21 | 1,98 | 21,04 |
| Lake Karotski | 0,21 | 1,98 | 21,04 |
| Lake Shkeyma | 0,21 | 1,98 | 21,04 |
| Lake Dyatlovina | 0,21 | 1,98 | 21,04 |
| the radius 30 km |
| the ponds of fish growing enterprise "Soly" | 0,21 | 1,98 | 21,04 |
| Lake Vishnevskoe | 0,26 | 2,50 | 26,52 |
| the ponds of fish growing enterprise "Margeyskiy" | 0,21 | 1,98 | 21,04 |
| Lake Ungurinis | 0,21 | 1,98 | 21,04 |
| Lake Rakovina | 0,21 | 1,98 | 21,04 |
| Lake Vakshteli | 0,21 | 1,98 | 21,04 |
| Lake Pyarunas | 0,21 | 1,98 | 21,04 |
| Table 142 (finished) |
| Name of water reservoir | Time for sedimentation, hour |
|  | large particles (diameter 0,1- 0,05 mm) | average particles (diameter 0,05 – 0,01mm) | small particles (diameter 0,01- 0,005mm) |
| Atimets | 0,21 | 1,98 | 21,04 |
| Gladne | 0,21 | 1,98 | 21,04 |
| Remark: in italics there are shown temporal sedimentation for lakes, for on which the reference data about their depth is absent, that is why the calculations were executed as for average deep water basins , that is for the depth of 5 m. |

Analysis  of the Table 142 shows that in  the event  of undesigned emergency the  majority  of water basins  within 30-km zone around  location  of the byelorussian NPP may have significant concentration of radio nuclides in  the first day. Only lakes Baranskoe, Zolovskoe, Kayminskoe, Golubina, Tumskoe, Podkostelok, Yedi, Gubeza, Sviri, Vishnevskoye may have considerable concentration of radio nuclides within first three days. In this period  it  will be necessary in  the event of appearing  the UE to provide  refusal  from exploitation of the indicated  water basins, particularly for water drinking of  live-stock and bathing the  population.  Besides,  it will be necessary  to conduct selection and analysis of water samples in water basins, indicated in Table 142 for acknowledgement of lowering the  level  for radio nuclide pollution  in water basins up to the safe one.

14.5.3.6 Forecast for contents  of radio nuclides in sorts  of agricultural

products under maximum projected and undesigned emergency

Under all emergency situations  there is  created  a trace  of radiation pollution, configuration  of which is determined  by duration of the surge and meteorological factors at the time of maximum concentration  for radio nuclides in  the  atmosphere

Under maximum project emergency the zone  of the most pollution  with radio nuclides will have  the extension  of 0,75-10 km from  the NPP and  the width < 0,8 km. On this territory  the area of  450 hectares with density of  pollution for the  soil 137Cs  is  forecasted being  within the range  of 0,57-1,5 kBq( m-2. For 131I  the  territory with density of  pollution above 37 kBq m-2 will have  the area  of 700 hectares. The level  of pollution  for the soil 137Cs >0,03 kBq( m-2. is expected within  the area  of 7000 hectares, and 131I > 0,86 kBq(m-2. - within  16000 hectares.

Under undesigned emergency there  will exist the  most surge of radio nuclides outside the limits  of the active zone reactor. There are considered different for the yearly conditions at the time of maximum radio nuclides concentration in the  atmosphere, which will bring about to quite different sedimentation on the  terrestrial surface:

- scenario for  pollution  over  a small area  is characterized by relatively low velocity of the  wind and moderately firm condition of atmosphere, which is determined  with sedimentation  of big quantities of radiation materials on relatively small  area  of the  space - the zone of maximum pollution will have extension up to 15 km from  the NPP and  the width up to 1 km. Within the limits  of the zone  with maximum sedimentation over the  area of  2000 hectares  the density  of  the  soil pollution  with 137Cs  and 131I  is forecasted to be  within the range from 2500 up to 20000 kBq( m-2,  and but 90Sr - more than 37 kBq( m-2. Density  of the soil pollution  with 137Cs  and 131I  above 37 kBq( m-2 will  be observed on the  territory  of the area~ 17500 and 22000 hectares, correspondingly;

- scenario for pollution  of large areas characterized by high velocity of air mass transfer  with moderate fluctuation, which defines creation  of extended - up to 70 km from  the AES and relatively broad - up to 15 km - fields   with radiation pollution having relatively low density of  pollution: for 137Cs the range  of values from 100 up to 900 kBq( m-2    is  expected  to be  within the limits of the trace on  the area  of 45000 hectares, and  for   131I   within the  same range of  pollution - about 100000 hectares.  The  value  for density  of the soil pollution 37 kBq( m-2 will  be exceeded for 137Cs  within  the area about 100000 hectares, and  for 131I - within 130000 hectares.

The highest level of  radiation pollution  is forecasted to be  on the axis of the trace  for radiation fallouts, correspondingly, these values  are adopted as greatly permissible under forecasted estimation for pollution of  products  at agricultural facilities.

The  calculations with using standard conditions testify, that in the first day after emergency fallouts (disregarding  the  scenario for  development  of the emergency situation) at the  level А according to  contents  of 137Cs  and 131I  in leaf verdure,  the surface of  which in the most degree  is contaminated  with aerial of precipitations, may be exceeded under 1,5 kBq( m-2, and 90Sr - under 0,15  kBq( m-2, level B - under 15 and 1,5  kBq( m-2, correspondingly. Through 20 days exceeding of the  level А according to  contents  of 137Cs in this type of products  is possible under density  of pollution 29  kBq( m-2, and the level B - under 2,9  kBq( m-2, 131I - on  the territory, where  the densityof pollution at the time of fallouts constituted 14,5 and 145  kBq( m-2, correspondingly

In  the  following  years after emergency, at root delivery of  radio nuclides into  agricultural plants,  there is also probable exceeding of the permitted levels for  contents  of radio nuclides in agricultural raw material and provender. In  the first 1-2  years after emergency there is possible exceeding of the permitted level for  contents of  137Cs in milk under its  production with use of  provender, produced on soddy-podzol sandy soils with density of  pollution more than 74 kBq( m-2 and on peat soils - above 20 kBq( m-2, and for 90Sr under contamination of provender  fields with  this radio nuclide above 15 kBq( m-2. In grains, the root- and tuber crops there  possible exceeding of permitted standard for on 137Cs under density  of pollution  in the soil >150 kBq( m-2, and 90Sr  - >37 kBq( m-2 for grain and >6 kBq( m-2 for root- and tuber crops. On  termination of  10 years since  the moment  of emergency in grains, the root- and tuber crops  there is found exceeding  of permitted  level  for contents of  137Cs probably under density  of pollution  in the soil > 400 kBq( m-2, and in milk when using provender, grown on peat soils - above 45 kBq( m-2. For 90Sr  the  critical sorts on contents of the  radio nuclides are  milk and potatoes, and exceeding of permitted standard (3,7 Bq· kg-1)  is probably found under density  for pollution of the  soil >10 kBq( m-2.

The scenario for  pollution  of small area under undesigned emergency.  The forecast for contents 137Cs in sorts of  agricultural products  is shown  in the Figure 101, 90Sr -  in the Figure 102, 131I  -  in the Figure 103.

| а) | б) |
| --- | --- |
| Figure 101 – Specific activity 137Cs in sorts agricultural products within first (а) and following vegetation seasons (б) after emergency fallouts |
| а) | б) |
| Figure 102 – Specific activity 90Sr in sorts agricultural products within first (а) and following vegetation seasons (б) after emergency fallouts |

Figure  103 – Specific activity 131I  in  sorts  of  agricultural products

within first vegetation season after emergency  fallouts

What follows from the  forecasted calculations, is the most greater specific activities  of  the radio nuclides will  be observed in the  first day after fallouts about leaf verdure, closely exposed to aerial precipitations and particles of  fallouts  which contaminated the surface.

Under  the given scenario for  development  of the radiation situation exceeding  the level А in leaf verdure will be  observed on the territory of the  area over 25000 hectares, and the level B – 15000 hectares.

The highest specific activities forecasted in the  leaf verdure and grasses  of provender taken near the  axis of the trace (107 Bq(kg-1  according to  137Cs and  131I, up to (105 Bq(kg-1  according to  90Sr. To a lesser extent  there will  be polluted grains (106 Bq(kg-1 according to   137Cs и 131I,  up to <105 Bq(kg-1 <105 Bq(kg-1  90Sr.  During removal from  the axis of the trace the  specific activity will fall and  at distances over 500 m  will not exceed the  background values.

The minimal level of  pollution in  the first vegetation season will  be featured  in root- and tuber crops closely protected from aerial fallouts (<103 Bq(kg-1), as well as products  of cattle breeding (<106 Bq(l-1).

Contents  of  radio nuclides in  the studied sorts  of agricultural products  at a distance over 20 km from  the AES  is forecasted about by 10 times lower  in comparison with maximum supposed values because of the  smaller value  for sedimentation  of radio nuclides on this at a distance (not more than 230 kBq(m-2 on137Cs, 370 kBq(m-2  on 131I, 18 kBq(m-2  on 90Sr). Correspondingly  there will be  lower and  the level contents  of these radio nuclides in all sorts of  agricultural products.

In the following , in  the first vegetation period after fallouts,  the forecast   for lowering  specific activities  of radio nuclides in  the studied sorts by 2 times each 15 days according to 137Cs and 90Sr and 5-7 days according to 131I  under "dry" at a distance.

Correspondingly, through 20 days after  the emergency exceeding  the level B on contents 137Cs being the most critical to aerial surface pollution  the leaf verdure will  be registered within the  area not more than 17000 hectares, through 40 days - 13000 hectares,   at the level A- within the area 20000 and 15000 hectares correspondingly. Under  the atmospheric precipitations  the velocity  of rectification  for the surface plants  there is expected in proportion to  the intension of  precipitations and their quantity, correspondingly and  the territory with  the exceeding levels А and B will be the more less, when more precipitations will fall down on  the territory of the trace.

In  the following vegetation season  the contents  of the radio nuclides in agricultural products will  be determined  by the root delivery. Herewith the highest specific activities  of  137Cs and 90Sr forecasted in  the first  year after fallouts in grasses  for provender taken from the  peat soil, in which specific activity  of 137Cs may reach tens of  thousands Bq(kg-1 under maximum densities  of pollution  being on axis of the trace.  The specific activity 137Cs  in grains and potatoes is expected  to be considerably low and  only under maximum density pollution may  reach (104 Bq(kg -1 on 137Cs and several hundreds Bq(kg-1  according  to 90Sr.

On  the axis of the trace  there is  possible exceeding standards  of the РДУ  at a distance up to 60 km from the NPP . With removal from the axis of the trace in transverse direction  there is forecasted lowering of specific activities  for 137Cs and 90Sr, and  at distances over 500 m they not will not exceed  the background values.

At a distance above 20 km from  the NPP on  the axis of the trace which corresponds to the distance to the border  of the adjacent state, the specific activities  are forecasted  by  10 times  less  in comparison with the  maximum values.

n  the following  years  there is  forecasted lowering  of specific activities  for radio nuclides in  the studied sorts  of agricultural products, moreover  the most intensive it  is forecasted for 137Cs:  within the  first 10 years after emergency  lowering constitute by 4-5times, and within 20 years – by  10 times. For 90Sr diminishing not so intensive - by 2 times each 20-25 years. Together with that, there are necessary restrictions for consumption of agricultural product sorts and at  the remote stage after  the emergency.   On termination  of 10 years from the moment  of emergency in grains, root- and tuber crops exceeding the permitted level  for contents of  137Cs  is  probable under density  of pollution in   the  soil  > 400 кBq(м-2 on the  territory of the  area of  10000hectares. Pollution  with 137Cs  in  milk over 100 Bq ·l-1 under using for its production  of provender, grown on peat soils, it is possible under density of  pollution  in the soil 45 кBq(м-2 on  the area about 16000 hectares. For 90Sr critical to receipt of  milk and potatoes are  the territories with density  of pollution  in the soil  >10 кBq(м-2 within the area of  10000 hectares.

The scenario for pollution of  large areas under undesigned emergency.  The highest specific activities 137Cs (See Figure 104), 90Sr (See Figure 105), 131I  (See Figure 106) in the  first day after fallouts  are forecasted  for leaf verdure and grasses  used for provender, are  found to be  - 2-5(105 Bq(kg -1 for 137Cs and 131I,  up to  104 Bq(kg-1 for 90Sr.

неблагоприятных  погодных условиях: большого дождя,  тумана, грозы с градом, и снегопада или  если  максимальная скорость ветра в самой верхней части  конструкции башенного крана,  больше, чем 13м/сек или при наличии на строительной площадки удушающего дыма.

2.2 Строго соблюдайте  величину подъемной  высоты, которая  определена в соответствии с требованиями схемы (нумерация   секций мачты), и это  значение не  разрешается модифицировать без особого  разрешения во время  выполнения  рабочих операций. После получения  подтверждения  на проведение модификации  следует  составить новую схему  конструкции для исполнения, если  действительно необходимо произвести  изменения в проекте.

2.3  Выполните  все соответствующие подготовительные операции.

2.3.1 Проведите проверку   рабочего состояния молотка, гаечного   ключа, оправки, перфоратора,  каната безопасности и различных инструментальных средств и  вспомогательных устройств, которые нужно использовать для подъема. Инструменты должны быть  комплектными, работоспособными, и надежными  для выполнения  работ.

2.3.2 Подготовьте  достаточно штырьков (пар для  болтов), и соответствующих  длинных кабельных проводников,  основываясь на  количестве секций.

2.3.3  Проведите проверку   качество гидравлического масла  и  проведите замену  масла, утратившего свое качество, или  загрязнен, но имейте в виду, что масло  различных  марок не следует смешивать при использовании в гидравлической системе.

2.3.4 Проверяют чувствительность и рабочее состояние поднимающей системы.

2.3.5 Проверяют надежность работы подъемного  захвата, подвесной балки и  впуска трелевочной системы, а также  гибкость  управления перемещением частей.

2.3.6 Проверяют гибкость и надежность пролетов для верхнего и  нижнего  перекрестных лучей, и  проведите тестирование   без какой-либо  нагрузки , чтобы узнать, могут ли  пролеты гладко перемещаться.

2.3.7 Проверяют надежность вспомогательных захватов и подъемной  системы и проверяют  рабочее состояние грузовой  тележки, подъемного механизма , и стального кабеля,  убедитесь в отсутствии  ржавчины или искажения формы. Части с наличием серьезного поражения  ржавчиной и   деформированные части следует  заменить.

2.3.8 Проверяют надежность и чувствительность соответствующих тормозов и ограничителей.

2.3.9 Все  операторы, принимающие  участие в рабочем процессе, должны  быть специально направлены  на обучение  в соответствующие  учреждения,  они должны  пройти  экзамен и получить сертификаты на право  выполнения  работ при помощи башенного крана. Обслуживающий персонал должен получить разъяснение в отношении  их обязанностей и степени ответственности.  Расставляйте  операторов  в подходящие для них  позиции, чтобы они могли наилучшим образом использовать свои навыки, чтобы  они могли выполнять как можно  больше функций на строительной площадке.

2.3.10 Перед  каждой  процедурой  подъема,  всех  участников  выполнения рабочих операций необходимо собрать вместе.  Проведите рабочую планерку перед началом рабочей смены и объявите план работ  для установки и демонтажа башенного крана. Особенности для выполнения  процедур  подъема  описаны в руководстве, чтобы каждый участник  мог  хорошо изучить  весь объем операций, предполагаемых для выполнения.  Каждый оператор должен  знать  его обязанности  и степень ответственности прежде, чем фактически приступить  к  выполнению   операции телескопирования (увеличения вылета стрелы).

2.3.11 В контактные области штырьков и отверстий,  следует  ввести  некоторое количество масла и воска, а также  следует   выполнить мероприятия  по защите от  ржавчины.

2.3.12 Проведите проверку состояния  защитных устройств. Операторам разрешено   только тогда  приступить к выполнению  рабочих операций, когда  все требования  по технике безопасности  будут удовлетворены.

3.  Действия  в процессе подъема

3.1 Проведите подготовку всех необходимых компонентов,   расставьте операторов на  их позициях, и дайте   операторам  некоторое время, чтобы они   мысленно могли  войти в рабочее состояние, перед  тем как будет начата операция   телескопирования. Определите одного командира, который будет подавать   унифицированные   сигналы для определения операций   и сигналы отмены  выполнения. Внешний вид этих сигналов должен быть ясным и точным. Запрещается  выполнять  действия  на  двух уровнях одновременно во избежание несчастных случаев. Обязательно наличие  и применение профессионального ремня  безопасности для  обслуживающего персонала  при  выполнении операций  в подвесных частях.

3.2  Монтажники должны поддерживать  штырьки и болты, когда они  вбиваются в отверстия  и выбиваются из них, чтобы предотвратить  их  падение  и повреждение находящихся внизу людей.

3.3 Держатели молотков  должны быть достаточно прочными для  поднятия молотка,  с фиксированным центром  тяжести, и  локализованной  точкой  приложения  усилия.

3.4 Во время операции  подъема,  обратите особое внимание на увеличение длины  кабеля, с  наличием достаточного запаса. Должен быть назначен специальный человек для тщательной  проверки, чтобы предотвратить  воздействие на   кабель от  пережатия,  перетягивания и трения,   от ударов и повреждений, и т.п.. Зафиксируйте  кабель на  надежной шине, после того, как он будет правильно установлен.

3.5 Обратите  внимание на  позицию пролетов для перекрестного луча. Держите башенный кран  в сбалансированном состоянии и  перед продолжением телескопирования следите за тем, чтобы    размеры зазора между  направляющим шкивом  и секцией мачты   на раме рукава  были одинаковыми.

3.6 Запрещено  выполнять действия различных  механизмов в время  процедуры подъема .

3.7 Когда верхняя часть  башенного крана  опускается,  обслуживающий персонал должен   убрать головы, руки, и ноги   с  траектории относительного перемещения частей.  Опасными участками считаются : пространство между   рамой рукава и секций мачты, между  нижним  поворотным столиком   и самой верхней секцией мачты  на корпусе башни , а также в соединительных частях штырьков и осей на четырех углах.

3.8 Когда секция мачты, которую нужно добавить к конструкции, поднимается снова, соединительные болты должны быть установлены между  нижней  границей поворота башенного крана  и всеми сторонами корпуса башни , чтобы гарантировать их стабильную связь.

3.9 Операторам  запрещено  сидеть на  заградительном поручне в перерыве  между   операциями установки секций, которые предстоит  добавить к высоте конструкции.

3.10 Сохраняйте  полное  спокойствие, если в подъемной  системе  происходит любая неудача. Пригласите весь  персонал, имеющий отношение к монтажным работам, для устранения неисправности, прежде, чем  продолжить  дальнейшее  выполнение операций. Попытайтесь опустить конструкцию

| а) | б) |
| --- | --- |
| Figure 104 – Specific activity of 137Cs in sorts of agricultural products within first (а) and following vegetation seasons (б) after emergency fallouts |

| а) | б) |
| --- | --- |
| Figure 105 – Specific activity of 90Sr in sorts of agricultural products within first (а) and following vegetation seasons (б) after emergency fallouts |

Figure 106 – Specific activity  of  131I in sorts of  agricultural

products within first vegetation season after emergency

fallouts

To a smaller degree probable pollution of the grain - not over 105 Bq(kg-1 for  137Cs и 131I. Minimum levels  of pollution within  the first vegetation season shall be expected for root- and tuber crops (<102 Bq(kg-1), toughly closed from aerial fallouts, as well as products  of cattle breeding (<105 Bq(л-1). Such levels  of pollution may  be registered  at a distance of  12-25 km from  the NPP and up to 5-6 km in transverse direction from the  axis of the trace under density  of pollution  in the soil  for 137Cs и 131I  being above 200 кBq(м-2.

Under given scenario the  undesigned emergency exceeding  the level А in  the sorts  of agricultural products may be  observed on the territory  of the area up to 750000 hectares,  and  the  level B -  up to 150000 hectares.

Contents  of the radio nuclides in  the studied sorts  of agricultural products on  the territory  of Lithuania at a distance over 20 km from the   NPP is forecasted not more than  by 5 times lower  in comparison with maximum supposed values because of  the  smaller value  of sedimentation for  radio nuclides on this at a distance (not more than 54 kBq(м-2 137Cs and 131I, <10 kBq(м-2 for 90Sr).

In the following, within  the first vegetation period after fallouts  the forecasted lowering  of specific activities for  radio nuclides at a distance  by 2 times each 15 days for 137Cs  and  90Sr, 5-7 days for  131I, under   "dry" radiation materials. Thereby, exclusively at a distance under "dry" radio nuclides with  the surface plants through 20 days after  the emergency exceeding the  level B for contents 137Cs in the highest critical to aerial surface the  pollution in leaf verdure will be registered on  the area not more than 102000 hectares, and through 40 days - < 65000 hectares,  the level A - on the area  of 600000 and 450000 hectares, correspondingly. Herewith  the velocity for rectification  of the surface plants will be in direct dependence from intensity and amount of the  fallen precipitations

In  the following  years,  the contents of  radio nuclides in agricultural products will  be determined  by the root delivery, and the highest specific activities  for 137Cs and 90Sr are expected in  the first  years after  the radiation fallouts. Amongst  the investigated  sorts of agricultural products  the maximum specific activity  for radio nuclides is forecasted in grasses  of provender  in the course of  the years. In grasses on peat-boggy soils  the contents  of both radio nuclides may reach  2-4(103 Bq(kg-1 under maximum densities  of pollution on axis of the trace. On soddy-podzol sandy soils contents  of  137Cs in grasses  do not exceed 103 Bq(kg-1, and  for 90Sr – (50 Bq(kg-1.  The specific activity of 137Cs  in grains and potatoes under maximum density of  pollution may reach ( n (102 Bq(kg -1  for   137Cs  and up to  n (101 Bq(kg -1 for  90Sr.

Contents of  137Cs in milk in  the following vegetation season not exceed 100  Bq(l-1,  and   90Sr constitute units Bq(l-1. At a distance above 20 km from  the NPP which corresponds to the distance to  the border  of the adjacent state,  the specific activities  are forecasted to be  by 5 times less  in comparison with the  maximum values.

In  the following  years there  will take place lowering of  specific activities  for radio nuclides in  the studied sorts  of agricultural products, moreover  the  most intensive it is  forecasted for 137Cs: within the first 10 years after  the emergency lowering constitute by 4-5 times, and  within 20 years -  by  10times. For 90Sr it  is getting not more  intensive -   by 2 times  per each 20-25 years. Together with that, there will be necessary restrictions for consumption of   the sorts  of agricultural products on  the restricted area and at remote stage after emergency.  On termination  of 10 years  from the moment  of emergency in  grains, the root- and tuber crops exceeding  of the permitted level  for contents  of 137Cs is  probable under density of pollution  in the soil > 400 kBq(m-2 on  the territory of the  area 5000 equal to hectares.  The  volume activity  for 137Cs in milk  is over 100 Bq(l-1  is possible under using for production  of this product  the provender, grown on peat soils, under density  of pollution  in the soil equal to 45 kBq(m-2 on  the territory  of the area about 100000 hectares. For 90Sr critical to receipt  of milk and potatoes  there are densities of  pollution in the soil  >10 kBq(m-2  within the area of  several hundreds  hectares.

Maximum project emergency is the most probable variant  for creation  of radiation situation, connected with breach  of operation  at the NPP and  the following surges. However  the levels  of pollution in the surrounding environment will herewith be small. Exceeding density  of pollution  in the soil 137Cs over 0,37 kBq(m-2  is forecasted on  the area  of 1000 hectares. For  131I  the  area with density of  pollution  being above 37 kBq(m-2 constitute about 700  hectares, and from 3,7 to 37 kBq(m-2 – 12000 hectares.

The highest specific activities  are forecasted in leaf verdure and grasses provender within the years on axis of the trace  being up to до 7(104 Bq(kg-1  for 131I,  to 103 Bq(kg -1  for 137Cs  and to (102 Bq(kg-1 for 90Sr. Thereby, in leaf verdure  there will  be exceeded only contents of for at the level B within the  area about 2000 hectares and at  the level A- within 10000 hectares ( See Figures 107 – 109)

To a smaller degree  there will  be polluted grains - not more than 102 Bq(kg-1 for 137Cs,    <104 Bq(kg-1 for 131I and up to <20 Bq(kg-1 for 90Sr. Alongside with removing from  the axis of the trace  the specific activity will fall and  at distances over 800 m  will not exceed  the background values/

Contents of the  radio nuclides in  the studied sorts  of agricultural products  at a distance over 20 km from  the NPP  is forecasted to be  about by10 times lower  in comparison with  the maximum supposed values due to smaller value  for sedimentation  of radio nuclides  at a distance (not more than 0,28 kBq(m-2 for 137Cs, 2,3 kBq(m-2  for 131I, 0,075 kBq(m-2 for  90Sr). Correspondingly there will lower and levels of contents  for these radio nuclides in all investigated sorts of agricultural products

Hereinafter, in  the first vegetation period after  the fallouts, there  is forecasted lowering  of specific activities at a distance for radio nuclides in  the studied sorts by 2 times each 15 days for  137Cs and 90Sr, 5-7 days for 131I under " dry" radiation materials. However because of relatively low level  of radiation pollution under a maximum project emergency through 20 days after  the emergency the level B for contents  of 131I in leaf verdure will  be registered on the  area not more than 2000 hectares, and  the  level A - on  the area of  6000 hectares.

| а) | б) |
| --- | --- |
| Figure 107 – Specific activity of 137Cs in sorts of agricultural products within first (а) and the following vegetation season (б) after emergency fallouts |
| а) | б) |
| Figure 108 – Specific activity of 90Sr in sorts of agricultural products within first (а) and the following vegetation season (б) after emergency fallouts |

Figure  109 – Specific activity  of 131I in sorts  of agricultural

products within first vegetation season

after emergency  fallouts

In  the following vegetation season, contents  of the radio nuclides in agricultural products will  be determined  by the root delivery, however  the specific activities  for 137Cs and  90Sr will  be extremely low and  will not exceed  the permitted standards about contents of  radio nuclides in agricultural raw material and provender even on the axis of the trace. In particular,  the specific activity  for 137Cs in grasses, grown on peat soils,  does not exceed 60 Bq(kg-1, in milk - 20 Bq(l-1, but in  grains, root- and tuber crops - 1  Bq(l-1.  The specific activity  for  90Sr  will be comparable with such for global fallouts: not more than 2 Bq(kg-1 in grasses and tenth shares of  Bq(kg-1  in  the rest sorts  of agricultural products

14.5.3.7 Action of  ionizing irradiation on agricultural

plants and cattle under emergency situations

The irradiation under radiation of the surge  delivered by maximum project emergency also will not render  the  radiation-induced influence due to small  doses  of ionizing irradiation. Dose -(-irradiation from  the stream of  radiation gases and aerosols, expiring from   the  damaged containment, not exceed 4 mSv on  the soil surface  at distances up to 500 m from  the NPP (at greater  distance it scatters and  there is created a cloud),  the total dose from - (- and (- -irradiation in the  radioactive cloud fallouts  does not exceed 0,4 mSv. Dose from (-irradiation of  radio nuclides, fallen down on the  ground,  does not exceed 0,28 mSv(h-1  or  0,03 mSv within 1-st vegetation season.  The indicated of dose specifications  for the order of the values comparable with natural radioactive background and on this reason also will not cause  radiation-induced influence on  the biota.

Undesigned emergency is accompanied  with delivery into the  surrounding environment  of broad spectrum  of radio nuclides with large activity that will bring about creation of  significant  doses  for the ionizing irradiation.

Maximum doses will be formed from the  stream  of gas and aerosols radiation at distances up to 500 m from  the NPP. Closely to the level of  the  surface soil  the accumulated equivalent dose from the external -irradiation may reach 3,6 Sv within the  time of the surge.

Within the  zone of maximum sedimentation  for radiation materials  at a distance  of 500-7500 m from  the NPP the total dose  for (- и (-irradiation in  the cloud radiation fallouts does  not exceed 1 Sv.  The dose  for external -irradiation from  the radio nuclides, fallen down on the  ground,  does not exceed 200 μSv(h-1  in  the first hours after fallouts, as a whole, within  the first vegetation season  the dose for  external –irradiation does not exceed 130 mSv ( See the  figure110).

Alongside with  removal from  the NPP the  doses will fall and  at a distance of  20 km from  the axis of the trace  they will be by 10 times less  in comparison with  those shown above, through 70 km - by 10 times more.

| а) | б) |
| --- | --- |
| в) | г) |

Figure  110 – Forecasted doses from external (-irradiation of gases

and  aerosoles (а), external  (-irradiation in the clowd (б),

doses power in  external (-irradiation from the soil surface (в),

doses of external  (-irradiation from the soil surface  within

vegetation period (г)

The doses of internal irradiation  for cattle (up to 200 mSv on  the body and up to 50 Sv on a  thyroid gland) executed for  maximum unfavorable variants  of 20 daily  pasture   for cattle on the  axis of the trace within  the zone of  maximum sedimentation for radio nuclides (density  of the soil pollution for 137Cs and 131I up to                20000 kBq(m-2). Considerable uncertainty  of the given estimation connected with lowering of  contents  for radio nuclides in herbs of  natural pastures in the  first vegetation period under emergency precipitations , in that time, as in organism  of the cattle contents  of radio nuclides, opposite, increases in  the course  of time. Besides, it is obvious, that within  the  zone having maximum sedimentation of radio nuclides 20 daily pasture  for cattle will not be  executed , consequently, the  indicated values are very approximate and reflect maximum permissible of doses for  loads.

The indicated doses  are considerably lower  in comparison with the range of  the doses values, under which  there are fixed losses of  the crop of agricultural plants and cattle [181 - 183]. It is well known,  that from the agricultural plants  cereals and some sorts of  bob   are featured with the  most sensitivity for radiation, for which  there is observed 50 % lowering  of crop  within the range of doses  for sharp -(-irradiation 5-10 Gy. For agricultural cattle the range of  doses from sharp external (-irradiation constitutes 3-4 Gy. Indicated within the range  of considerably lower forecasted doses under sharp irradiation in  the event  of undesigned emergency

For cattle  the doses from external (- и (-irradiation will be considerably lower, which is  connected with a number of reasons. The plants are constantly found in the  zone  of irradiation,  the animals may  come out of its limits,  and  the pasture even in summer time occurs only  during  the determined time. Besides,  the skin and woolly cover  of the cattle to a considerable degree  is capable to shield  (-particles, kept  by this surface. Correspondingly, even under the most conservative estimations, it is obvious that  the dose from (-irradiation  must be as minimum by  2 times lower. Together with that,  the doses on  the thyroid gland  of cattle under  the above shown conditions for  pasture, could cause  breaches for this organ functioning. For the cattle using  pasture within  the zone  with maximum sedimentation  of radiation materials  there are possible some deviations in work  of the organs in the  system  of blood creation and breaches of  immune status, fixed by means of special biochemical methods.

14.5.3.8 Levels  of pollution with  radio nuclide Cs-137 of  various

components  in the lake  of ecological systems under maximum

projected and undesigned emergency

In accordance with  the model calculations, executed  by the РЦРKM, in  the event of  maximum project emergency  the density for radiation pollution  with 137Cs may  vary  within the limits 0,5 - 5 kBq/m2. In water basins at the expense of the   radio nuclides delivery from the water collecting territory  the contents  of radio nuclides may reach  high values. On  the process of migration  for radio nuclides into the  system "water collection-lake" affect many factors. Amongst them is  the specific area  for water collection, nature of  the ground, composition  of vegetation, moisture and many others. About 80 % of the territory  within 30-km zone around  the area occupies the  soil, in which mobility  of 137Cs was  low and very low, and considerable part of water collection territories is covered  with timber and marsh vegetation, effectively keeping radio nuclides, that is why it is possible to expect that  the velocity  for delivery  of radio nuclides and their quantity will not  be so great. Considerable part (up to 90 %)  of the radio nuclides received by the water basin will be absorbed by the bottom sedimentation and  extracted from  the  biotic rotation. The remained part will not render observed influence upon  the structure and operation of the  lake ecosystems.

Under  the undesigned emergencies under the  level of  pollution for  water collecting territory with radio cesium up to 5000 kBq/m2 there is  possible  to have danger accumulation of  radio nuclides in final sections of the food chains ( predatory   fish) up to the  level, presenting danger for  human health.

For estimation of behavior of  radio nuclides in  the lake   ecosystems under the undesigned emergency there was  used software  of the type MOIRA-PLUS DSS (A model based computerized system for management support to identify optimal remedial strategies for restoring radionuclide contaminated aquatic ecosystems. Decision Support System). As the  object  for model making there  was chosen the  lake  of Sviri, located on the border  within 30 km zone of  the NPP influence.  For estimation  of  the level  for pollution at the  water collecting territory  there was used the data  from РЦРKM,   received on the grounds of model making  for atmospheric transfer of  radio nuclides.

In the Figure 111  there is shown the result of  model making  for the level of  pollution with  radio nuclide 137Cs  for various components in the lake  ecological systems and their change in the course of time. According to  the model calculation, a large part of pollution within  a short interval of time (2-3 months) will be  connected in  the bottom  sediments.  Fine disperse biological structures ( phytoplankton and bacteria, particles of detritus, suspended products from metabolism of  plankton) and allochthonic suspension, possessing considerable absorption surface, actively accumulate radio nuclides and in  the process  of  sedimentation carry them from  the watersной thick masses into the  bottom sediments. The process of sedimentation in  the determined amount is controlled by the  biological processes, modifying  the  amount spectrum  of  the sediments. Such processes are the  microbe aggregation of fine disperse  sediments and fecal separations from the zooplankton. Under  average velocities  for sedimentation  is less one meter or about one  meter in  the daily  velocity of sedimentation  for fecal  fallouts and fragments constitute  tens and hundreds of  meters per one  day. Thereby,  the radio nuclides delivered into the  water basin, are pumped sufficiently quickly from water thick masses into the  bottom sediments.

Figure 111 –  Dynamics  of contents  for  137Cs   in waters,

bottom sediments, phytoplankton

and in the body of peaceful and predator sorts of fish at

undesigned  emergencies

The biological structures constantly creating in  the process  of photosynthesis, there are  shown for  phytoplankton, periphyton, macrophytes, as well as  the products of  their transformation – detritus and  heterotrophic organisms, immobilize radio nuclides, including them into the biomass composition. The radio nuclides transformed  into  the sedimentation form migrate along the food chain, accumulating in the  biomass. The levels of  pollution for  initial (the phytoplankton) and final (peace and predator sorts of  fish) sections  in the food chains noticeably differ. The peaceful sorts if fish reach maximum pollution through 6 months after  the emergency, but the  predator  sorts through 15. Hereinafter in the  lake  there is tracked proper lowering  of  the pollution level  for all components of  ecological systems, conditioned  by natural surge of  polluting materials and low migration  of radio nuclides with water collection. On this background  there are well tracked periodical summer oscillations of contents for  radio cesium in  the waters and  other components of lake ecological systems, conditioned  by so named secondary pollution of  water masses  at the expense of  throwing out the radio nuclides from  the bottom  sediments.

From  the model calculations it  follows that under undesigned emergency the levels  of pollution  with radio cesium  for  peaceful e and predator fish reach the values dangerous for human being, however on functioning of  the lake ecological systems  this not will not make any influence.

14.5.4 Expected doses  of irradiation for the  population under

maximum   project emergency at the energy block

14.5.4.1 General provisions

All modes  of design emergences may be divided into three groups:

1) emergency with surge of the  fissions products into  containment;

2) emergency with drainage from the first contour into the second;

3) emergency with bypass of containment.

The most dangerous emergencies from the first group  from the standpoint  of the degree  for active zone damage are the  modes "Instant jamming  of the main circulation pumping unit" and " The mode  of large flow: breakup  of water piping lines in the  first contour with the diameter over 100 mm, including Ду 850", in which  there is taking place  loss of sealing 100 %  for ТВЭЛ in  the active zone. During the rest  of emergencies from the first group for ТВЭЛ additional loss of  sealing does not take place. So the  rest  of the modes from the first group must have smaller  radiation consequences. The exception may be only  the emergency with small drain  of heat carrier and  fail of the sprinkler  system operation.

As maximum projected emergency there  is considered  the mode large flow: breakup  of  piping lines in the  first contour  with the diameter over 100 mm. As conservative  one there is taken admission   about 100 % of losing sealing. In  the result  of breakup  in the first contour piping lines there is  taking place drain from the first contour heat carrier and, as  the effect, the pressure increasing in the containment [184].

The calculation of  activities for radio nuclides  during emergency surge and doses  for irradiation  of the population  was executed with use  of the package InterRAS (The International Radiological Assessment System), which is intended for use of  specialists, executing estimation  of radiological emergences [185].

The package is designed on  the base of the program U.S. NRC's RASCAL (Radiological Assessment Consequences Analyses) and is founded on the document "International main standards for  protection from ionizing irradiation and safety radiation sources" [186].

There  was used the  model “source of the surge – dose”, which estimates integrated doses, forming in  the result  of emergency surge  with radio nuclides into the  atmosphere. The model allows to evaluate  the consequences  of  the potential or occurring at the this moment  surge under using  the row of  admissions and introductions of the  data, concerning conditions  of the  station, meteoconditions, state of the surrounding environment [187 ].

In the calculations there were used determined admissions, which enabled to get scientifically motivated upper levels of doses for  irradiation  of the population  as the result  of  possible emergency on the byelorussian NPP.

The surge  of radio nuclides into the  surrounding environment at the expense  of leakage through  loss of density  in the containment was calculated for  1 day (24 hours).

The surge  is chosen as being near the ground since in  the event of the  near ground surge  there will be formed super high levels of doses for  irradiation at  considerable distance from the source of the surge.

The parameters of the  model, used in  the calculation,  are  shown in Table 143.

Table 143 Parameters  of the model, used in calculation

| Parameter | Value |
| --- | --- |
| Operation power of ВВЭР-1200 at the moment of emergency | 3200 MW (heat) |
| Condition of the active zone | 100 % surge of flying fission products |
| Power of the surge with radio nuclides from the active zone | 0,004 %/hour (project) |
| Mechanisms for diminishing of the surge | Sprinkler switched on, filters inoperable |
| Height of the surge | 0 м ( near the ground) |
| Free volume of containment | 71040 m3 |
| Area of surfaces in containment | 53250 m2 |

For model making  of radio nuclides transfer into the atmosphere  there were considered 13 scenarios of  possible meteoconditions and are chosen the worst i.e. such scenarios, under which  the doses of the  population irradiation will  be maximum ( the prognosis data of the fields having  meteorological parameters for March 17, 2009, corresponding  to the winter period, and for May 9, 2009, corresponding  to the summer period) (Table 144, 145).

Table 144 Meteorological conditions  according to the state  of  17.03.2009

| Parameter | Value |
| --- | --- |
| Direction of wind | Western with transition to south-west |
| Velocity of wind | 5,5 -11 m/sec |
| Pressure | 1008,0 gPa |
| Temperature of the air | -2,5 – -1,5 within night and morning hours 3,7-1,8 – in the day and evening |
| Cloudicity | 0 % |
| Height of the layer for mixing | 1,2 - 1,5 km at night 0,5 - 0,3 km in the daytime and evening |
| Category of the atmosphere stability | F |
| Intensity of precipitations | From 1 to 4 mm/hour |
| Snow cover | Snow cover with height from 1 to 15 cm |

неблагоприятных  погодных условиях: большого дождя,  тумана, грозы с градом, и снегопада или  если  максимальная скорость ветра в самой верхней части  конструкции башенного крана,  больше, чем 13м/сек или при наличии на строительной площадки удушающего дыма.

2.2 Строго соблюдайте  величину подъемной  высоты, которая  определена в соответствии с требованиями схемы (нумерация   секций мачты), и это  значение не  разрешается модифицировать без особого  разрешения во время  выполнения  рабочих операций. После получения  подтверждения  на проведение модификации  следует  составить новую схему  конструкции для исполнения, если  действительно необходимо произвести  изменения в проекте.

2.3  Table 145 ( Meteorological  conditions according to the  state

of 9.05.2009 г

| Parameter | Value |
| --- | --- |
| Direction of wind | south-west |
| Velocity of wind | 6,4 – 6,7 m/sec |
| Pressure | 993,7 gPa |
| Temperature of the air | 20 °С |
| Cloudicity | 100% |
| Height of the layer for mixing | 0,6 km |
| Category of the atmosphere stability | D |
| Intensity of precipitations | absent |

As for МПА, and so for  the undesigned emergency  there was calculated  the radio nuclides surge into the  surrounding environment  as the result  of emergency:

(8)

where FPIi -  is the total quantity  of radio nuclides i  in active zone;

CRFi  - the ratio of radio nuclides quantities thrown away from  the active zone i to the general quantity of  radio nuclides i in  the active zone;

RDFi -  the  share  of radio nuclides i activities, available in  the surge after action of the diminishing mechanism j;

EF -  the  share  of activities, available in the surge, which  was thrown out.

For  the MPA  there are  calculated  the following doses  for irradiation, formed  during early stage  of emergency:

1) total effective dose (Et), which forms from the following constituent elements: effective  half-century doses from inhalation, doses in consequence of irradiation from  the cloud and  the doses, formed  during seven days from  the fallouts;

2) the dose of  irradiation  over the thyroid gland (Dщж) from inhalation delivery of  radio nuclides, which presents by itself  the  dose for  irradiation over thyroid gland of the adult person under execution  by him  of light activity;

3)  the dose of  irradiation from  the cloud (DCS), formed in consequence of external irradiation from passing cloud;

4) dose from fallouts (DGS), formed in consequence of external irradiation from fallouts  during seven days;

5) effective dose  delivered from inhalation delivery of radio nuclides (Dinhal), presenting  by itself half-century effective  dose for irradiation  of the adult person in consequence of inhalation radio nuclides [185, 188].

By means of  the model (program pack) InterRAS  there was  executed estimation of the values  for the above indicated  doses  of irradiation for  the population, living at a distance up to 50 km from  the source of the surge

There are  calculated doses  for irradiation: initial period  of emergency (within a day, 1 month, 2 months), forming at the expense  of external irradiation from fallouts and of internal irradiation in consequence of inhalation delivery radio nuclides under secondary dust creation, and permanent doses (within a period  of 50 years).

At calculation of doses  for irradiation  there were not taken into account the factors, influencing upon their diminishing (location inside the  premises) i.e.  there was arranged conservative estimation. Actual doses  for irradiation of the  population will be  considerably less  those calculated.

14.5.4.2 The calculation results for doses  of irradiation over the

population under  maximum projected emergency

The total surge  of radio nuclides into the  surrounding environment under the maximum permissible emergencies (MPA) for all scenarios constitute 1,1×1014 Bq (Table 146).

Table 146 - Surge  of radio nuclides into the  surrounding environment

as the result of maximum permissible emergencies (MPA), Bq

| Radio nuclide | Activity, Bq | Radio nuclide | Activity, Bq |
| --- | --- | --- | --- |
| Кr-85 | 1,10E+11 | Kr-85m | 4,40E+12 |
| Кr-88 | 1,30E+13 | I-131 | 4,70E+11 |
| I-132 | 6,70E+11 | I-133 | 9,50E+11 |
| I-135 | 8,30E+11 | Xe-131m | 1,80E+11 |
| Xe-133m | 1,10E+12 | Xe-135 | 6,10E+12 |
| Cs-134 | 4,20E+10 | Cs-136 | 1,70E+10 |
| Rb-88 | 1,30E+13 | Ba-137m | 2,70E+10 |
| Kr-87 | 8,90E+12 | Xe-133 | 3,20E+13 |
| Xe-135m | 1,30E+11 | Xe-138 | 3,20E+13 |
| I-134 | 1,00E+12 | Cs-137 | 2,70E+10 |

The calculation results for the doses  of irradiation  over population, executed with the help of program pack InterRAS, shown in  Table 147 and in  Figures 112 - 115.

Table 147  ( The forecast results for doses of  irradiation  over

the population under «summer »  scenario of

maximum permissible emergencies (MPA),  mSv (mGy)

| Distance, km | Dose from the clowd, mSv | Dose from fallouts, mSv | Effective inhalation dose, mSv | Total effective dose, mSv | Dose for irradiation over thyroid gland *, mGy |
| --- | --- | --- | --- | --- | --- |
| 1 | 0,021 | 0,019 | 0,068 | 0,110 | 1,700 |
| 2 | 0,015 | 0,011 | 0,040 | 0,066 | 1,000 |
| 5 | –** | – | 0,019 | 0,030 | 0,480 |
| 25 | – | – | – | – | 0,029 |
| 50 | – | – | – | – | 0,022 |
| _________________________ * Dose for irradiation over thyroid gland comprises only the doses from the iodin radiation. ** All values lower 10 μSv were considered as zero. |

Figure 112  – Total effective dose within the  near zone around  NPP

under     «winter» scenario of  maximum permissible

emergencies (MPA),   mSv

Figure 113  – Total effective dose within the remote zone around  NPP

under «winter»  scenario of  maximum permissible emergencies (MPA),   mSv

Figure 114  – Doses  of irradiation over the thyroid gland  within the  near

zone around NPP under «winter»  scenario of  maximum permissible

emergencies (MPA),   mSv (mGy)

Figure 115 – Doses  of irradiation over the thyroid gland  within the  remote zone

around  NPP under «winter»  scenario of  maximum permissible

emergencies (MPA),   mSv (mGy)

The results  of forecast doses for  irradiation under «summer» scenario and emergency  are shown in  Table 148.

Table  148 ( The results of  forecast for doses  of irradiation  over population under

the «summer scenario» of  maximum permissible emergencies (MPA),

mSv (mGy)

| Distance, km | Dose from the clowd, mSv | Dose from fallouts, mSv | Effective inhalation dose, mSv | Total effective dose, mSv | Dose for irradiation over thyroid gland *, mGy |
| --- | --- | --- | --- | --- | --- |
| 1 | 0,01 | –** | 0,03 | 0,06 | 0,88 |
| 2 | – | – | 0,01 | 0,02 | 0,37 |
| 5 | – | – | – | – | 0,11 |
| 25 | – | – | – | – | – |
| 50 | – | – | – | – | – |
| ___________________ * The dose of irradiation over the thyroid gland was calculated only from iodin. ** All the values lower 10 μSv were considered as zero. |

14.5.4.3 Dose of internal irradiation  over the population  at peroral

delivery  of radio nuclides under maximum project emergency

The dose from delivery  of radio nuclides with food-stuffs is calculated  on  the formula:

(9)

where Сf,i - activity radio nuclide i in  the product f, kBq/kg;

Uf,i – quantity of  product f, consumed  by the considered population per one  day, kg/day or l/day (Tables 149, 150);

DIi -  the period  for consumption of the  product in days. In the event when Т1/2 exceeds 21 day, there are used 30 days. If  the Т1/2  is not more than 21 day, is used  for estimation of the  average period  of the isotope life:

(10)

where Т1/2 -  the period  of half-life  for radio nuclide;

CF5,i – the factor of  transition to doses, mSv/kBq. The coefficients of  transition to the  doses of  irradiation from delivery  of radio nuclides with food  staff   are shown  in Table 151;

RF – the factor of diminishing (the factor for processing), equal  to the share  of radio nuclide, remained after its natural disintegration or processing  the products before consumption. In  the given event  the factor of milk processing is accepted to be  equal  to 1 i.e. processing  is absent (conservative estimation) [184,185,189].

## Eing - effective dose from delivery with meals

Table 149 ( Consumption  of milk, l/day

| Age, years | Rural | Urban |
| --- | --- | --- |
| 0-1 | 0,24 | 0,30 |
| 1-2 | 0,30 | 0,22 |
| 2-7 | 0,30 | 0,20 |
| 7-12 | 0,50 | 0,25 |
| 12-17 | 0,51 | 0,25 |
| over 17 | 0,50 | 0,20 |

Table  150 ( Consumption of leaf  vegetables, g/day

| Age, years | Rural | Urban |
| --- | --- | --- |
| 0-1 | 0 | 0 |
| 1-2 | 3 | 3 |
| 2-7 | 6 | 7 |
| 7-12 | 20 | 18 |
| 12-17 | 28 | 25 |
| over 17 | 30 | 25 |

Table  151 ( Factor of transition of doses from radio nuclides delivery

with food stuff,   mSv /kBq

| Radio nuclide | children under 1 yearа | children of 1-2 years | children of 2-7 years | children of 7-12 years | children of 12-17 years | adults over 17 years |
| --- | --- | --- | --- | --- | --- | --- |
| Сs-137 | 2,1E-02 | 1,2E-02 | 9,6E-03 | 1,0E-02 | 1,3E-02 | 1,3E-02 |
| I-131 | 1,8E-01 | 1,8E-01 | 1,0E-01 | 5,2E-02 | 3,4E-02 | 2,2E-02 |

Below there are  shown the results of  model making for doses, formed with  biologically significant radio nuclides: Cs-137 and I-131.

For  the worst summer scenario of the maximum permissible emergency MPA (doses of  irradiation are  maximum)  there is executed  estimation of doses for the  internal irradiation  over  the population at the expense  of peroral delivery  for radio nuclides Cs-137 and I-131 at consumption  of milk and leaf  vegetables (Tables 152 – 155).

Table  152 ( Doses of internal irradiation over population  at the expense  of peroral milk delivery,

polluted with  Cs-137  within 30 days after  the maximum permissible emergency МПА, mSv

| Category of population | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density for pollution of the soil with Cs-137, kBq/m2 |
|  | 23 | 34 | 54 | 76 | 50 | 10 | 11 | 6,9 | 5,9 | 4,4 |
| children 0-1 years | 0,265 | 0,391 | 0,621 | 0,874 | 0,575 | 0,115 | 0,127 | 0,079 | 0,068 | 0,051 |
| children 1-2 years | 0,189 | 0,279 | 0,444 | 0,624 | 0,411 | 0,082 | 0,090 | 0,057 | 0,048 | 0,036 |
| children 2-7 years | 0,151 | 0,223 | 0,355 | 0,500 | 0,329 | 0,066 | 0,072 | 0,045 | 0,039 | 0,029 |
| children 7-12 years | 0,262 | 0,388 | 0,616 | 0,867 | 0,571 | 0,114 | 0,126 | 0,079 | 0,067 | 0,050 |
| children 12-17 years | 0,348 | 0,514 | 0,817 | 1,150 | 0,757 | 0,151 | 0,166 | 0,104 | 0,089 | 0,067 |
| adults ( over 17 years) | 0,341 | 0,504 | 0,801 | 1,128 | 0,742 | 0,148 | 0,163 | 0,102 | 0,088 | 0,065 |

Table 153 ( Doses of internal irradiation  over thyroid gland at the expense of  peroral milk delivery,

polluted  with I-131 within 30 days after  the maximum permissible emergency МПА,  mGy

| Category of population | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density for pollution of the soil with Cs-137, kBq/m2 |
|  | 39 | 55 | 73 | 120 | 200 | 63 | 420 | 25 | 32 | 19 |
| children 0-1 years | 1,82 | 2,57 | 3,41 | 5,60 | 9,33 | 2,94 | 19,60 | 1,17 | 1,49 | 0,89 |
| children 1-2 years | 2,28 | 3,21 | 4,26 | 7,00 | 11,67 | 3,68 | 24,50 | 1,46 | 1,87 | 1,11 |
| children 2-7 years | 1,26 | 1,78 | 2,37 | 3,89 | 6,48 | 2,04 | 13,61 | 0,81 | 1,04 | 0,62 |
| children 7-12 years | 1,10 | 1,54 | 2,05 | 3,37 | 5,62 | 1,77 | 11,80 | 0,70 | 0,90 | 0,53 |
| children 12-17 years | 0,73 | 1,03 | 1,37 | 2,25 | 3,75 | 1,18 | 7,87 | 0,47 | 0,60 | 0,36 |
| adults (over 17 years) | 0,46 | 0,65 | 0,87 | 1,43 | 2,38 | 0,75 | 4,99 | 0,30 | 0,38 | 0,23 |

Table  154 ( Doses of internal irradiation over  the  population  at the expense  of peroral delivery for leaf vegetables,

polluted  with Cs-137  within 30 days after the maximum permissible emergency МПА, mSv

| Category ofpopulation | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density for pollution of the soil with Cs-137, kBq/m2 |
|  | 23 | 34 | 54 | 76 | 50 | 10 | 11 | 6,9 | 5,9 | 4,4 |
| children 1-2 years | 0,011 | 0,016 | 0,025 | 0,036 | 0,023 | 0,005 | 0,005 | 0,003 | 0,003 | 0,002 |
| children 2-7 years | 0,017 | 0,026 | 0,041 | 0,057 | 0,038 | 0,008 | 0,008 | 0,005 | 0,004 | 0,003 |
| children 7-12 years | 0,060 | 0,089 | 0,141 | 0,198 | 0,130 | 0,026 | 0,029 | 0,018 | 0,015 | 0,011 |
| children 12-17 years | 0,109 | 0,161 | 0,256 | 0,361 | 0,237 | 0,047 | 0,052 | 0,033 | 0,028 | 0,021 |
| adults (over 17 years) | 0,117 | 0,173 | 0,275 | 0,387 | 0,254 | 0,051 | 0,056 | 0,035 | 0,030 | 0,022 |

Table  155 ( Doses of internal irradiation over the  thyroid gland at the expense of  peroral delivery  for leaf vegetables,

polluted  with I-131 within 30 days after  the  maximum permissible emergency МПА, mGy

| Category population | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density for pollution of the soil with Cs-137, kBq/m2 |
|  | 39 | 55 | 73 | 120 | 200 | 63 | 420 | 25 | 32 | 19 |
| children 1-2 years | 0,13 | 0,18 | 0,24 | 0,40 | 0,67 | 0,21 | 1,40 | 0,08 | 0,11 | 0,06 |
| children 2-7 years | 0,14 | 0,20 | 0,27 | 0,44 | 0,74 | 0,23 | 1,55 | 0,09 | 0,12 | 0,07 |
| children 7-12 years | 0,25 | 0,35 | 0,47 | 0,77 | 1,28 | 0,40 | 2,70 | 0,16 | 0,21 | 0,12 |
| children 12-17 years | 0,23 | 0,32 | 0,43 | 0,70 | 1,17 | 0,37 | 2,47 | 0,15 | 0,19 | 0,11 |
| adults (over 17 years) | 0,16 | 0,22 | 0,30 | 0,49 | 0,81 | 0,26 | 1,71 | 0,10 | 0,13 | 0,08 |

As may be seen from Tables 152 - 155, the highest doses  for irradiation from consumption  of food staff polluted  with cesium-137  are  observed  for  adults over 17 years, the highest doses for   over the irradiation thyroid gland from consumption of food staff polluted  with iodine-131 – for children  under two years. In accordance with the  Standards  for radiation safety (НРБ-2000)  the forecasted levels of doses do not point to  the need of  undertaking protective actions, both in  the near, so in remote  zone  around the NPP under MPA [19].

14.5.5 Expected doses for  irradiation over the  population

under the undesigned emergency at the energy block

14.5.5.1 General provisions

Analysis  of the undesigned emergences is executed with  the aim for determination of the borders  for the zone  of planning urgent protective measures and  the zone  of preventive protective measures [185,188].

Radiation safety under radiation emergency is provided by observance  of normative values founded, mainly, on  dose specifications. For this reason estimation of doses for  irradiation under  the undesigned emergency is  a key task  to execute analysis  over the emergence situation [19,190].

The results of given section are  the reference data for the paragraph OVOS, in which  the obtained here of doses specifications are compared with the  criterion  for safety in the  international normative documents.

In given section  there are estimated maximum doses for sharp and long lasting irradiation,  the estimated contribution  from all ways  of irradiation, as well as estimated the  doses as functions of  the  distance from  the NPP.

The  doses specifications  were estimated from  two positions:

- doses for the  initial period of  emergency (per one hour, day, 1 month, 2 months);

- long lasting doses (per period  of 50 years).

As  undesigned  emergency there  was taken emergency, under which occurs drain from protective shells in dry state. This scenario expects surge from  the active zone  of reactor, which is  typical under melting  of the active zone.

Is it also expected that  the surge into the  protective shell of the reactor passes in dry state through  the system of the first contour, not passing through other systems, which could  hold down iodine or other flying products of  fission. Concentration of  iodine and/or other flying products of fission into the  protective shell of the  reactor may be diminished before being thrown into  the atmosphere thanks to several factors:  operation of  the sprinklers system, filtering of the surge and/or natural process  of disintegration. This diminishing is a function of time  for holding down. In  the given event the time  for holding down is  zero i.e. drain from the  reactor began immediately.  The systems of sprinkling  and ventilation are unplugged. The surge is taken as  a near ground process, there was taken  into  account the effect of the wake from the buildings and constructions, leading to  greater diffusing  for radio nuclides around  the station. The given conditions are chosen with  the aim  for consideration  of the worst undesigned  emergency scenario .

Parameters of the  model  are shown in Table 156.

Table 156 ( Parameters of  the  model, used in the  calculation

| Parameter | Value |
| --- | --- |
| Operation power of the ВВЭР-1200 at the moment of emergency | 3200 МW (heat) |
| Condition of the active zone | 10-50 % melting of the active zone (quick surge of flying products of fission) |
| Power of the surge with radio nuclides from the active zone | 0,02 %/hour |
| Mechanisms for diminishing of the surge | Sprinkling is switched off, |
|  | filters inoperable |
| Height of the surge | 0 м (near ground) |
| Free volume containment | 71040 m3 |
| Area of surfaces in containment | 53250 m2 |

For undesigned  emergency and  for  maximum permissible  emergency (MPA),  there were calculated the following doses for  irradiation, formed  during the  early stage  of emergency:

1) total effective dose (Et);

2) dose  for irradiation over  thyroid gland (Dщж);

3) dose  for irradiation from radiation after  passing  of the cloud (DCS);

4) dose, obtained  from fallouts (DGS);

5) effective dose obtained from inhalation delivery of  radio nuclides (Dinhal).

By means of  the model IntrerRAS there was executed evaluation of  the  values  for the above mentioned doses for  irradiation over the population, living at a distance up to 50 km from  the source of the surge.

There were calculated  the doses for  irradiation: initial period of emergency (per one day,  the first month, the second month), forming at the expense of  external irradiation from fallouts and  internal irradiation in  the consequence of inhalation delivery of  radio nuclides under secondary dust creation, and long lasting doses (within the period  of   50 years).

During calculation of doses  for irradiation  there were not taken into account  the factors, influencing upon their diminishing (location inside the premises) i.e. there was organized conservative estimation. Actual doses for  irradiation over the population will considerably be  less the  calculated  ones [185].

Meteorological conditions, under which the doses  for irradiation over the population will  be maximum, similar to meteorological conditions for maximum projected emergency, shown above in  Tables 144, 145 [191].

Estimation of doses for irradiation over the  population  were  executed with supposition that  the   population constantly stay at the  open terrain (conservative estimation).

14.5.5.2 Results  of  calculations  for  doses  of irradiation over the

population under undesigned  emergency

For the calculations  there was used  the following surge  of radio nuclides into the  surrounding environment under  the undesigned  emergency , Bq (Table 157).

Table 157– Surge  of  radio nuclides into the surrounding environment

at  undesigned  emergency, Bq

| Radio nuclide | Activity, Bq | Radio nuclide | Activity, Bq | Radio nuclide | Activity, Bq |
| --- | --- | --- | --- | --- | --- |
| Кr-85 | 1,00E+13 | Kr-85m | 4,2E+14 | Kr-87 | 8,4E+14 |
| Кr-88 | 1,2E+15 | Sr-89 | 3,9E+13 | Sr-90 | 1,5E+12 |
| Sr-91 | 4,60E+13 | Y-91 | 3,30E+12 | Mo-99 | 1,80E+13 |
| Tc-99m | 1,80E+13 | Ru-103 | 1,20E+13 | Ru-106 | 2,70E+12 |
| Sb-127 | 1,2E+13 | Sb-129 | 6,9E+13 | Te-129m | 1,1E+13 |
| Те-131m | 2,5E+13 | Te-132 | 2,5E+14 | I-131 | 4,1E+14 |
| I-132 | 5,8E+14 | I-133 | 8,3E+14 | I-134 | 9,2E+14 |
| I-135 | 7,3E+14 | Xe-131m | 1,7E+13 | Xe-133 | 3,0E+15 |
| Xe-133m | 1,1E+14 | Xe-135 | 5,8E+14 | Xe-138 | 3,0E+15 |
| Cs-134 | 2,6E+13 | Cs-136 | 1,0E+13 | Cs-137 | 1,70E+13 |
| Ba-140 | 8,8E+13 | La-140 | 4,40E+12 | Ce-144 | 1,2E+13 |
| Np-239 | 2,3E+14 | Rb-88 | 1,2E+15 | Rh-106 | 2,7E+12 |
| Te-129 | 1,10E+13 | Xe-135m | 1,2E+14 | Ba-137m | 1,70E+13 |
| Pr-144 | 1,2E+13 |  |  |  |  |

Total activity of the surge constituted 1,50×1016 Bq for all scenarios of  undesigned  emergency.

The forecasted doses for  irradiation  over the population  at undesigned  emergenc (eastern-south - eastern direction  of wind  according to  meteoconditions  of 24.03.2009)  are shown in Table 158 (Figures 116 - 119).

Table 158 ( Doses of  irradiation at initial stage  of emergency under

undesigned  emergency (according to  meteoconditions

of 24.03.2009)   at various distances  from the AES

| Distance, km | Dose from cloud, mSv | Dose from fallouts, mSv | Effective inhalation dose, mSv | Total effective dose, mSv | Dose of irradiation over thyroid gland*, mGy |
| --- | --- | --- | --- | --- | --- |
| 1 | 2,3 | 19,0 | 37,0 | 58,3 | 710 |
| 2 | 1,3 | 11,0 | 20,0 | 32,3 | 380 |
| 5 | 0,7 | 5,2 | 6,9 | 12,8 | 130 |
| 25 | 0,13 | 0,54 | 0,44 | 1,11 | 8,5 |
| 50 | 0,03 | 0,11 | 0,09 | 0,23 | 1,7 |
| _________________________ *Dose for irradiation over the thyroid gland comprises only the doses of radiation from iodine. |

Figure 116 – Total effective dose in the zone near the NPP at

undesigned  emergency, mSv

неблагоприятных  погодных условиях: большого дождя,  тумана, грозы с градом, и снегопада или  если  максимальная скорость ветра в самой верхней части  конструкции башенного крана,  больше, чем 13м/сек или при наличии на строительной площадки удушающего дыма.

2.2 Строго соблюдайте  величину подъемной  высоты, которая  определена в соответствии с требованиями схемы (нумерация   секций мачты), и это  значение не  разрешается модифицировать без особого  разрешения во время  выполнения  рабочих операций. После получения  подтверждения  на проведение модификации  следует  составить новую схему  конструкции для исполнения, если  действительно необходимо произвести  изменения в проекте.

2.3  Выполните  все соответствующие подготовительные операции.

2.3.1 Проведите проверку   рабочего состояния молотка, гаечного   ключа, оправки, перфоратора,  каната безопасности и различных инструментальных средств и  вспомогательных устройств, которые нужно использовать для подъема. Инструменты должны быть  комплектными, работоспособными, и надежными  для выполнения  работ.

2.3.2 Подготовьте  достаточно штырьков (пар для  болтов), и соответствующих  длинных кабельных проводников,  основываясь на  количестве секций.

2.3.3  Проведите проверку   качество гидравлического масла  и  проведите замену  масла, утратившего свое качество, или  загрязнен, но имейте в виду, что масло  различных  марок не следует смешивать при использовании в гидравлической системе.

2.3.4 Проверяют чувствительность и рабочее состояние поднимающей системы.

2.3.5 Проверяют надежность работы подъемного  захвата, подвесной балки и  впуска трелевочной системы, а также  гибкость  управления перемещением частей.

2.3.6 Проверяют гибкость и надежность пролетов для верхнего и  нижнего  перекрестных лучей, и  проведите тестирование   без какой-либо  нагрузки , чтобы узнать, могут ли  пролеты гладко перемещаться.

2.3.7 Проверяют надежность вспомогательных захватов и подъемной  системы и проверяют  рабочее состояние грузовой  тележки, подъемного механизма , и стального кабеля,  убедитесь в отсутствии  ржавчины или искажения формы. Части с наличием серьезного поражения  ржавчиной и   деформированные части следует  заменить.

2.3.8 Проверяют надежность и чувствительность соответствующих тормозов и ограничителей.

2.3.9 Все  операторы, принимающие  участие в рабочем процессе, должны  быть специально направлены  на обучение  в соответствующие  учреждения,  они должны  пройти  экзамен и получить сертификаты на право  выполнения  работ при помощи башенного крана. Обслуживающий персонал должен получить разъяснение в отношении  их обязанностей и степени ответственности.  Расставляйте  операторов  в подходящие для них  позиции, чтобы они могли наилучшим образом использовать свои навыки, чтобы  они могли выполнять как можно  больше функций на строительной площадке.

2.3.10 Перед  каждой  процедурой  подъема,  всех  участников  выполнения рабочих операций необходимо собрать вместе.  Проведите рабочую планерку перед началом рабочей смены и объявите план работ  для установки и демонтажа башенного крана. Особенности для выполнения  процедур  подъема  описаны в руководстве, чтобы каждый участник  мог  хорошо изучить  весь объем операций, предполагаемых для выполнения.  Каждый оператор должен  знать  его обязанности  и степень ответственности прежде, чем фактически приступить  к  выполнению   операции телескопирования (увеличения вылета стрелы).

2.3.11 В контактные области штырьков и отверстий,  следует  ввести  некоторое количество масла и воска, а также  следует   выполнить мероприятия  по защите от  ржавчины.

2.3.12 Проведите проверку состояния  защитных устройств. Операторам разрешено   только тогда  приступить к выполнению  рабочих операций, когда  все требования  по технике безопасности  будут удовлетворены.

3.  Действия  в процессе подъема

3.1 Проведите подготовку всех необходимых компонентов,   расставьте операторов на  их позициях, и дайте   операторам  некоторое время, чтобы они   мысленно могли  войти в рабочее состояние, перед  тем как будет начата операция   телескопирования. Определите одного командира, который будет подавать   унифицированные   сигналы для определения операций   и сигналы отмены  выполнения. Внешний вид этих сигналов должен быть ясным и точным. Запрещается  выполнять  действия  на  двух уровнях одновременно во избежание несчастных случаев. Обязательно наличие  и применение профессионального ремня  безопасности для  обслуживающего персонала  при  выполнении операций  в подвесных частях.

3.2  Монтажники должны поддерживать  штырьки и болты, когда они  вбиваются в отверстия  и выбиваются из них, чтобы предотвратить  их  падение  и повреждение находящихся внизу людей.

3.3 Держатели молотков  должны быть достаточно прочными для  поднятия молотка,  с фиксированным центром  тяжести, и  локализованной  точкой  приложения  усилия.

3.4 Во время операции  подъема,  обратите особое внимание на увеличение длины  кабеля, с  наличием достаточного запаса. Должен быть назначен специальный человек для тщательной  проверки, чтобы предотвратить  воздействие на   кабель от  пережатия,  перетягивания и трения,   от ударов и повреждений, и т.п.. Зафиксируйте  кабель на  надежной шине, после того, как он будет правильно установлен.

3.5 Обратите  внимание на  позицию пролетов для перекрестного луча. Держите башенный кран  в сбалансированном состоянии и  перед продолжением телескопирования следите за тем, чтобы    размеры зазора между  направляющим шкивом  и секцией мачты   на раме рукава  были одинаковыми.

3.6 Запрещено  выполнять действия различных  механизмов в время  процедуры подъема .

3.7 Когда верхняя часть  башенного крана  опускается,  обслуживающий персонал должен   убрать головы, руки, и ноги   с  траектории относительного перемещения частей.  Опасными участками считаются : пространство между   рамой рукава и секций мачты, между  нижним  поворотным столиком   и самой верхней секцией мачты  на корпусе башни , а также в соединительных частях штырьков и осей на четырех углах.

3.8 Когда секция мачты, которую нужно добавить к конструкции, поднимается снова, соединительные болты должны быть установлены между  нижней  границей поворота башенного крана  и всеми сторонами корпуса башни , чтобы гарантировать их стабильную связь.

3.9 Операторам  запрещено  сидеть на  заградительном поручне в перерыве  между   операциями установки секций, которые предстоит  добавить к высоте конструкции.

3.10 Сохраняйте  полное  спокойствие, если в подъемной  системе  происходит любая неудача. Пригласите весь  персонал, имеющий отношение к монтажным работам, для устранения неисправности, прежде, чем  продолжить  дальнейшее  выполнение операций. Попытайтесь опустить конструкцию

Figure 117 – Total effective dose in the zone remoted  from the

NPP at undesigned  emergency, mSv

Figure  118 – Dose  of irradiation  over the  thyroid gland within the

zone  near the  NPP at undesigned  emergency, mSv  (mGy)

Figure 119 – Dose  of irradiation  over the  thyroid gland within the

zone  near the  NPP at undesigned  emergency, mSv  (mGy)

Forecasted  doses for  irradiation over the  population at the most heavy scenario of   undesigned  emergency  (meteoconditions  of 17.03.2009 г), that is under which the  doses of irradiation over the  population will be maximum within various distances from the NPP,  are shown in  Table 159 (Figures 120 – 123).

Table  159 ( Doses  of irradiation at the initial stage  of emergency

under  scenario of   undesigned  emergency

(according to meteoconditions  of 17.03.2009) at various

distances  from the NPP

| Distance, km | Dose from cloud, mSv | Dose from fallouts, mSv | Effective inhalation dose, mSv | Total effective dose, mSv | Dose of irradiation over thyroid gland*, mGy |
| --- | --- | --- | --- | --- | --- |
| 1 | 3,5 | 11,0 | 79,0 | 94,5 | 1500 |
| 2 | 2,4 | 6,3 | 47,0 | 55,7 | 910 |
| 5 | 1,1 | 2,9 | 22,0 | 26,0 | 420 |
| 25 | 0,14 | 0,18 | 1,3 | 1,62 | 25 |
| 50 | 0,11 | 0,13 | 1,00 | 1,24 | 19 |
| ___________________ *Dose of irradiation over the thyroid gland comprises only dosesу of radiationfrom iodine. |

Figure 120 – Total effective dose within the zone  near the

NPP at undesigned  emergency, mSv

Figure 121 – Total effective dose  within the zone  remote  from the

NPP at undesigned  emergency, mSv

Figure 122 – Dose  of irradiation  over the  thyroid gland within

the zone  near the  NPP at undesigned  emergency,

mSv  (mGy)

Figure 123 – Dose of  irradiation over the  thyroid gland within

the zone  remote  from the  NPP at undesigned

emergency, mSv  (mGy)

The highest doses for  irradiation over the  population at early stage  of emergency under  the "winter" scenarios of the undesigned  emergency will  be observed under 6-th scenario of  emergency. Maximum value of  total effective dose under the  given scenario constitute 94 mSv  at a distance  of 1 km from  the NPP,  the dose  of irradiation over the  thyroid gland - 1500 mGy on at a distance  of 1 km from  the NPP (Table 159, Figures 122,123).

If  the wind direction will vary to east-north-easterly (direction on Vilnius) under condition  of preservation for all  the rest parameter for  undesigned emergency, then the doses for  irradiation over the population will remain  the former. In Table 160  there is shown repeatability of the wind direction in  the Ostrovetskiy region.

Table  160 ( Repeatability  for  the wind direction  (%)

| Month | С | СВ | В | ЮВ | Ю | ЮЗ | З | СЗ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I | 5 | 10 | 8 | 10 | 18 | 25 | 16 | 8 |
| II | 7 | 13 | 10 | 12 | 14 | 20 | 16 | 8 |
| III | 6 | 12 | 13 | 12 | 16 | 19 | 15 | 7 |
| IV | 10 | 15 | 13 | 11 | 13 | 14 | 14 | 10 |
| V | 13 | 18 | 13 | 9 | 11 | 12 | 13 | 11 |
| VI | 13 | 14 | 8 | 6 | 11 | 15 | 18 | 15 |
| VII | 11 | 12 | 7 | 5 | 9 | 19 | 22 | 15 |
| VIII | 9 | 12 | 7 | 7 | 12 | 20 | 21 | 12 |
| IX | 7 | 9 | 9 | 8 | 15 | 24 | 19 | 9 |
| X | 6 | 6 | 8 | 11 | 17 | 27 | 17 | 8 |
| XI | 5 | 7 | 9 | 13 | 22 | 25 | 14 | 5 |
| XII | 5 | 8 | 7 | 10 | 19 | 27 | 16 | 8 |
| Winter | 6 | 9 | 8 | 10 | 18 | 24 | 17 | 7 |
| Spring | 10 | 15 | 14 | 11 | 13 | 14 | 14 | 9 |
| Summer | 11 | 13 | 7 | 6 | 11 | 18 | 21 | 13 |
| Autumn | 6 | 7 | 8 | 11 | 19 | 25 | 17 | 7 |
| Perennial | 8 | 11 | 9 | 9 | 15 | 21 | 17 | 10 |

14.5.5.3 Doses of internal irradiation over the population at peroral delivery

of  radio nuclides under  undesigned emergency

There was executed estimation  of doses for internal irradiation  over the population at the expense of  peroral delivery for  radio nuclides with the main of dose creating components in the feeding  ration. There are  given  the doses for  irradiation from consumption  of milk and leaf vegetables, polluted with  biologically significant radio nuclides Cs-137 and I-131 (Table 161 – 164).

Below there are  shown the results  of model making for  doses at early stage  of emergency (undesigned emergency within the  first 30 days).

Table 161 ( Doses of internal irradiation  over the population at the expense of  peroral delivery  of milk, polluted with

Cs-137 within 30 days after the  emergency, mSv

| Category of population | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density of the soil pollution with Cs-137, kBq/m2 |
|  | 170 | 210 | 360 | 530 | 910 | 230 | 150 | 100 | 130 | 78 |
| children 0-1 years | 1,956 | 2,416 | 4,141 | 6,097 | 10,468 | 2,646 | 1,725 | 1,150 | 1,495 | 0,897 |
| children 1-2 years | 1,397 | 1,725 | 2,958 | 4,355 | 7,477 | 1,890 | 1,232 | 0,822 | 1,068 | 0,641 |
| children 2-7 years | 1,117 | 1,380 | 2,366 | 3,484 | 5,982 | 1,512 | 0,986 | 0,657 | 0,855 | 0,513 |
| children 7-12 years | 1,940 | 2,397 | 4,108 | 6,048 | 10,385 | 2,625 | 1,712 | 1,141 | 1,484 | 0,890 |
| children 12-17 years | 2,572 | 3,178 | 5,448 | 8,020 | 13,770 | 3,480 | 2,270 | 1,513 | 1,967 | 1,180 |
| adults (over 17 years) | 2,522 | 3,115 | 5,341 | 7,863 | 13,500 | 3,412 | 2,225 | 1,484 | 1,929 | 1,157 |

Table 162 ( Doses of internal irradiation  over the population at the expense of  peroral delivery  of milk, polluted with

I-131  within 30 days after the  emergency, mSv

| Category of population | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density of the soil pollution with Cs-137, kBq/m2 |
|  | 1200 | 2100 | 2900 | 3800 | 6400 | 2400 | 1200 | 870 | 970 | 630 |
| children 0-1 years | 56,01 | 98,01 | 135,35 | 177,35 | 298,70 | 112,01 | 56,01 | 40,60 | 45,27 | 29,40 |
| children 1-2 years | 70,01 | 122,51 | 169,19 | 221,69 | 373,38 | 140,02 | 70,01 | 50,76 | 56,59 | 36,75 |
| children 2-7 years | 38,89 | 68,06 | 93,99 | 123,16 | 207,43 | 77,79 | 38,89 | 28,20 | 31,44 | 20,42 |
| children 7-12 years | 33,71 | 58,99 | 81,46 | 106,74 | 179,77 | 67,42 | 33,71 | 24,44 | 27,25 | 17,70 |
| children 12-17 years | 22,48 | 39,34 | 54,33 | 71,19 | 119,90 | 44,96 | 22,48 | 16,30 | 18,17 | 11,80 |
| adults (over 17 years) | 14,26 | 24,96 | 34,46 | 45,16 | 76,06 | 28,52 | 14,26 | 10,34 | 11,53 | 7,49 |

Table 163 ( Doses of internal irradiation  over the population at the expense of  peroral delivery  of leaf vegetables,

polluted with Cs-137 within 30 days after the  emergency, mSv

| Category population | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density of the soil pollution with Cs-137, kBq/m2 |
|  | 170 | 210 | 360 | 530 | 910 | 230 | 150 | 100 | 130 | 78 |
| children 1-2 years | 0,080 | 0,099 | 0,169 | 0,249 | 0,427 | 0,108 | 0,070 | 0,047 | 0,061 | 0,037 |
| children 2-7 years | 0,128 | 0,158 | 0,270 | 0,398 | 0,684 | 0,173 | 0,113 | 0,075 | 0,098 | 0,059 |
| children 7-12 years | 0,443 | 0,548 | 0,939 | 1,382 | 2,373 | 0,600 | 0,391 | 0,261 | 0,339 | 0,203 |
| children 12-17 years | 0,807 | 0,997 | 1,709 | 2,516 | 4,320 | 1,092 | 0,712 | 0,475 | 0,617 | 0,370 |
| adults (over 17 years) | 0,865 | 1,068 | 1,831 | 2,696 | 4,628 | 1,170 | 0,763 | 0,509 | 0,661 | 0,397 |

Table 164 (  Doses of internal irradiation  over the population at the expense of  peroral delivery  of leaf vegetables,

polluted with I-131  within 30 days after the  emergency, mSv

| Category population | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
|  | Density pollution soil I-131, кBq/м2 |
|  | 1200 | 2100 | 2900 | 3800 | 6400 | 2400 | 1200 | 870 | 970 | 630 |
| children 1-2 years | 4,00 | 7,00 | 9,66 | 12,66 | 21,32 | 8,00 | 4,00 | 2,90 | 3,23 | 2,10 |
| children 2-7 years | 4,44 | 7,77 | 10,74 | 14,07 | 23,69 | 8,88 | 4,44 | 3,22 | 3,59 | 2,33 |
| children 7-12 years | 7,70 | 13,48 | 18,61 | 24,38 | 41,07 | 15,40 | 7,70 | 5,58 | 6,22 | 4,04 |
| children 12-17 years | 7,05 | 12,33 | 17,03 | 22,32 | 37,59 | 14,10 | 7,05 | 5,11 | 5,70 | 3,70 |
| adults ( over 17 years) | 4,89 | 8,55 | 11,81 | 15,47 | 26,06 | 9,77 | 4,89 | 3,54 | 3,95 | 2,57 |

As may be seen from Tables 161 - 164, the highest doses for irradiation from consumption  of feeding products polluted  with cezium-137 are observed for  adults senior 17 years, the highest doses of irradiation from consumption of feeding products polluted  with iodine-131 – for  children under two years. In accordance with НРБ-2000  the  forecasted levels of doses at undesigned emergency indicate  the necessity  for execution  of protective actions [19].

14.5.5.4 Contribution  from various constituents into the total effective  dose

of  irradiation over the  population

Analysis of doses for  irradiation showed that on the background of lowering  for  the general effective dose  at a distance (See Figure 124) contribution from inhalation of  constituent doses falls with removing from the source of the surge,  while contribution of dose from clouds and fallouts grow (See Figure 125).

Figure 124 – Change  in the total effective dose for  irradiation  at a distance

from the source of the surge

неблагоприятных  погодных условиях: большого дождя,  тумана, грозы с градом, и снегопада или  если  максимальная скорость ветра в самой верхней части  конструкции башенного крана,  больше, чем 13м/сек или при наличии на строительной площадки удушающего дыма.

2.2 Строго соблюдайте  величину подъемной  высоты, которая  определена в соответствии с требованиями схемы (нумерация   секций мачты), и это  значение не  разрешается модифицировать без особого  разрешения во время  выполнения  рабочих операций. После получения  подтверждения  на проведение модификации  следует  составить новую схему  конструкции для исполнения, если  действительно необходимо произвести  изменения в проекте.

2.3  Выполните  все соответствующие подготовительные операции.

2.3.1 Проведите проверку   рабочего состояния молотка, гаечного   ключа, оправки, перфоратора,  каната безопасности и различных инструментальных средств и  вспомогательных устройств, которые нужно использовать для подъема. Инструменты должны быть  комплектными, работоспособными, и надежными  для выполнения  работ.

2.3.2 Подготовьте  достаточно штырьков (пар для  болтов), и соответствующих  длинных кабельных проводников,  основываясь на  количестве секций.

2.3.3  Проведите проверку   качество гидравлического масла  и  проведите замену  масла, утратившего свое качество, или  загрязнен, но имейте в виду, что масло  различных  марок не следует смешивать при использовании в гидравлической системе.

2.3.4 Проверяют чувствительность и рабочее состояние поднимающей системы.

2.3.5 Проверяют надежность работы подъемного  захвата, подвесной балки и  впуска трелевочной системы, а также  гибкость  управления перемещением частей.

2.3.6 Проверяют гибкость и надежность пролетов для верхнего и  нижнего  перекрестных лучей, и  проведите тестирование   без какой-либо  нагрузки , чтобы узнать, могут ли  пролеты гладко перемещаться.

2.3.7 Проверяют надежность вспомогательных захватов и подъемной  системы и проверяют  рабочее состояние грузовой  тележки, подъемного механизма , и стального кабеля,  убедитесь в отсутствии  ржавчины или искажения формы. Части с наличием серьезного поражения  ржавчиной и   деформированные части следует  заменить.

2.3.8 Проверяют надежность и чувствительность соответствующих тормозов и ограничителей.

2.3.9 Все  операторы, принимающие  участие в рабочем процессе, должны  быть специально направлены  на обучение  в соответствующие  учреждения,  они должны  пройти  экзамен и получить сертификаты на право  выполнения  работ при помощи башенного крана. Обслуживающий персонал должен получить разъяснение в отношении  их обязанностей и степени ответственности.  Расставляйте  операторов  в подходящие для них  позиции, чтобы они могли наилучшим образом использовать свои навыки, чтобы  они могли выполнять как можно  больше функций на строительной площадке.

2.3.10 Перед  каждой  процедурой  подъема,  всех  участников  выполнения рабочих операций необходимо собрать вместе.  Проведите рабочую планерку перед началом рабочей смены и объявите план работ  для установки и демонтажа башенного крана. Особенности для выполнения  процедур  подъема  описаны в руководстве, чтобы каждый участник  мог  хорошо изучить  весь объем операций, предполагаемых для выполнения.  Каждый оператор должен  знать  его обязанности  и степень ответственности прежде, чем фактически приступить  к  выполнению   операции телескопирования (увеличения вылета стрелы).

2.3.11 В контактные области штырьков и отверстий,  следует  ввести  некоторое количество масла и воска, а также  следует   выполнить мероприятия  по защите от  ржавчины.

2.3.12 Проведите проверку состояния  защитных устройств. Операторам разрешено   только тогда  приступить к выполнению  рабочих операций, когда  все требования  по технике безопасности  будут удовлетворены.

3.  Действия  в процессе подъема

3.1 Проведите подготовку всех необходимых компонентов,   расставьте операторов на  их позициях, и дайте   операторам  некоторое время, чтобы они   мысленно могли  войти в рабочее состояние, перед  тем как будет начата операция   телескопирования. Определите одного командира, который будет подавать   унифицированные   сигналы для определения операций   и сигналы отмены  выполнения. Внешний вид этих сигналов должен быть ясным и точным. Запрещается  выполнять  действия  на  двух уровнях одновременно во избежание несчастных случаев. Обязательно наличие  и применение профессионального ремня  безопасности для  обслуживающего персонала  при  выполнении операций  в подвесных частях.

3.2  Монтажники должны поддерживать  штырьки и болты, когда они  вбиваются в отверстия  и выбиваются из них, чтобы предотвратить  их  падение  и повреждение находящихся внизу людей.

3.3 Держатели молотков  должны быть достаточно прочными для  поднятия молотка,  с фиксированным центром  тяжести, и  локализованной  точкой  приложения  усилия.

3.4 Во время операции  подъема,  обратите особое внимание на увеличение длины  кабеля, с  наличием достаточного запаса. Должен быть назначен специальный человек для тщательной  проверки, чтобы предотвратить  воздействие на   кабель от  пережатия,  перетягивания и трения,   от ударов и повреждений, и т.п.. Зафиксируйте  кабель на  надежной шине, после того, как он будет правильно установлен.

3.5 Обратите  внимание на  позицию пролетов для перекрестного луча. Держите башенный кран  в сбалансированном состоянии и  перед продолжением телескопирования следите за тем, чтобы    размеры зазора между  направляющим шкивом  и секцией мачты   на раме рукава  были одинаковыми.

3.6 Запрещено  выполнять действия различных  механизмов в время  процедуры подъема .

3.7 Когда верхняя часть  башенного крана  опускается,  обслуживающий персонал должен   убрать головы, руки, и ноги   с  траектории относительного перемещения частей.  Опасными участками считаются : пространство между   рамой рукава и секций мачты, между  нижним  поворотным столиком   и самой верхней секцией мачты  на корпусе башни , а также в соединительных частях штырьков и осей на четырех углах.

3.8 Когда секция мачты, которую нужно добавить к конструкции, поднимается снова, соединительные болты должны быть установлены между  нижней  границей поворота башенного крана  и всеми сторонами корпуса башни , чтобы гарантировать их стабильную связь.

3.9 Операторам  запрещено  сидеть на  заградительном поручне в перерыве  между   операциями установки секций, которые предстоит  добавить к высоте конструкции.

3.10 Сохраняйте  полное  спокойствие, если в подъемной  системе  происходит любая неудача. Пригласите весь  персонал, имеющий отношение к монтажным работам, для устранения неисправности, прежде, чем  продолжить  дальнейшее  выполнение операций. Попытайтесь опустить конструкцию

Figure 125 – Contribution  of various constituent  doses  of irradiation in

the total dose at a distanceм from the source of the surge

Contribution from various ways of creation into the  total  dose at a distance up to five kilometers is  the  following:

- inhalation - about 50 %;

-  from the ground - about 40 %;

- from the cloud – up to 10 %.

With twenty five kilometers contribution into the  total  dose through inhalation way the  influence decreases  up to 40 %, and  the contribution  from irradiation rendered  by the cloud and by the fallouts increases up to 17 and 44 % correspondingly.

The executed above analysis for  contribution of  various ways  for irradiation into  the expected effective dose is executed for  the situation under various meteoconditions, and in each concrete event  the contribution  of various constituent elements will  be various

14.6 Summary

14.6.1 Geological external natural factors

The degree  of the influence  from geological external natural factors on  the stability of buildings and constructions of the  NPP depends on  the properties and stability  of the geological environment. The geological ambience of the area around  the  byelorussian AES  is characterized by sufficient stability,  and in this connection dots not render negative influences upon  the operation buildings  of the NPP.

Influence  of the NPP on  the geological environment  within the limits of the area may  be connected with  the fact, that on the  platform  there exist conditions for development  of surface submerging under technogenic drains or breach of the  surface sewage. Submerging is conditioned  by laying near the  surface  of the ground with  relatively self-possessed moraine loams with frequent layers and lenses of sand. Sands have  different granulometric composition and filtration properties. Spreading and power of  lenses  are more different, the regularities are not installed. In this connection submerging may  be local, within  the areas of  separate buildings or on the whole platform

Submerging at the expense  of raising  the level of the  first water carrying horizon  little probable  during  preservation of unchangeable mode  for basis  unloading -  from the rivers Viliya, Gozovka, Oshmyanka.

Within 30-km zone  around  the NPP, the  influence  from the NPP on the  geological environment, may act only in  the event of emergency, - herewith  there is   hypothetically possible pollutions  of  the water carrying horizons. The executed prospecting enable to give the feature for the  surrounding environment and  to evaluate influence on it  from construction and exploitation  of the byelorussian NPP, however there must be executed seismic investigations of the area, special operations for study  of dynamic properties (resistance to vibration)  of the soil, to accomplish the geodetic observations  over the modern motions in the  earth crust (СДЗК). After  tying of the NPP general plan,  the engineering-geological prospecting will  be executed for each concrete building and construction.

Thereby,  there are  permitted  the forecast for the  influence  rendered from the  NPP to the  geological environment and from the  geological environment to the NPP, with  taking into account of the  provided engineering - technical and organizing measures, reducing interconnection up to the safe level.

14.6.2 Influence on  the surface waters

The main type of influence  from the NPP on the  surface waters after commissioning are changes of  hydrological mode for  water objects -  the sources  of production water supply  for the AES and receivers for  sewage waters.

Drinking (up  to 1050 m3/day) and technical (within the  period  of construction) water supply  for the NPP in volumes up  to 800 m3/day will be provided from  the underground water extraction, which will be located on at a distance of 3,0-4,5 km to southern-east from  the center of the area.

For production  of water supply  for the byelorussian NPP in  two energy blocks the  is planned accommodation  of the surface water extraction on  the left coast  of Viliya within the  area  of " the populated settlement Muzhily -  the populated settlement Small Sviryanki"  being  500 m lower the populated settlement Small Sviryanki.

After tapping  the waters from of the river Viliya  along the  pressure piping line  are  delivered to the  station water  preparing, and  then   through the  pressure piping line  to the corresponding constructions  of the NPP. Delivery of water from water extraction on the river of Viliya  to  the area  of the NPP is provided along two threads  of steel piping lines having  the  diameter of  1600 mm. Each thread of the piping line  is calculated for passing through 70 % from  the expenditure of  production water supply  for two energy blocks  of the NPP.

For provision  of the guaranteed steady mode  for  production of water supply  for the NPP in waterless periods  the  main source  for exceeding  the water supply from the river  Viliya may be Vileyka water stock reservoir at the expense  of  arrangement of  tapping. The dam for  water stock reservoir is located  at a distance up  to 139 km from for the area  of location  for the NPP water extraction.  Volumes of water in  the water stock reservoir may  change from 260 million m3 up  to 25,1 million m3 (project working out of water stock reservoir constitutes up  to 6,0 m).

Also  there may be used other reserve sources  for water supply:

- Olihovskiy water stock reservoir of the  bed  type on the  river Stracha (water stock reservoir  for Olihovskiy HES) with distances  to the  water streams  to  the area  of location for  water extraction up  to 19,2 km (useful volume  of water stock reservoir  is 1,4 million m3, maximum swing  of the level being  3,0 m,  the area of the  mirror 0,7 km2,  the average  depth is 3 m);

- Snigyanskiy water stock reservoir of the  bed  type on the   river Oshmyanka (water stock reservoir  for Rachunsky HES) with  the distances along  the  water streams to the area  of location  for water extraction up  to 55 km (useful volume  being 1,21 million m3, maximum swing  of the level being  5,0 m,  the mirror area  is 1,5 km2,  the average  depth is  1,42 m).

After commissioning of the NPP for production  of the water supply  in the NPP for two energy blocks  there will be realized tapping  of water from  the river of  Viliya with expenditure being  from 1,8 m3/sec in winter time  and  up  to 2,78 m3/sec in summer time. Herewith  the volumes  of water sewage for worked out technical sewage waters  constitute from 0,96 m3/sec in winter time  and up  to 1,38 m3/sec in summer time. Tapping of worked out technical sewage waters will be realized through the river Viliya 500-1000 m lower location  of  the water extraction near  the populated settlement Muzhily. Irrevocable water consumption  by the byelorussian NPP constitutes from 0,86 m3/sec in winter time  and  up  to 1,40 m3/sec in summer time. Under accommodation  of two energy blocks under expenditure  of water in the  river, close to  the average perennial (63,5 m3/sec), tapping of water from  the river Viliya will constitute not over than 2,2 % from expenditure of  water in the  river. During waterless and very waterless conditions under expenditure of  water  being from 30,85 m3/sec up  to 22,4 m3/sec - not over than 4-6 %.

Maximum lowering of the  level within the area of the river Viliya  takes place lower location  of the water extraction and tapping technical sewage waters with  taking into account irrevocable water consumption may constitute: under average perennial expenditure  of water up  to 3 cm to (up  to 1 cm  in the  transborder range -TR), under minimum expenditure - up  to 7 cm (up  to 5 cm in the  transborder range -TR).

Maximum lowering of  the   level within the  area between water extraction and tapping of sewage waters (2,7 km) and average perennial expenditure  of water constitute up  to 4 cm to, under minimum expenditure - up  to 9 cm. The  specified  lowering  the  level of  water within the area between water extraction and tapping of sewage waters will not render considerable negative influence under conditions for passing  sorts of  fish, since  there is no inflows in it.

Lowering  the level  of water in the  river of Viliya at the expense  of location in the byelorussian within  the period  of spawning by 3-6 cm  is not essential and decisive negative factor, considerably worsening conditions  for spawning passing sorts  of fish, since the range of  lowering  the level from the  recommended  one and the most favorable for spawning (1,5 m relatively to the  "zero" post according  to hydrological post  of the populated settlement Mihalishki) under natural conditions being  up to location  of the NPP within the whole period of  spawning constitutes: April - up  to 0,43 m, May - up  to 0,66 m.

Forecast for speed mode of the river Viliya under  accommodation of the byelorussian NPP showed non-considerable diminishing  of average velocities of the flow (maximum – by 0,04 m/seс) within the area of the river Viliya  the lower location  of water extraction and non-considerable change in transborder range

In relationship with tapping of technical sewage waters from the byelorussian in NPP to the river of  Viliya in  the volume up  to 1,38 m3/sec  under the temperature 37(С on  the  territory  of Belarus (without transborder influence)  the forecast heat pollution  in the river Viliya:

- under expenditure  of water in the  river, close to average perennial – within the area up  to 0,6 km in the  period  of spring-autumn and up  to 1,1 km in  the winter period;

- under minimum expenditure  of water under conditions of  strong lack of  water – within the  area up  to 7 km within the  period of spring-autumn and up  to 13 km in winter period.

When cooling technical sewage waters up  to 25 оС in spring -summer period and up  to 10 оС in winter period   there is forecasted the zone  of heat pollution will not be  over 500 m (in average 100-150 m) which corresponds  to the requirements  of the quality for  water of fish growing water objects located  lower tapping down of  sewage waters. In majority  of values   concentration  of polluting materials in composition of  technical sewage waters does not exceed  the maximum permitted concentration ПДК  for  fish growing purpose ( with the exclusion of suspended materials, zinc and phosphate).

Forecast for the quality of water in the river of Viliya after delivery of  technical sewage waters showed that at a distance up  to 29,6 km from  the place  of tapping  occurs practically full mixing with river waters having  coefficients of the quality, not exceeding  the ПДК within  the transborder range, with the exclusion of suspended materials and phosphate (up  to 2 ПДК).  In  the event  of executing recommendations for additional rectification of  technical sewage waters  from the byelorussian NPP there will not occur chemical pollution of the river Viliya  and will not render negative (inclusive, transborder) influence.

The public-home sewage waters  from the  territory of the NPP along the system of  collectors are delivered into the  canalization pumping station and  by pumps are forced  into the  station  for rectification of sewage waters. The station  for rectification of sewage waters is designed within  the sanitary-protective zone of the  AES.

There is provided complete bio-rectification of  sewage waters with deep removal of  nitrogen and phosphorus and  additional rectification. Tapping of cleaned public-domestic sewage waters from the area  of the NPP is foreseen in the volume 910,9 m3/day for   the river  Polpa.  The forecast for the quality of  water in the river of Viliya after delivery of  cleaned public-domestic sewage waters  from the byelorussian NPP during its construction and after its commissioning showed that the most considerable influence  is from the sewage waters spreads within the distance up  to 1 km from the  place of tapping. Herewith  the values  for  the quality will be  within the limits or non-considerably exceed normative  maximum permitted concentration (ПДК)  for fish growing water objects. Practically complete mixing with  the river waters of the river Viliya occurs  at a distance up  to 10,4 km from  the place of  tapping  (on  the Byelorussian territory and over than 20 km from  the Byelorussian - Lithuanian border ) with small (within the limits  of ПДК) changes in the water quality for the river  in relation to  the existing and unessential transborder influence upon the quality of  waters in the river of Viliya and other water objects.

The byelorussian NPP will  not be located  on  the territory  of water protection zone of the river  Viliya.

Since accommodation  of  the NPP dwelling settlement is provided on the base  of Ostrovets, rectification of  sewage waters from the  territory  of the settlement is provided at the existing rectification constructions with their reconstruction and expansion.

The quality of the  rain sewage from the territory of the byelorussian NPP area,  being tapped into  the  water object with volumes up  to 66 thousand m3/ year, will not  be worse, than from natural surface  of the land and will not render negative influence to the  water object, because on  the territory of the area  there is excluded possible pollution  of  the indicated  rain sewages.

Forecast for changing hydro geological conditions, due to concentrated compilation of  underground waters and technogenic submerging of the  territory. Estimation of the  influence from exploitation  of water extraction "Ostrovetskiy" on the level mode  of the adjoining territory, including  the area of  location  for  the byelorussian NPP showed, that its exploitation will  not considerably influence upon the general regional hydrodynamic scheme of the  streams.  The influence  from the water extraction will be  minute even through 10 000 days. The average radius of the influence rendered to  the water extraction "Ostrovetskiy" will  be registered at a distance of  3 km in the first water carrying horizon and  at a distance of  4 km in  the exploited water carrying horizon. The influence  of this water extraction not will reach the area  of the byelorussian NPP and  more  over  it not will reach the transborder territories

As the result  of decisions related to the  forecast problems of  technogenic  submerging of the area i.e. determination of the size for of the dome  of spreading, created at the expense  of drain from  the water carrying communications and water containing structures, showed that maximum rise of technogenic water carrying horizon within the evaluated  period for exploitation  of one byelorussian NPP reactor (50 years) constitutes from 6,9 up  to 20,8 m. Radius of the dome  for  spreading  the technogenic water carrying horizon may constitute from 1,44 up  to 2,3 km. The results  of forecasted analytical calculations are preliminary.

14.6.3 Forecast for possible radiation pollution of underground waters

Natural protection  of underground waters is determined  with complex of  parameters, the main from which are:

- the depth of  lying, ion-salt and gaseous composition of underground waters;

- power  of aeration  zone, power  of composing its ground and ground-soils;

-  the  nature of  the soil  cover ( types of the  ground, granulometric and mineral composition of the  ground, their water-physical condition ) and  absorption specifications;

- volume, mode and composition hydro precipitations (the rain, snow);

- filtration parameters of the  ground and ground-soils;

-  the  types and physical-chemical properties of polluting materials.

At the first stage  of the studies according to OVOS it appears justified to handle with numerous from the  enumerated types of information, as follows:  the data about the depth of lying  for the most vulnerable ground waters and their quality; the feature of the soil cover as the media for  migration of  radio nuclides; specific migration processes and distribution  of 90Sr and 137Cs over  the topsoil  in the region  of Chernobyl fallouts as standard sorts of processes.  The given information completely  sufficient for creation  of the general indications about protection  of the ground waters  within the limits of  30-km zone  around the byelorussian NPP.

Analysis  for redistribution of   90Sr and 137Cs over the depth of the  soil profile showed that:

- even through 15-20 years after  the emergency at Chernobyl NPP in  the majority varieties of the  ground 95-98 %  of spare stock 137 Cs  is concentrated in  the upper 0-5-cm layer, less in  the layer 0-20 cm , disregarding from  the density  of 137 Cs fallouts. The main spare stock of  90Sr ( the same 95-98 %)  is concentrated in  the layer 0-15 cm, less - in  the layer 0-25 cm (Krasnoselie, sandy dune, 21 km from  the ChAES);

- linear velocity  of migration  for 137Cs (V) and the  factor of quasi-diffusion (D) vary within  broad limits: V - 0,11-2,66 cm/year, D - 0,01-1,40 cm2/year. For 90Sr  these parameters of vertical migration along   the soil profiles composition 0,14-7,14 cm/ year and 0,01-19,00 cm2/ year.

For mineral automorphic soddy-podzol grounds (Podzoluvisol) of the high flood plains and  over high flood plains terrazzos  there is installed statistical reliable (R2=0,58-0,77) trend  for  lowering the  value  of parameters  for migration 137 Сs (V, D)  in the course of time which is explained by inconvertible sorption  of 137 Сs  with hard substratum of  the ground as  in the result  of diffusion and fastening of the  isotope in the interlayer space  of clay minerals. This trend exists and for the  rest types of  the ground - hydromorphic peat-marshy and half-hydromorphic alluvial soddy (Histosol and Fluvisol). The exception constitute only half-hydromorphic powerfully moistened soddy-podzol soils  around  water collection pools of  lakes, which, on the contrary, considerably increase these parameters in the  course  time in connection with  the modes  with intensive washing out  and, as the  consequence, imposition of  convective  mass transfer on  the  diffusion stream.

90Sr actively migrates in  automorphic mineral soddy-podzol (Podzoluvisol) sandy soils. For this type of the  soil  there is registered growing  of parameters for  migration in the course of  time (R2=0,7-0,9).  For half-hydromorphic soddy-alluvium sandy ground (Fluvisol)  at low and high flood plains there  is also installed  a trend of  growing parameters for  migration in the course of time. Diminishing or constancy of  parameters for  migration in the course of  time  there is installed for hydromorphic high-organic peat-marshy (Histosol) soils.

Thereby, location of the  main spare stock  for  Chernobyl radio nuclides 137Сs and  90Sr at  the depth up to 5-25 cm of  soil profiles even on  termination of 15-20 years after  the emergency fallouts is indicative of sufficiently effective, as a whole, shielding mission of the  Byelorussian ground and ground-soils in the  process of  vertical redistribution  of the main spare stock  of radio nuclides to  the level  of the ground waters.

Analysis  of the radiation state  for ground waters lying at the depth of 2 m in  the region of Chernobyl fallouts really showed relatively low levels of  their modern (according to  the state in 2002-2007 years) pollution for 137Сs and 90Sr (correspondingly, 0,02-0,58 and 0,012-2,206 Bq/dm3).  We shall note that in  the region with the depth of  ground waters lying up to 2 m  the soil cover is not sufficiently effective  for protection them from pollution of  the surface sources, including from "flat" surface of the source with radio nuclides (137Сs, 90Sr and others.). The territory with powerful (above 2 m)  zone for aeration shall  be  considered as  the region with sufficiently effective soil-ground protection of  underground waters.

This is  reflected by the map-scheme (See Figure 126)  of the radiation protection over the  territory  of 30-km zone around the  byelorussian NPP,  on which within broad background  with relatively good protection  of underground waters from pollution with 137Сs and 90Sr  there is shown  the  territory with small  depth of lying  the ground waters, as  being the most sensitive to pollution with these radio isotopes.

Figure 126 – Location on the map-scheme of the selectes featured areas, the most sensitive to the complex of natural factors

The results of forecasted estimation for 137Cs  and  90Sr showed that:

- the ground waters are  weakly protected from pollution  with 90Sr   for  areas with peat-marshy soils;

- disadvantageous unregistered  factors, which may  bring about   speedup of migration processes and increase concentration of  radio nuclides 90Sr in ground waters, are seasonal fluctuations for the  level of ground waters and condition of ploughed soils;

- under undesigned emergency INES 5 the  ground waters are  practically insensitive to the considered type  of pollution at the  chosen weakly protected  areas;

- under  exploitation  surges and emergencies lower INES 5 at the designed  NPP the probability of in the  pollution ground waters, and, consequently, and  in over deep horizons will neglected small.

The studies over possible radiation pollution in the  underground waters from  the local source in  the zone of  influence  from the designed NPP were executed on the  base of  hypothetical scenario  for the emergency situation, connected with leakage  of fluid radioactive waste.  According to this scenario 15 m3 of fluid  radioactive waste  the  activity 600 Ki, shown by radio isotopes, were thrown out  on  the platform, due to which  the territory  of the area 37,5 m2 within  the depth of  1 m was subjected to pollution.

By the forecasted estimation  there was installed that even under the most conservative approach the pollution  of the second and the third water carrying horizons may to be small and  neglected. These horizons  are sufficiently well protected  with natural barriers.

Forecast for possible chemical pollution in the underground waters. The forecasted calculations  for creation of the centre  for chemical pollution under operation of the  byelorussian NPP showed that to the  most  degree there are subjected to pollution  the underground waters from the  first from surface  of the  water carrying horizon – the ground waters. The value of  concentration for  polluting materials (neutral contaminant), filtering  into the ground water, constitute about 1\2 from their initial contents in  the sewage or production waters. The halo of  pollution within the area may  spread with  the ground waters at a distance about 2,5 km from  the area  around the station. The  concentration value for  polluting materials, filtering into  the pumped water, constitute about 10-4 from their initial contents in sewage or production waters. Coming from  the above mentioned,  chemical pollution  of  the first  surface  water carrying  horizon (pumped  within water badsin Dnepr – Sozh),  being created at the expense  of draining sewage waters, is not forecasted .

14.6.4  Influence NPP on а structural и functional

specifications watersных ecosystems

The main influence rendered  by the NPP within  the process of operationя will  be rendered to  the river  Viliya, which will be the  source of cooling water and accumulate all fluid tapping waters  from the atomic station. In accordance with preliminary water balance calculations, under the  temperature of  tapping sewage waters 37  °С during  operation of  2 energy blocks. At the NPP   there may  be considerable heat pollution, under which  the existence and normal reproduction of  many  rare and disappearing sorts of fish, registered in the  Red book of the Republic  of Belarus, becomes  impossible. However,  the danger for ecological systems over the river Viliya is presented not only by this fact.

In the  present time the river Viliya presents by  itself highly eutrophic water stream. Delivery with drainage waters  of considerable quantity of main eutrophic elements (compounds of phosphorus and nitrogen) on  the background thermal pollution, certainly, will bring about  further rising  of  the  trophic level. Under delivery into  the river  of technical sewage waters  within volumes and levels of the  pollution considered  by the OVOS it is  possible  to forecast sharp increase of  the phytoplankton biomass. Basically this will occur  at the expense  of mass reproduction  for  bluish-green water plants, which worsens the quality of  water and  the living conditions for  hydrobiotic species.   There will be  violated  the existing trophic relationship.  There will be diminished the  biologic variety and ability of ecological systems to  homeostasis and biological self-rectification.

It is necessary to provide in  the system  of water sewage additional engineering constructions, providing lowering  the temperature and additional rectification  of sewage waters.  The level of cooling and additional rectification must provide in the river Viliya within  the zone  for tapping of sewage waters delivery  of eutrophic and polluting materials on the  level  of maximum permitted concentrations for water objects  pertaining to  the first category of the  fish growing values.

Water ecological systems within 30-km zone around the byelorussian NPP, with the exclusion of the river Viliya, will not be a subject to direct influence from the station since they are located within a sufficient distance from the area. The real threat for the river and lake ecosystems, possessing high recreation potential, will present increased anthropogenic (recreation) load. In connection with commissioning of the NPP  the amount of  the population in Ostrovets will increase   by about  30000 persons, which will inevitably bring about growth  of anthropogenic  press. However this influence may to compensateв with nature protection measures.

Under maximum project emergency  the radio nuclide pollution  over the water collecting territory will  not render  any  observable influence upon  the structure  of the biological community and functioning of the lake ecosystems. Under the  considered in OVOS scenario for the undesigned emergency  there is possible dangerous accumulation of  radio nuclides in final sections of the food chains ( predator fish) .

Some hydrobiotic species, dwelling in water basins and water streams within the  30-km zone, may present  by itself serious threat  to the NPP operation, causing biological hindrances and damages. The highest hindrances cause overgrowing  with sponges, moss-growing species and two-folded shellfish, amongst which special problems may be created by  the shellfish Dreissena. The potential danger may be  presented by metaphyton. Under mass creation and drift  the metaphyton may create biological hindrances under water  consumption  at the NPP, as well as  to define the spacious redistribution of pollution.

Under  the scenario for  pollution  of small areas as the result  of undesigned emergency:

- in  the first vegetation season  there is possible exceeding of the  level B (10000 Bq(kg-1) on contents of 137Cs and  131I  in  agricultural products  at a distance up to 60 km from  the NPP on axis of the trace within the territory  with total area being  up to 15000 hectares. According to 90Sr level B (1000 Bq(kg-1) in  agricultural products also may  be exceeded  at a distance  up to  60 km from  the AES on axis of the trace.  The level A (1000 Bq(kg-1 for 137Cs and 131I, 100 Bq(kg-1 for  90Sr) may  be exceeded  at a distance up to 80 km on axis of the trace;

- in  the following vegetation season exceeding of the  permitted level for  contents of  radio nuclides in products of  agriculture facilities is  possible  at a distance up to 60 km on axis of the trace. Together with removing from  the axis of the trace in transverse direction there is   forecasted  lowering  of specific activities  for 137Cs and  90Sr, and at distances over 500 m they not will not exceed  the background values.

Under the  scenario for   pollution of  large areas in  the result of undesigned emergency:

- in  the first vegetation season after emergency  there is possible exceeding the  level B (10000 Bq(kg-1 as per contents of  137Cs и 131I, 1000 Bq(kg-1 as per 90Sr)  in agricultural products within up to 50 km from  the NPP on axis of the trace fallouts;

- in  the following vegetation season  there is probable exceeding  of the permitted contents  for 137Cs in grains (standard contents  for 90 Bq(kg-1) and root- tuber crops (80  Bq(kg-1) at a distance 8-40 km, in milk (100  Bq(kg-1), grasses (170  Bq(kg-1) and beef (500  Bq(kg-1) - up to 50 km from  the NPP on axis of the trace. For 90Sr exceeding  of contents in  grains (11 Bq(kg-1),  in milk (3.7 Bq(kg-1), grasses (37 Bq(kg-1)  is possible at a distance  of 10-25 km,  for root- tuber crops (3.7 Bq(kg-1)  at a distance of 8-40 km from  the NPP on axis of the trace.

Under maximum project emergency:

- in the  first vegetation period after fallouts exceeding the  level A                     (1000 Bq(kg-1)   as per contents of  137Cs in  the sorts of  agricultural products  will not be observed. Exceeding  the level A (100 Bq(kg-1)  as per  contents of  90Sr  is forecasted only for leaf verdure  at a distance up to 10 km from  the NPP on axis of the trace.  The level B (10000 Bq(kg-1)  as per contents 131I will be exceeded in  the leaf verdure  at a distance up to 30 km, and in grains and milk - up to 15 km on axis of the trace;

- in  the following vegetation season exceeding of the permitted standard contents of  137Cs and 90Sr in sorts  of agricultural products is not  forecasted.

One must have in view, that the calculations shown for axis of the trace fallouts, in the course of removal from  the axis of the trace in  the transverse direction  the contents  of radio nuclides will fall and  at a distance up to 500 m under  the scenario of  pollution  over a small area at undesigned and maximum project emergency and up to 5000 m under  the scenario for  pollution  of large area will fall down to  the background values.

In the course of time after the  fallouts  there will occur lowering  of  contents  for radio nuclides:

- during  the first vegetation period after  the fallouts there is forecasted lowering  of the radio nuclides activities  at the expense of their radiation disintegration and removing the particles of  fallouts with  the surface plants.  The period of  "dry" half-rectification  for 137Cs and 90Sr   constitutes 15 days and 6 days - for 131I, under the atmospheric precipitations it grows shorter in proportion to their quantity and intension;

- within  the following the years it is forecasted lowering of  specific activities for  radio nuclides in sorts  of agricultural products, conditioned  by diminishing their quantities in  the root-dwelling layer in consequence of radiation disintegration, migration  outside  its limits, lowering of  biologic accessibility  under increase  of the  energy, relationship with ППК (the diligence). At the expense of  the  indicated processes the most intensive (nearly by10 times) lowering  of specific activities  for 137Cs  there  will occur in the first 15 years after the  emergency fallouts.

14.6.5 Influence rendered by the   NPP to  the agricultural ecological

systems

Under  the scenario for  pollution  of small areas as the result  of undesigned emergency:

- in  the first vegetation season  there is possible exceeding of the  level B (10000 Bq(kg-1) on contents of 137Cs and  131I  in  agricultural products  at a distance up to 60 km from  the NPP on axis of the trace within the territory  with total area being  up to 15000 hectares. According to 90Sr level B (1000 Bq(kg-1) in  agricultural products also may  be exceeded  at a distance  up to  60 km from  the AES on axis of the trace.  The level A (1000 Bq(kg-1 for 137Cs and 131I, 100 Bq(kg-1 for  90Sr) may  be exceeded  at a distance up to 80 km on axis of the trace;

- in  the following vegetation season exceeding of the  permitted level for  contents of  radio nuclides in products of  agriculture facilities is  possible  at a distance up to 60 km on axis of the trace. Together with removing from  the axis of the trace in transverse direction there is   forecasted  lowering  of specific activities  for 137Cs and  90Sr, and at distances over 500 m they not will not exceed  the background values.

Under the  scenario for   pollution of  large areas in  the result of undesigned emergency:

- in  the first vegetation season after emergency  there is possible exceeding the  level B (10000 Bq(kg-1 as per contents of  137Cs и 131I, 1000 Bq(kg-1 as per 90Sr)  in agricultural products within up to 50 km from  the NPP on axis of the trace fallouts;

- in  the following vegetation season  there is probable exceeding  of the permitted contents  for 137Cs in grains (standard contents  for 90 Bq(kg-1) and root- tuber crops (80  Bq(kg-1) at a distance 8-40 km, in milk (100  Bq(kg-1), grasses (170  Bq(kg-1) and beef (500  Bq(kg-1) - up to 50 km from  the NPP on axis of the trace. For 90Sr exceeding  of contents in  grains (11 Bq(kg-1),  in milk (3.7 Bq(kg-1), grasses (37 Bq(kg-1)  is possible at a distance  of 10-25 km,  for root- tuber crops (3.7 Bq(kg-1)  at a distance of 8-40 km from  the NPP on axis of the trace.

Under maximum project emergency:

- in the  first vegetation period after fallouts exceeding the  level A                     (1000 Bq(kg-1)   as per contents of  137Cs in  the sorts of  agricultural products  will not be observed. Exceeding  the level A (100 Bq(kg-1)  as per  contents of  90Sr  is forecasted only for leaf verdure  at a distance up to 10 km from  the NPP on axis of the trace.  The level B (10000 Bq(kg-1)  as per contents 131I will be exceeded in  the leaf verdure  at a distance up to 30 km, and in grains and milk - up to 15 km on axis of the trace;

- in  the following vegetation season exceeding of the permitted standard contents of  137Cs and 90Sr in sorts  of agricultural products is not  forecasted.

One must have in view, that the calculations shown for axis of the trace fallouts, in the course of removal from  the axis of the trace in  the transverse direction  the contents  of radio nuclides will fall and  at a distance up to 500 m under  the scenario of  pollution  over a small area at undesigned and maximum project emergency and up to 5000 m under  the scenario for  pollution  of large area will fall down to  the background values.

In the course of time after the  fallouts  there will occur lowering  of  contents  for radio nuclides:

- during  the first vegetation period after  the fallouts there is forecasted lowering  of the radio nuclides activities  at the expense of their radiation disintegration and removing the particles of  fallouts with  the surface plants.  The period of  "dry" half-rectification  for 137Cs and 90Sr   constitutes 15 days and 6 days - for 131I, under the atmospheric precipitations it grows shorter in proportion to their quantity and intension;

- within  the following the years it is forecasted lowering of  specific activities for  radio nuclides in sorts  of agricultural products, conditioned  by diminishing their quantities in  the root-dwelling layer in consequence of radiation disintegration, migration  outside  its limits, lowering of  biologic accessibility  under increase  of the  energy, relationship with ППК (the diligence). At the expense of  the  indicated processes the most intensive (nearly by10 times) lowering  of specific activities  for 137Cs  there  will occur in the first 15 years after the  emergency fallouts.

14.6.6 Influence  of  the NPP over the  population

14.6.6.1 Necessity  to execute protective actions under

the maximum project emergency

The results of  model making by means of  the InterRAS model showed that:

-  the total effective dose  does not exceed  the criterion interference in none of  the considered scenario for  the maximum permitted emergency МПА (100 mSv over the whole body);

- execution  of countermeasures in the manner of covertures and/or evacuation of the  population will not be needed;

-  maximum  expense dose  for irradiation  over the thyroid gland under  the МПА  does not exceed  the criterion interference (50 mSv for the first 7 days after  the emergency), consequently, execution  of blocking  the thyroid gland  is not obligatory;

-  the doses at the expense of  consumption polluted milk  constitute units or tenth shares of  millisievert.

1	4.6.6.2 Necessity  to execute protective actions    under  the

undesigned emergency

At present day  the international normative documents determine  the following zone  for emergency planning the measures on protection  of population and their volume (for reactors having the  power over 1000 MW):

- the zone  for preventive protective measures (3 - 5 km) – is the zone around  the NPP, in respect of which  there are  executed actions for realization urgent protective measures in  the event nuclear emergency situation with the aim  of lowering  the  risk  of appearing heavy deterministic effects outside the borders of the area. Protective measures  within the limits  of this zone must be taken before or soon after the surge  of the radiation material or irradiation on  the base of situation, created at the NPP.

- the zone of urgent protective measures (25 km) -  is the zone around  the NPP, in respect of which  there are executed actions, directed at realization  of urgent protective measures in  the event nuclear emergency situation with the aim  of prevention stochastic effects in such degree, in which this is  practically realizable, by prevention of doses in accordance with international documents. Protective measures  within the limits  of this zone must be executed on  the base of the monitoring the  surrounding environment or in  the proper events with  taking into account  the situation, created at the NPP.

- the zone  of restrictions  for consumption  of feeding products (300 km) - the zone around  the NPP, in respect of which  there are executed actions, directed at realization of countermeasures (for instance, agricultural), preventing the radio nuclides peroral arrival with water and food-stuffs  of local production, and long-term protective measures with  the aim  to prevent great collective  doses  of irradiation in such degree, in which this is  practically realizable, by prevention of doses in accordance with  the international documents. Protective measures within the limits  of this zone must be executed on the  base of  monitoring  over the surrounding environment and  the products  of feeding.

Analysis of irradiation doses showed that  the total effective dose of irradiation over the  population  does not exceed  the criteria for interference  in no one of  the given scenarios for the undesigned emergency (100 mSv on  the whole body). Execution of  countermeasures in the manner of covertures, deactivation and/or evacuation for the  population  will not be needed.

Maximum evaluated dose for  irradiation  over the thyroid gland under  the  given scenarios of  undesigned emergency will exceed  the criterion interference  of 50 mSv for the  first seven days after  the emergency  at a distance up to 25 km from  the station, consequently, within  the radius of  25 km from  the station  as the necessary countermeasure will  be execution  of blocking the  thyroid gland at early stage  of emergency.

The results  of model making by means of international models persuasively show that:

- execution  of covertures and/or evacuation for  the  population will not be needed;

-  it will be necessary to provide  the possibility of efficient execution  for blocking the  thyroid gland on  the territory up to  25 km from  the station;

- there must be foreseen  the possibility to  introduce restrictions for  consumption  of potentially polluted radio nuclides with  milk and other products  of feeding;

- there must be  provided possible urgent execution of  monitoring  over the surrounding environment,  the products  of feeding and provender for cattle  at a distance not  more than 30 km from  the station;

- in future to provide execution of  monitoring  over the products of feeding on the whole territory  of the Republic of  Belarus.

- FORECAST FOR TRANSBORDER INFLUENCE

FROM THE BYELORUSSIAN  NPP

15.1 General provisions

The target probable factors, determined for  the energy blocks of the  NPP -2006:

- lowering  of probable emergences at the energy blocks with serious damage  of  the reactor active zone up to  the level of  10-6 1/ year  per one reactor and greater surges  outside the limits of the area, for which there are necessary quick countermeasures outside  the area, at the level 10-7 1/ year per reactor;

- restriction  of maximum emergency with the  surge  of the main dose of  creating nuclides into the  surrounding environment under heavy undesigned emergency with probability 10-7 1/  year per reactor  with the level 100 TBq  of cezium-137.

- lowering maximum  emergency surge (ПАВ) of the  main dose creating nuclides into the  surrounding environment under heavy undesigned emergency with probability 10-7 1/  year per reactor, up to the  level, under which:

-  the excluded necessity  to introduce immediate measures, including both obligatory evacuation, and long lasting  settle out of the population outside the borders of the area;  the  estimated radius for the  zone for  planning obligatory evacuation  of the population does not exceed 800 m from  the reactor department;

- an obligatory introduction of protective actions for the  population (the coverture, iodine preventive maintenance) is limited by the zone having  the radius not over 3 km from  the energy block.

-  the given target probable factors cover all operation states of the  station, as well as all initiating factors.  The indicated factors in  the technical requirements to  the project  of the  byelorussian NPP are determined as obligatory specifications.

The doses, determined for  the energy block of the  NPP -2006  outside the limits and  the target probable factors completely correspond to the requirements  of acting Russian  standard documents НД, recommendations and  standards for safety from the  MAGATE, International consulting group on nuclear safety (INSAG1 - INSAG12) and requirements  of the European exploitation  organizations laid to the  project  of atomic station pertaining to the new generation having reactors of the PWR type. In Table 165 there is  shown for comparison  the target factors  of radiation and nuclear safety of the  energy blocks having increased safety for various projects of the NPP and requirements to them.

Table 165 - Factors  of radiation and nuclear safety at the  NPP

| Criterion | EUR INSAG-3 | НД РФ | Project AES-2006 | Project USA-APWR |
| --- | --- | --- | --- | --- |
| Quotas for irradiation over the population from surges (tapping sewages) under standard exploitation of the AES, μSv/ year | no restriction. | 50(50) | 10(10) | - |
| Quotas for irradiation over the population from surges (tapping sewages) under standard exploitation with taking into account violations of the AES standard exploitation, μSv/ year | 100 | no restriction. | 100 | 100 |
| Effective dose over the population at project emergencies, μSv / event |  | no restriction. |  |  |
| - with frequency over 10-4 1/ year | 1 |  | 1 | 1 |
| - with frequency not more than 10-4 1/ year | 5 |  | 5 | 5 |
| Effective dose over the population under project emergency, mSv/ year | - | 5 | 5 | - |
| Probability of considerable damage within the active zone, 1/ year per reactor | 1E-5 | 1E-5 | 1E-6 | 1E-6 |
| Probability of large surges, for which there are necessary rapid counter measures outside the area, 1/ year per reactor | 1E-6 | 1E-7 | 1E-7 | 1E-7 |

The suggested EUR verification procedure for blocks  (ВВЭР) with encreased safety enables to tie  the forecasted  emergency of near ground and height surges  from definite list of radiation significant nuclides with the  necessity of  introduction  for protective measures outside the borders of industrial area disregarding conditions  of the area location. The  results  of verification procedure for undesigned emergency  with maximum emergency surge at the  Baltic NPP (project of the NPP -2006, is the  analogous object)  is shown in  Table 166. Consideration executed for  the expected emergency surges,  into   the calculations there are included radio nuclides, which create over  90 % of forecasted dos for  irradiation.

Table 166 – The  results of  verification  procedure, recommended

by EUR, for  the NPP -2006

| Name criterion | Maximum value [EUR] | the expected value for NPP -2006 |
| --- | --- | --- |
| Undesigned emergency (frequency not more than 10-6 1/year per reactor) |
| Criterion B1 – restriction for introduction of emergency protective measures at distances from the reactor over 800 м | < 5∙10-2 | 1,2∙10-2 |
| Criterion B2 –restriction for introduction of postponed protective measures at distances from the reactor over 3 km | < 3∙10-2 | 1∙10-3 |
| Criterion B3 – restriction for introduction of long lasting protective measures at distances from the reactor over 800 м | < 1∙10-1 | 1∙10-2 |

From the  data of  Table 166 it  follows that maximum emergency surge  from the NPP -2006, adopted for the most radiation-significant nuclides, safely satisfies the  acceptation criterion of verification procedure which additionally confirms execution for  the Baltic NPP (is an analogues object) for the following aim:

- exclude  the necessity of introduction  for emergency evacuation and long settle out of the  population outside the borders of the NPP area;

-  restrict  with a radius not over 3 km  the zone for planning  the obligatory protective measures (coverture for the population, iodine preventive maintenance) for the  population.

Estimation  of the restricted influence on  the economy was executed by means of comparison  of the total  surge on level  of the ground and high-altitude surges  during emergency with criterions according to EUR. The initial  data for such comparison  is shown in Table 167.

Table 167 - Execution  of criteria restricted  for the influence rendered

to  economic facilities from the Baltic  NPP

| Radio nuclide | Criterion according to EUR, ТBq | Values of maximum emergency surge (ПАВ) from the Baltic NPP, ТBq |
| --- | --- | --- |
| Undesigned emergency (frequency not more than 10-6 1/ year per reactor) |
| 131I | 4000 | 100 |
| 137Cs | 30 | 10 |
| 90Sr | 400 | 0,12 |

From consideration  of the data, shown above, it follows  that additional verification that  the criteria  of ecological safety EUR for  the Baltic NPP (is  the analogous object) are executed. Herewith it is possible to  make a conclusion about the fact that the sum  of the applicable in  the project of  the  Baltic NPP active and passive safety systems completely provides execution  of requirements  for ecological safety EUR.

Since verification procedure  EUR   comprises  comparison of criteria, obtained  as the result of  multiplying the  values  of maximum emergency surge  from nine reference isotope  groups by the  normalized factors, with adopted EUR criterions, that  the shown conclusions are  completely applicable  for  the byelorussian NPP.

For the present day  the international standard documents  determine  the following zone  for emergence planning  measures on protection of the  population and their  volumes (for reactors having the  power over 1000 MW):

- the zone  for preventive protective measures (3 - 5 km) -  is the zone around  the NPP, in respect of which there are executed measures for  realization of  urgent protective measures in  the event  of nuclear emergency situation with the aim  of lowering the  risk  from appearance of  heavy deterministic effects outside the borders of the area.  The protective measures  within the limits of  this zone must be undertaken before or soon after  the surge  of radiation materials or irradiation on  the base of the  situation, created at  the NPP.

- the zone for  urgent protective measures (25 km) – is the zone around  the NPP, in respect of which there are executed measures, directed at realization of  urgent protective measures in  the event of nuclear emergency situation with  the aim of  prevention stochastic effects in such degree, in which it is practically realizable, by prevention of doses in accordance with the  international document. Protective measures  within the limits  of this zone must be executed on  the base of  monitoring  over the surrounding environment or under the proper events with  taking into account  the situation, created at the NPP.

- the zone  for restriction of  the  feeding products consumption (300 km) - the zone around  the NPP, in respect of which there are executed measures, directed at realization of the countermeasures (for instance, agricultural), preventing  peroralу arrival  of radio nuclides with water and food-stuffs of  local production, and long lasting protective measures undertaken with  the aim  of prevention for  greater collective  doses  of irradiation in such degree, in which this is practically realizable, by prevention of doses in accordance with the international document. The protective measures  within the limits  of this zone must be executed on the  base of  monitoring over the  surrounding environment and  the products of  feeding.

15.2 Specification  of  the region in transborder context

The NPP platform is located at the  north-west of the republic in the centre  of Ostrovetskiy  region  in Grodno area and is limited with north  automobile road having  the republican value R45 Polotsk-Glubokoye-border of the Republic  of Lithuania (Kotlovka), with  the automobile road  having local value H-6210 Mihalishki-Gervyaty-Izobelino, from the south and west – by  the populated settlements correspondingly Voleykuny and Goza.

The distance to the borders  of the adjacent states from  the platform of the Byelorussian AES constitutes: Republic Lithuania - 22 km, Latvian Republic - 110 km, Polish Republic - 180 km, Ukraine - 318 km, Federation of Russia - 200 km.

The main transborder water stream is the  river  of Viliya (Nyaris), which is used for technical water supply and tapping of  blowing through and technical waters  of the byelorussian NPP.

The river of  Viliya is considered as  the main  source of  technical water supply  for the byelorussian NPP. For production  of water supply  for the byelorussian NPP to accommodate the  surface waters extraction there  is chosen the  area  of " populated settlement of  Malye Sviryanki – populated settlement Muzhily" (See Figure 127).  For two energy blocks  there is planned accommodation  of the surface waters extraction on  the river of  Viliya  within 500 m lower  the  populated settlement Malye Sviryanki.   The water from the river Viliya  is extracted and pumped  to the  platform  of the NPP through the pressure water pipes of the  first and second rises.  The length  of the supposed routes  for water streams  leading  from  the range of location  for water extraction within the given area to the area  of the NPP constitutes 9,9 km. The water extraction constructions at the river of  Viliya are situated on the lest riverside.

Figure 127 -  The river Viliyawithin the  area  of location the  surface

water  extraction   500 m lower  the populated settlement

Malye Sviryanki

The wind-rose, built on base perennial data  of repeatability  for wind direction in  the  region of the Byelorussian AES area  is shown in the Figure 128.

соблюдайте

Figure  128 – The wind-rose

From Figure 128  there is  seen that within the considered territory dominate winds of west - south directions

In Table 168 in  the generalized form  there is shown specification of possible influence  from the byelorussian NPP on  the adjacent states.

Table 168 – Possibleе influence  from  the byelorussian NPP.

| State | Distance, km | Way influence |
| --- | --- | --- |
|  |  | Surface water | Undergraund water | Atmospheric transfer |
| Lithuania | 22 | yes | no | yes |
| Poland | 180 | no | no | yes |
| Latvia | 110 | no | no | yes |
| Russia | 200 | no | no | yes |
| Ukraine | 318 | no | no | yes |

With  taking into account  the wind-roses  ( See Figure 128) the most probable is  the influence to the territory  of Latvia and Russia by means   of atmospheric transfer  of the radio nuclides, delivered into the  atmosphere under  the undesigned emergency and  the following their  precipitation on  the territory  of  the given states.

15.3 Model for   calculation, the initial data and the results of estimation

To calculate the possible influence  from the byelorussian NPP over the surrounding environment there  were used  the corresponding prognosis models, the list  of which  is shown in Table 169.

Table 169 - Used mathematical model

| Object | Used model |
| --- | --- |
| Atmospheric air | Automated system for analysis and forecast for the radiation situation RECASS NT (ФИАЦ Roshydromet (ГУ НПО "Typhoon”). |
| Surface water Heat Pollution Chemical Pollution | The method of Frolov - Rodziller and recommendations from Roshydromet . The formula of Frolov-Rodziller, the factor of turbulent diffusion D calculated with the method A.V. Karaushev |
| Underground water | Unified generalized multi-camera model of mixed cell (MULTIBOX). |
| Agricultural product | Compartment mathematical model, founded on the method of systemized analysis |
| Population | The package INTERRAS (The International Radiological Assessment System). The Model SOURCE OF THE SURGE - DOSE (ST-DOSE - Source Term for Dose) |

The forecasted estimations are necessary for quantitative determination of possible influence and development of measures for minimization  of consequences  for the NPP influence on  the surrounding environment in  the event  of undesigned emergency.

For conservative estimation  of consequences after undesigned emergency  there was taken  the  following reference value of  surge with  isotope iodine -131 = 3100 TBq and cesium -137 = 350 TBq within  the surrounding environment [12].  Besides, under  the undesigned emergency  the integrity of  protective shells is  preserved, as minimum,  within 24 hours,  the leakages through containment - 0,2 % per a day and the surge stops through one  day. Thereby, as  the result of the  undesigned emergency in  the containment there will is thrown out:

- iodine - 131: 3,1 E+15 : 0,002 = 1,55 E+18 Bq;

-  cesium - 137: 3,5Е+14 : 0,002 = 1,75 E+17 Bq

The given values for activities  of the reference isotopes are  well  agreed with  the emergency surge above the  Chernobyl AES (iodine 131 = 2,7 E+17 Bq, cesium 137 = 3,7Е+16 Bq). The values of the surge used for estimation  of consequences for reference isotope correspond to the  6 level according to the  scale INES, Decision of the Government of  Finland 395/1991.  For introduction  of estimation for the radiation emergency  as heavy, over the  level 6 according to the  scale INES, in OVOS of the  byelorussian NPP there is no basis since for reception of  license for construction and usage  of the  atomic station in Belarus  arising of such emergency must be practically impossible.

For  calculation of doses for  irradiation under  the undesigned emergency  there was used  the following surge of  radio nuclides into the  surrounding environment under  the  undesigned emergency, Bq (Table 170).

Table 170– Surge  of  radio nuclides into the surrounding environment

under  the  undesigned emergency, Bq

| Radio nuclide | Activity, Bq | Radio nuclide | Activity, Bq | Radio nuclide | Activity, Bq |
| --- | --- | --- | --- | --- | --- |
| Кr-85 | 1,00E+13 | Kr-85m | 4,2E+14 | Kr-87 | 8,4E+14 |
| Кr-88 | 1,2E+15 | Sr-89 | 3,9E+13 | Sr-90 | 1,5E+12 |
| Sr-91 | 4,60E+13 | Y-91 | 3,30E+12 | Mo-99 | 1,80E+13 |
| Tc-99m | 1,80E+13 | Ru-103 | 1,20E+13 | Ru-106 | 2,70E+12 |
| Sb-127 | 1,2E+13 | Sb-129 | 6,9E+13 | Te-129m | 1,1E+13 |
| Те-131m | 2,5E+13 | Te-132 | 2,5E+14 | I-131 | 4,1E+14 |
| I-132 | 5,8E+14 | I-133 | 8,3E+14 | I-134 | 9,2E+14 |
| I-135 | 7,3E+14 | Xe-131m | 1,7E+13 | Xe-133 | 3,0E+15 |
| Xe-133m | 1,1E+14 | Xe-135 | 5,8E+14 | Xe-138 | 3,0E+15 |
| Cs-134 | 2,6E+13 | Cs-136 | 1,0E+13 | Cs-137 | 1,70E+13 |
| Ba-140 | 8,8E+13 | La-140 | 4,40E+12 | Ce-144 | 1,2E+13 |
| Np-239 | 2,3E+14 | Rb-88 | 1,2E+15 | Rh-106 | 2,7E+12 |
| Te-129 | 1,10E+13 | Xe-135m | 1,2E+14 | Ba-137m | 1,70E+13 |
| Pr-144 | 1,2E+13 |  |  |  |  |

Total activity of the surge constituted 15000 TBq for all scenarios of  the undesigned emergency which corresponds  to the requirements, laid in  the Convention for nuclear safety and standard, determining the rules of  technology for  safety  No GS-R-2,  the event  at the level 6 according to the scale INES (during the time  of emergency over the surrounding environment  there is thrown out 10000 - 100000 TBq equivalent  to iodine-131).

The list  of  necessary protective measures under the  undesigned emergency  is shown in Table 171.

Table 171 - Protective measures in  the event of  undesigned emergency

| Criterion of interference | Necessary protective measures |
| --- | --- |
| total effective dose lower 100 mSv over the whole body | Counter measures in the form of shelter, deactivation and/or evacuation for the population will not required |
| dose of radiation over the thyroid gland exceeding 50 mSv | Iodine prophylactics at early stage of emergency within the radius 25 km from the station |

15.4 Lithuanian Republic

15.4.1 Surface water

Potential transborder influence  of the byelorussian NPP on the surface water is expressed in possible change water mode  for transborder and other water objects.

In  the period  of the NPP construction

Since under construction  of the AES for the  purposes of  the  works execution and economic-drinking water supply will not be produced extraction  of water from  the surface water objects (water supply will  be provided from underground water sources) in the given period  there will not occur considerably changing  of quantitative values  in the water mode of the river Viliya  and other water objects. Within the  indicated period  there will  be executed tapping of rectified sewage waters into the river Viliya in the volume, not  exceeding 1050 m3/day.

In  the period after commissioning  the NPP

After commissioning  the NPP in usage for production of water supply  of the NPP for two energy blocks  there will be  executed tapping  of water from the river  Viliya with expediture up to 2,54 m3/sec. During   accommodation  of two energy blocks under expediture of  water in  the river, close to  the average perennial, tapping of  water from the river Viliya will constitute not over 4 % from expediture of  water in  the river. Under conditions of  waterless  years and expeditureof  water in  the river, close to minimal with average monthly the  summer-autumn and winter lowest water level 95 %  ВП at two energy blocks - not over,  8,4 %. Under conditions of  very waterless  year and expediture of  water in the  river, close to minimal average  monthly the  summer-autumn and winter lowest water level 97 % ВП at two energy blocks - not over 8,7 %.

Maximum lowering the  level of  water in transborder range of the river Viliya  may constitute at  two energy blocks and average perenial expediture of  water up to 5 cm, under minimum expediture - up to 6 cm;

Forecast for speed mode of the river Viliya  at accommodation of the byelorussian NPP showed non-considerable diminishing of  average velocities of the flow (maximum - by 0,04 m/sec) within the area of the river Viliya  being lower location  of the water extraction and negligible change at   the transborder range.

In  the period for  the NPP exploitation  there will be  executed tapping of rectified domestic sewage waters into the river Viliya in  the volume 910,9 m3/day with their possible maximum increase up to 3600 m3/day.

Forecast for the quality  of water in the river Viliya after delivery  of rectified sewage waters from the  byelorussian NPP during its construction and after commissioning  showed that  at a distance up to 10,4 km from  the place  of tapping there is taking place practically full mixing with the  river waters (within the Byelorussian territory and at over 20 km from  the belorussian-lithuanian border ) with negligible transborder influence on the quality  of waters in the river  Viliya and other water objects at the expense of unconsiderable ( within the limits of ПДК) changing the water quality in  the river in relation to  the existing one.

    - Underground water

Forecast for possible transborder pollution. Carrying  of polluting materials in transborder aspect is preconditioned  by the hydrodynamic situation. For estimation of  possible transborder influence  there is designed mathematical model, reflecting regional hydrodynamic scheme of  the streams with  underground waters within the transborder territories. Under analysis of  hydro geological conditions  there are chosen three  most water  rich horisons, located in  the zone  of active water exchange: Dnepr-Sozh, Berezina-Dnepr and generalised  before  quarterly water carrying complexes, which create hydrodynamic situation within the limits of  transborder territories and are used for  the purposes  of domestic-drinking water supply on the  territory  of  Belarus and Lithuania (See Figure 129).

Figure  129 – Scheme for  creation of  hydrodynamic situation

Coming from  the result of   studies  over the conditions  for creation and transit of  underground waters  of Dnepr-Sozh, Berezina-Dnepr and  the united  pre-quarterly water carrying complexes within the limits  of greater part  over the territory  of 30-km zone from Belarus to Lithuania is not tracked, and  due to it  the transborder transfer  of polluting materials with underground waters may not be  not forecasted.

The main technogenic factor, rendering influence to the  change of  the underground waters level, is exploitation of  group water extractions for drinking water supply. In this connection, forecast for changing hydrodynamic conditions, produced according to the  mathematical model, showed that under existing and perspective water extraction  at  water extraction station  "Ostroveckiy" lowering of the  level (depression crater) on  the territory, ajacent to the water extractionу, in  the exploited water carrying horizon  does not exceed the radius  of 4 km. Thereby, it will not bring to  the regional changing, those, within  the territory,  close to the border  extraction  of  underground waters by group water extraction stations. Water extraction, realized  by single bore holes in rural populated settlements has periodical character (functioning of  the bore holes - 2-3 hours in a day) and has non-significant volume, in connection with which, on the ajacent territory  there are not created depression craters,  namely of  the  regional type.

Chemical pollution of underground waters in the  region  of the byelorussian NPP location there  may be created  at the expense of drains from  the sewage  water tapping systems (domestic-home, production  type and others.). Distribution  of pollution is preconditioned by  hydrodynamic conditions of the  territory, because the polluting materials move together  with the stream of  underground waters. Whereas,  the distance from  the place  of supposed location  of the byelorussian NPP at about  23 km to the  adjacent territory of the Lithuanian  Republic and  the river  Viliya is the  main drain for underground waters from the  territory of 30-km zone, conditioning the direction for  motion of  the stream into the direction  of its valley, advancement  of polluting materials with the stream underground waters (as ground, so and  from pressure quarterly and pre-quarterly) into the direction of the  Lithuanian  Republic  are not forecasted.

Additional investigations on migration  of polluting materials showed that accommodation and operation of the NPP within the calculated  period for exploitation may lead to creation in the first from  the surface water carrying horizon of the halo  with chemical pollution, herewith distribution  of pollution (neutral component) up to  the  level of  ПДК  does not move further 2,5 km from  the  contour of the byelorussian NPP area. Thereby, transborder chemical pollution over the underground waters  within the territory  of Lithuanian  Republic under operation of the  byelorussian NPP is  not forecasted .

The executed investigations  of  the radiation materials migration from the platform and local source showed that delivery  of the radiation pollution in  the river network   within 30-km zone is practically excluded. The zone of underground waters being under  the  influence of  local source pollution in the  event  of its presence on  the territory of the NPP area restricted  the area of  penetration  for  the ground waters on   the day surface. In this connection transborder transfer of  radio nuclides with underground waters is  not forecasted.

15.4.3 Radioactive pollution of the  territory at undesigned emergency

For calculation of  radiation pollution under various meteorological conditions there  were  considered 2 scenarios for undesigned emergences (heavy) (Table 172).

Table 172 – Parameters  of scenarios   for heavy undesigned emergences

| Parameter | Scenario 1 | Scenario 2 |
| --- | --- | --- |
| Period of model making | 24 hours | 24 hours |
| Duration of the surge | 1 hour | 1 hour |
| Composition of the surge (riper of radio nuclides) | iodine-131, cesium - 137 | iodine -131, cesium - 137 |
| Dynamics upper and lower limits of the surge | 21 – 25 m | 21 – 25 m |
| Effective diameter from the source | 3 m | 3 m |
| Velocity of the surge | 1,8 m /sec | 1,8 m /sec |
| Overheating | 30 0С | 30 0С |
| Activity of the surge: iodine -131; cesium - 137 | 1,0 ×10 +14 1,0 ×10 +13 | 3,1 ×10 +15 3,5 ×10 +14 |
| Parameters of the surge: surge of iodine isotopes in the volume containment - surge cesium isotopes - 137 | 90 % in the form of aerosoles 100 % in the form of aerosoles |

Meteorological situatuion (See Table 173): per years  was determined by western periphery of   vast little movable anticyclone having the  center above the Voronezh  area. Chiefly with no precipitations, only over the western part of Brest  region under the  influence of little active atmospheric front there took place short-period  rains. The wind is south-eastern moderate.  At meteorological station  of Lyntupy at the  beginning of emergency there were  registered:

Table 173 – Meteorolocical situation

| Parameter | Lyntupy | Vilnius |
| --- | --- | --- |
| Temperature of the air, 0С | 4,2 | 5,5 |
| Direction of the wind, 0 | 120 | 130 |
| South-eastern, m/sec | 1,0 | 1,0 |
| Pressure, GPa | 995,7 | 1001 |
| Point of dew, 0С | 1,7 | 4,3 |
| Total cloudicity, % | 0 | 0 |
| Category of stability | F | F |

Precipitations were not observed.

Model making was executed with use of  the prognosis data in the fields of  meteorological parameters from Moscow prognosis center under the following conditions:

- wind at the  height  of 10 meters  is southern - 20-28 km/hour;

- temperature at the  height  of two meters above the  ground - 6,0 - 7,2  °С.

The height  of the mixing layer  reached 0,4 km.  The parameter  of stability  according to Smith - 4.

Density of  pollution  over the territory 131I and 137Cs on  the axis of the trace shown in Table 174 and in  Figure 130.

Table 174 - Density  of pollution  of the territory with  radio nuclides

on axis of the trace   СЗ, Bq/m2

| Р/н Bq/m2 110400 | Distance, km |
| --- | --- |
|  | 0,5 | 1 | 2 | 3 | 5 | 10 | 15 | 20 | 25 | 30 |
| Scenario 1 |
| I-131 | 4,0Е+04 | 5.3Е+04 | 8,0Е+04 | 1,2Е+05 | 8,9E+04 | 1,7Е+05 | 1,0Е+05 | 6,9Е+04 | 6,0Е+04 | 5,4E+04 |
| Cs-137 | 4,3Е+03 | 5,7Е+03 | 8,6Е+03 | 1,3Е+04 | 9,7Е+03 | 1,8Е+04 | 1,1Е+04 | 7,5Е+03 | 6,5E+03 | 5,8E+03 |
| Scenario 2 |
| I-131 | 9,7Е+05 | 1.3Е+06 | 2,1Е+06 | 2,7Е+06 | 2,3E+06 | 5,0Е+06 | 2,9Е+06 | 2,1Е+06 | 1,7Е+06 | 1,7E+06 |
| Cs-137 | 1,2Е+05 | 1,6Е+05 | 2,6Е+05 | 3,5Е+05 | 2,9Е+05 | 6,0Е+05 | 3,7Е+05 | 2,6Е+05 | 2,2E+05 | 1,9E+05 |

Figure 130 – Scenario 1. Filds  having density pollution over

the territory  with 131I и Cs-137   (track СЗ)

In Tables 175 and 176 there are  shown the  areas of  pollution with radio nuclides over the  territory  of adjacent states.

Table 175 - Area  of pollution  over the territory 131I for various levels

according to the results of  model making under undesigned

emergency with north-west track

| Scenario 1 |
| --- |
| Levels of pollution with 131I (kBq) | 0,8-3,7 | 3,7-7,4 | 7,4-37 | 37-74 | 74-190 |
| Area of pollution within the level (km2) | 4400 | 1700 | 1500 | 150 | 63 |
| Area of pollution over the territory of adjacent states within the level (km2) | 4366 | 1678 | 1371 | 77,3 | 2.4 |
| Scenario 2 |
| Levels of pollution with 131I (kBq) | 37-110 | 110-370 | 370-740 | 740-1900 | 1900-5700 |
| Area of pollution within the level (km2) | 210 | 300 | 240 | 310 | 99 |
| Area of pollution over the territory of adjacent states within the level (km2) | 181,3 | 231,1 | 209,2 | 232,5 | 7,2 |

Table 176 - Area  of pollution over the territory with  137Cs for various levels

according to the  results of  model making under

undesigned emergency with  a northern-west track

| Scenario 1 |
| --- |
| Levels of pollution with 137Cs (kBq) | 0,2-0,37 | 0,37-0,74 | 0,74-3,7 | 3,7-7,4 | 7,4-19 |
| Area of pollution within the level (km2) | 2400 | 1800 | 1600 | 160 | 79 |
| Area of pollution over the territory of adjacent states within the level (km2) | 2320 | 1736 | 1436 | 89 | 4,1 |
| Scenario 2 |
| Levels of pollution with 137Cs (kBq) | 3,7-19 | 19-37 | 37-74 | 74-260 | 260-700 |
| Area of pollution within the level (km2) | 320 | 150 | 210 | 470 | 52 |
| Area of pollution over the territory of adjacent states within the level (km2) | 256,9 | 110,3 | 155,9 | 304,9 | 3,8 |

Pollution of  the  territory within the  adjucent state (Lithuanian Republic)  if possible under N-W and  S-W  directions of the radiation trace of the surge under the undesigned emergency. The  results  of  the calculations are  show in Table 177.

Table 177 – Zone of radiation pollution

| scenario | The zone for radiation pollution, km 2 |
| --- | --- |
|  | The zone for immediate settle out, Cs137>1480 kBq/m2 | The zone for the following settle out, Cs137 555-1480 kBq/m2 | The zone having the right for settle out, Cs137 185-555 kBq/m2 | The zone of dwelling with periodic radiation control, Cs137 37 – 185 kBq/m2 |
| С-З track |
| № 1 | – | – | – | – |
| № 2 | – | – | 3,8 | 459 |
| Ю-З track |
| № 1 | – | – | – | – |
| № 2 | – | – | – | 86,9 |
| С-З след 10.05.2009 |
| № 1 | – | – | – | – |
| № 2 | – | – | 77,3 | 1836,6 |

From the  Table it is  obvious, that pollution  of the territory of Lithuanian Republic  with Cs 137 above 37 kBq/m2         (1 Ci/km2)  is observed for scenario No 2. In this scenario the  isotopes surge  was considered as being equal to: 131I – 3100 ТBq and  137Cs – 350 ТBq.

15.4.4 Estimation  of radiation influence rendered  by the  byelorussian NPP to the  population

The yearly dose  of irradiation  over the population within the Lithuanian borderly  under standard exploitation  of the byelorussian NPP is shown in  Figure 131.

In  Figure  132  there is shown contribution into the  dose made by various ways of irradiation.

The yearly dose of irradiation  over the population within  the town of Vilnius under standard  exploitation  of the byelorussian NPP is shown in  Figure 133.

In  Figure 134  there is shown contribution into the  dose made by various ways of  irradiation over the population  of the town Vilnius.

Figure 131 – Contribution of various radio nuclides into  the  total dose

Figure 132 – Contribution of various ways of irradiation into   the total dose

Figure 133 – Contribution of various radio nuclides into  the  total dose

(the town of Vinius)

Figure 134 – Contribution of various ways of irradiation into the   total dose

(the town of Vinius)

the yearly doses of irradiation  over the population, dwelling  within the territory near the border, constitute E the year = 0,017 μSv.

the yearly doses  of irradiation over the population, dwelling in the  town of Vilnius, constitute E the year = 0,004 μSv.

the data values are equal 0,17 % and 0,04 % , correspondingly, from the quotas of irradiation  over the population from surges (tapping of sewages) under standard for exploitation of the NPP, 10 μSv /year.

Forecasted doses of irradiation over the  population at the most heavy scenario of the endesigned  emergency (meteoconditions  of 17.03.2009 г), that is at which the doses  of irradiation  over the population will be maximum at various distances from the  NPP, shown in Table 178.

Table  178 ( Doses  of irradiation at early  stage  of emergency under

scenario for undersigned  emergency    (meteoconditions

of  17.03.2009 г.) at various  distances from the NPP

| Distance, km | Dose from the clowd, μSv | Dose from fallouts, μSv | Effective inhalation dose, μSv | Total effective dose, μSv | Dose of irradiation over the thyroid gland*, mGy |
| --- | --- | --- | --- | --- | --- |
| 1 | 3,5 | 11,0 | 79,0 | 94,5 | 1500 |
| 2 | 2,4 | 6,3 | 47,0 | 55,7 | 910 |
| 5 | 1,1 | 2,9 | 22,0 | 26,0 | 420 |
| 25 | 0,14 | 0,18 | 1,3 | 1,62 | 25 |
| 50 | 0,11 | 0,13 | 1,00 | 1,24 | 19 |
| ___________________ *Dose for irradiation over the thyroid gland comprises only the doses from radiation rendered by iodine. |

As may be seen from the  Table, iodine preventive maintenance under surge  of 15000 TBq at early stage  of undesigned emergency should be  obligatory executed within the  radius  of 25 km from  the  station.

15.5 Poland

The yearly dose  for irradiation of the  population over the  region  of Poland near the border under standard  exploitation of the byelorussian NPP is shown in  Figure 135.

In the Figure 136 there is  shown contribution  of doses  from various ways of  irradiation.

The yearly dose  for irradiation over the  population withiun the town of Warsaw under standard  exploitation  of the byelorussian NPP is  shown in  Figure 137.

In  Figure 138  there is shown contribution into the  dose from various ways  of irradiation for  the population  of Warsaw.

Figure 135 – Contribution of various radio nuclides into  the  total dose

Figure 136 – Contribution of various ways of irradiation into  the

total dose

Figure 137 - Contribution of various radio nuclides into  the  total dose

(the  town of Warsaw)

Figure 136 – Contribution of various ways of irradiation into   the total dose

( the  town of Warsaw)

E the year = 0,001 мкЗв  E the year = 0,0003 μSv

the yearly doses of  irradiation over the  population, dwelling within the territory near the border, constitute E the year = 0,001 μSv.

the yearly doses  of irradiation over the  population, dwelling within the territory  of the town  of Warsaw, constitute

E the year = 0,0003 μSv.

the  given values are equal to 0,01 % and 0,003 % , correspondingly, from the quotas for irradiation over the  population from surges (tapping sewages) under standard exploitation  of the AES, 10 μSv / year.

Doses  of irradiation over the  population as the result  of undesigned emergency  are shown in Table 179.

Table 179 – Doses  of irradiation  over the population

| Distance, km | Effective dose, μSv | Dose of irradiation over the thyroid gland*, μSv |
| --- | --- | --- |
| 100 | 0,438 | 6,718 |
| 200 | 0,155 | 2,375 |
| 300 | 0,084 | 1,293 |
| 400 | 0,055 | 0,840 |
| 500 | 0,039 | 0,601 |

Influence, rendered  to the territory of Poland  from the byelorussian NPP through other ways is excluded, because we do not have general water streams,  and the  undergraund water do not communicate.

15.6 Austria

The yearly doses  of irradiation over the  population, in the town of  Vienna at standard  exploitation  of the byelorussian NPP shown in  Figure 139.

In  Figure 140  there is shown contribution  of doses rendered by various ways  of irradiation over the population  in the town of  Vienna .

Figure 139 – Contribution of various radio nuclides into the  total dose

Figure 140 – Contribution of various ways of irradiation into

the  total dose

The yearly doses  of irradiation over the  population, dwelling in the town of  Vienna, constitute:

E the year = 0,0001 μSv, which correspoinds  to 0,001 %  of the quota for irradiation over the population from surges (tapping of sewages) under standard exploitation  of the AES, 10 μSv/year.

The yearly doses  of irradiation over the  population, as the result  of undesigned emergency are  shown in  Table 180.

Table 180 – Doses  for irradiation  over the population

| Distance, km | Effective dose, mSv | Dose for irradiation over the thyroid gland*, mSv |
| --- | --- | --- |
| 800 | 0,019 | 0,297 |
| 900 | 0,016 | 0,249 |
| 1000 | 0,016 | 0,212 |
| 1200 | 0,014 | 0,162 |

The influence, rendered to the territory of Austria from the  byelorussian NPP through other ways is excluded.

15.7  Republic of  Latvia

The yearly doses  of irradiation over the  population, dwelling in the  town of Riga under standard  exploitation  of the byelorussian NPP is shown in  Figure 141.

In  Figure 142 there is  shown contribution  of doses for  various ways of  irradiation over the population, dwelling in the  town of Riga.

Figure 141 – Contribution of various radio nuclides into  the  total dose

Figure 142 – Contribution of various ways of irradiation into  the

total dose

The yearly doses  of irradiation over the  population, dwelling in the  town of Riga, constitute:

E the year = 0,0004 μSv, which correspoinds to 0,004 %  of the quotas  for irradiation  over the population from  surges (tapping of sewages) under standard exploitation  of the AES, 10 μSv /year.

The doses  of irradiation  over the population  as the result  of undesigned emergency  are shown  in Table 179.

15.8 Ukrain

The yearly doses  of irradiation over the  population, dwelling in the  town of  Kiev under standard exploitation  of the byelorussian  NPP are shown in  Figure 143.

In  Figure 144  there is shown contribution into the doses rendered through various ways of irradiation over the population, dwelling in the  town of  Kiev.

Figure 143 -  Contribution of various radio nuclides into  the  total dose

Figure  144 – Contribution of various ways of irradiation into  total dose

The yearly doses  of irradiation over the  population, dwelling in the  town Riga, constitute:

E the year = 0,0004 μSv, which correspoinds to 0,002 %  of the quotas  for irradiation  over the population from  surges (tapping of sewages) under standard exploitation  of the AES, 10 μSv /year.

The doses  of irradiation  over the population  as the result  of undesigned emergency  are shown  in Table 179.

15.9 Russian Federation

Correct character of the  approach and   the obtained results  after the model making are  approved with positive Conclusion of  Federal management for  ecologic,  technologic and atomic   supervising of the  Russian Federation of 12.11.2009 No ВБ-46/578.

The forecasted estimation of the influence from the undesigned emergency at the  byelorussian NPP over the territory of adjacent states shown in  Table 181.

Table 181  –   Possibleе influence, rendered  to the territory of adjacent states

| Parameter | Lithuanian Republic | Republic of Latvia | Republic of Poland | Ukrain | Russian Federation |
| --- | --- | --- | --- | --- | --- |
| Health of the population | Influence minimal | Influence absent | Influence absent | Influence absent | Influence absent |
| Water streams | Influence minimal | Influence absent | Influence absent | Influence absent | Influence absent |
| Agricultural products | Influence minimal | Influence absent | Influence absent | Influence absent | Influence absent |
| Underground waters | Influence absent | Influence absent | Influence absent | Influence absent | Influence absent |
| Biota | Influence absent | Influence absent | Influence absent | Influence absent | Influence absent |
| Soil | Influence minimal | Influence absent | Influence absent | Influence absent | Influence absent |

16 ECOLOGICAL  RESULTS  of the OVOS

In the result  of the works, executed at the stages for  selection of the area aimed at  construction, and development  of  the OVOS materials, was shown and scientifically grounded the  following:

-  the selected platform has no restrictions on the basis of natural and technogenic factors;

- there was arranged complex examination  of objects  within the surrounding environment in the result of  which  there was  determined  the background condition for the  objects  in the surrounding environment,  there is given  complex estimation  for the initial surrounding environment of the state:

- radioactive pollution  of its components is found at  the level  of global radiation fallouts;

- chemical pollution, as a rule, does not exceed according to  the restriction values;

-  there are chosen  the main critical elements in various components of the  surrounding environment (ground, surface and ground waters, landscapes, animal and vegetable world, hydro ecosystems, agriculture).

-  there is described  the supposed system of control and complex radiation-ecological monitoring  of the state surrounding environment within  the zone of  observation around the NPP.

-  there is shown that in  the supposed to projecting NPP -2006 is used collection  of passive and active systems  for safety, providing  the following criteria  for safety and  the projected  limits.

The criteria  for safety and  the projected limits

The criteria  for safety and  the projected limits are taken in accordance with  the acting normative documentation, and recommendations from the  MKРЗ (the International commission on radiological protection) and  the MAGATE.

For  the population there  are fixed the  following projected limits  for the doses :

1) As quotas for standard operation in the requirements for the  project of the NPP -2006 with reactors  of the type ВВЭР 1200 for54 each influencing factor (surges/tapping sewages)  there is installed  the target limit - dose  of 10 μSv/year; for standard of exploitation (the works with  nominal power and at the ППР stops) and  under breaches of standards for exploitation, as  the upper border at optimization of the  radiation protection,  there is fixed the limit  for the individual effective dose of  irradiation  over the population (the critical group) 100 μSv in the year which constitutes 1 % and 10 % from the main dose limit, according to  the restrictions from НРБ-99, НРБ-200 for  the population in average  undesigned emergences within the following 5 years

The data outside  the limits must not  exceed the restrictions of  sanitary-protective zone ( around the area) and  outside its borders;

2) under projected emergencies at the  NPP  there are expected  the doses  of irradiation  over the restricted part of the population (the critical group) within  the borders of sanitary-protective zone and outside its borders must not exceed 5 mSv on  the whole body and 50 mSv on separate organs  within the  first  year after  the emergency;

3) under undesigned emergency at the  NPP  the doses of irradiation for the  restricted part  of population (the critical group) within the  restricted  zone for  planning protective measures and  outside its borders must not exceed 5 mSv within the whole body and 50 mSv on individual organs for  the first  year after  the emergency.

For  the working personnel of the group А under standard  exploitation and removal of the  NPP from  exploitation  there are fixed  the following  doses criteria:

-  the average value  of individual doses  for irradiation over the personnel must not exceed 5 mSv/  year;

-  the planned value  for  collective dose  of irradiation over the personnel must constitute 0,5 persons Sv/  per  a year.

The target limits  of effective doses  for irradiation over the  personnel at the БПУ under  the considered in  the projects heavy emergencies - 25 mSv/event.

In  the project there is  motivated, that  with the corresponding mode there is provided radiation safety by means  not exceeding  the projected limits, which in  their turn limits:

-  the level  of activities  in the water  of the first contour for the  products of  fission;

-  the level of activities in the water  (the pair) in the second  contour, in  the network waters (under the works in the  cycle АТЭЦ);

- the  level of activities in the water, cooling  the equipment of  the first contour;

-  the level activities in the  water of the  pool for keeping the worked out  fuel;

-  the surge of  radiation materials in  the atmosphere and in  the waters must not exceed the  requirements of the  СП АС-03;

-  the levels of irradiation in  the premises of the  NPP.

In  the project there  are determined  the projected limits, determined  by standards for the degree  of hermetic sealing of the  protective barrier: the  shells  of твэлов, the first contour, areas  of localizing the  contours, being  adjacent with the first contour, of localizing armature, pool for  keeping, protective shells.

By the project there  must be installed the sizes of  sanitary-protective zone ( restrictions of the area),  the zone  for observations and zone  for planning protective measures.

From analysis of  literary data  there is installed that  the most influence on the  surrounding environment will  be rendered at the stage  of  the NPP construction and the most critical to  the given influence will be vegetation.

17 MEASURES FOR protection of the

SURROUNDING ENVIRONMENT

In  the process  of the NPP construction, when planning  the territory, displacement  of the ground, at  storehouses  of inert materials  there occurs dust pollution  of the atmosphere.

However this pollution pessesses local and short-time  character, and with taking into account  the applicable measures for dust suppression, as a matter of fact  do not make changes into conditions of the  surrounding environment. Dust suppression is planned to be  realized at the expense  of installation cyclone dust separators, filter in  the systems of pneumatic  transport  and aspiration, installations of  aspirated local covertures in places for overloading filling materials, moistening opened storehouses  for filling materials in summer time.

The enterprises for fabrication  of metallic constructions, pipe units with execution of  painting, counter corrosion, chemical protective works are  the sources  for surges  of welding aerosols, manganese oxides, vapours  of diluting  liquids, acids and alkali. For diminishing concentration of bad materials at  worker places and surges into the  atmosphere  there will be  foreseen local ventilation and  on necessity  rectification of  surges up to  maximum permitted concentrations ПДК.

Concrete works is the  source of the surge  for burnt out oil products and dust. Diminishing  of surges  with these materials is planned to reach by  installation of cyclone dust separators, hiogh temperature fireboxes for complete incineration of  technological fuel and smokestack, providing necessary height and diluting of the surge

The enterprises of the automobile transport, construction machines and mechanisms throw out, basically, oxide of carbon, oxides of  nitrogen and sulphur, aerosols  of lead, hydrocarbons and others.

It is planned to reach reduction of surges at the expense of optimum scheme for  motion  of transport and machines, regulation of the engines to achieve standard values  for the surge.

All above enumerated objects, polluting  the atmosphere, are found within the limits  of  construction base and  outside the area and their influence, including noise,  do not throw out outside the limits  of the NPP territory  and do not exceed  the permitted values.

During  production of  works for building of the temporary buildings and construction elements  of the construction base and priority works  performed on the  industrial platform  of the NPP there  will  be foreseen overtaking construction of the networks and rectification buildings for  domestic-fecal and industrial-showerly kanalysation.

The quarry  of loam and sandy-gravel mixture and mouldboards  of soils are situated on  the territory, removed from  the water reservoirs over 1 kilometer, and do not influence upon conditions of  water protection zones.

Tapping surface waters from interplatform automobile  and railway roads will be  realized  by  the complex of  measures:

- with transverse tapping of  surface waters along the  planned surface  of the earth plane and ballast layer into the  direction of  longitudal water  tapping;

- with arrangement of tranches, ditches, longitudal and transverse pallets;

-  by construction in proper places  of small artificial erected elements.

Rectified sewage and  unpolluted waters will be  directed into the  adjoining water reservoirs.

Thereby, it is  possible  to establish that significant changes  in the  mode of  natural sewages  within the limits of  the NPP area  will not take place.

The objects for  recultivation are  the territories of  construction bases, mouldboards and quarries. After completion of the period for exploitation temporary buildings they are unmounted, there is  executed planning, providing the  surrface sewage. On the whole  recultivated territory after its planning  there is executed stowage of the soil grounds, possible fertilizing and sowing  of herbs.

After working out of  the quarries and mouldboards  of soil  there is foreseen  recultivation  of their territory with execution of  works for its improvement. With this aim  there is  produced planning of the  area with laying of slopes, fixing the  soil layer from opening, sowing  of herbs.

The soil  taken in the process of construction in  the places of erecting builings, is stored in temporary mouldboard, located not far from the  production area, and is used  in the following for  recultivation and improvement.

Arrangement of the works on linear communications (automobile and railways, piping lines for  technical water supply) provides maximum use for passing of automobile transport over  the places of   laying linear communications.

The violated adjoining bands are planned, covered  with building soil,  in advance taken out  from the places of construction and are  seed with  herbs. The building waste and rubbish  are  transferred to the  range  for industrial waste remains.

With  taking into account of the existing trends for growing  industry of the rest in this region, manifestation of negative factors of intensive recreation influence on  the vegetation already today  there will  appear before the society and  the nature  protection departments the problem about all-round estimation of its recreation potential, as well as estimation of the recreation influence on their condition and stability of  vegetation.

In connection with high agricultural maintenance over the grounds  within 5 km zone, chosen for location of the area  for construction  of the NPP, the main changes in natural vegetation cover will occur in adjacent with  the platform territories with large unique forest massives, located from construction of the area within the  radius  of about 10 km and concentrated mainly along the river  Viliya. So the  main  tasks  at enterprises of  timber facilities and nature protection services for  protection and rational use of vegetation within  the zone  of  the NPP construction will  comprise the following:

- encrease of  sanitary-health function, landscape-aesthetic value, stability and improvement  of the woods with the aim  of creation favourable conditions for mass rest  of the population;

-  reinforcement of the measures on protection of the most valuable in natural attitude forest landscapes, relict structures, monuments of the nature andregions, having great protection and cultural-historical value;

-  presevation of  biological variety in forest ecosystems;

- execution  of measures on prevention of  forest  planting degradation in  the result  of the recreation influence;

- reinforcement and  further improvement of  measures on protection of woods from  fire.

The most expedient form of arrangement and conduct  of facilities in recreation woods is  development  of  landscape-planning, organizing, forest growing and nature protection measures on  the base  of special  forest arrangement. Executed  of  functional  dividing into zones, enables to define the  main direction  for differentiated conduct  of  forest growing.

In  the zone  of active rest  the main ways, recommended for prevention of recreation influence on  the woods and restriction for  the anthropogenic influence, are:

1 Distribution of  resting people by means of laying roads, pathes and with  improvement  of the territory. The most important element in  this system  of measures is laying of  roads and pathes with hard covering which  will enable to stabilize the routes of motion  for the people  and transfer significant part  of loads to  such roads and pathes. With  the aim of distributionfor   resting people and diminishing  the loads  rendered to the main recreation territory it is  necessary  to involve into the recreation  use additional regions in  woods and planting areas, not used for rest in view of  their insufficient recreation value. Execution of  corresponding forest growing measures (chopping, care, removal of waste, drainage of overmoistened areas, care for  the surface cover and etc.)  such plantings are  prepared for  acceptance  of  resting people.

2 Creation  of attractive and firm biocomplexes on  the base economic and organizing measures. The main means for creation  of forest  landscapes and terrains are  the landscape chopping (creation, reconstruction, planning,  for creation  edges of the forest, as well as chopping in subgrowth and  undergrowth) and landscape felling (reconstruction, protective, decorative). For creation of  optimum landscape-planning and volumeно-spaceous system for plantings  there is necessary  to develop  special projects. Herewith  special attention is attracted by high prime cost of the  indicated measures. This forces to consider attentively  determination of practicability  for their execution and to the choice  of the priority objects. In the first place  with these measures must be covered the  territory, adjoining to the  institutions of rest and  medical treatment, to access roads, promenade and tourist routes, coast zones,  and edges of the forest.

Within  the  forest area it is  possible  to undertake  special measures, directed at raising stability and reconstruction  ability of degraded recreation woods. As the most economically efficient forest growing action is  application of the mineral fertilizers. Maximum ecological efficiency is obtained  with fencing the  degraded recreation plantings with simultaneous application of the mineral fertilizers. However cost-performance under the influence of  these measures is considerably less, than under the  influenceм  of the fertilizers. The reason is big expences of fence-making. The cost-performance of fence-making without fertilizers is provided only in greatly degraded areaх, usually  at IV stage  of degression. The more positive economic effect is obtained  with  mulching  of the degraded recreation woods.

Under conditions of  moderate recreation usage (the zone of mastering), the main measures are directed as at  raising  stability and recreation value of the plantings, so at prevention of their possible  overloading. Any special forms for arrangement of forest facilities with  the aim  of transformation for the landscape is not provided. It is necessary only to pay attention to improvement  of the territory, also  there is possible laying  of separate promenade routes in the  direction of motion  for the main mass  of resting people.

In  the reserve zone there are executed usual forest growing measures, directed at  growing of sound, firm and long lasting plantings with high aesthetic and sanitary-hygienic properties.

After termination   of construction  it is necessary to conduct recultivation of territories with mouldboards and quarries, located within them. After removal  from exploitation of  temporary buildings, the  objects  of construction industry, they are unmounted,  there is executed planning, providing surrface sewage. On the whole  recultivated territory after its planning  there is produced laying of the ground soil, possible fertilizers and sowing of herbs or growing of forest cultures.

Exploitation  of the NPP.  At the stage for exploitation  of the NPP the influence on  the surrounding environment will be connected with extraction of  water for technological necessities from the river of Viliya, as well as with  the surge and tapping of polluting materials. Extraction  of water from the river Viliya may  cause lowering  the level as its most, so of  falling into it inflows. Taking into consideration  the role of the river  Viliya as place  for dwelling big quantities  of rare and valuable  sorts  of fish, for which such lowering may have negative consequences,  there must be provided possibility of  regulation for its level mode.

The indicated adjustment must provide  maintenance in the river Viliya of  the water level close to their average perennial values according to the season of  the year. Herewith critical (least) level of water in it within  the spring period must constitute not more than 150 cm over the  mark "0" of hydrometeorological post Mihalishki. During the year the  given river must have  the following dynamics of the filling - 55 % sewage in spring period, 37 % in summer-autumn and 18 % in  winter period

The shown dynamics will create favourable conditions for spawning of fish and growing of their fry. For prevention of their loss in the most place for water extraction it  follows to provide special  fish protective constructions

Tapping of technical sewage waters from the atomic station in the river Viliya create  danger for its chemical and heat pollution. For prevention of  chemical pollution  there  are needed measures on rectification of the indicated sewage waters up to their correspondence  for  the ПДК of  fish growing purpose.

The most sensitive to heat pollution are salmon fish. Spawning  of such type  fish as salmon occurs from the end of  November to January under  the water temperature 1-6 0С and kumzha – from the end of  October to December under  the temperature  of water 3-5 0С. The  maggots salmon fish  go out in spring time (March-April). Temperature  of water in the  process gowing out must not be above 12 0С. However after gowing out  the   maggots  within more than a  month lie still between pebble in spawning hill,  the temperature of  water herewith must not exceed 14 0С.

For prevention of  heat pollution  of the river  Viliya and  for preservation  of favourable conditions for dwelling in it of  salmon fish  there must be taken measures for cooling of  thrown from the station warmed technical sewage waters. During determination of the  parameters  for the temperature mode   in these waters under their delivery in the river of Viliya, it is necessary  to take into consideration  The resolution  of  the Ministry  for  natural resources and protection of the surrounding environment in the  Republic of  Belarus and  Ministry of  public health of the Republic  of Belarus from 8 May, 2007  No  43/42 "About some problems for  standardization  over the quality  of water for  fish growing water objects”.

According to  the indicated documents, the  temperature  of water in fish growing water object must not increase over 5 0С  in comparison with its natural temperature.  Except this for water objects, in which  there dwelling the salmon types of fish and to which pertains the river of Viliya, total rise of the water temperature r must not exceed 20 0С  in summer time and 5 0С in winter time.

During estimation of  polluting influence from the NPP on  the natural ecological systems it  follows to take into consideration the  radiation influence.  The considered 3 forecast scenarios for  such influence, correspondingly under standard exploitation  of the atomic station, under maximum projected emergency and undesigned emergency.

Standard exploitation  of the NPP   is accompanied  with delivery into the  surrounding environment  of more small quantities of radio nuclides. Their accumulation in ecosystems and contribution in the  doses of  external and  internal irradiation  foe living creatures are  negligible.

The executed  calculations of dose loads on  the vegetable world  within 30-km zone under standard  exploitation  of the NPP showed that their value will  be suffisiently small and will not cause  any need  for  introduction  of restrictions on usage of the  biological resources. As preventive measures it  is recommended to execute radiometric and biochemical  control ober individual sorts  of products  from additional  exploitation of forest: mushrooms – accumulators of  toxic  materials, moss, branch provender and  some other.

In  the event  of maximum project emergency it is necessaty to pay special attention for  radioactive pollution  of high mushrooms and  wild growing  berry cultures as the main products of additional forest exploitation. According to  the obtained calculated data,  the level  accumulation of the main indicator  for radiation pollution  with 137Cs both in mushrooms, and  in berries will be considerably lower the  standards existing in present time for its contents (РДУ).

In  the near zone (within  the radius of  2 km) in the year emergency the  factor  of concentration  for 137Cs will be  within the limits of 0,1- 0,45 from  from the РДУ (the edible mushrooms) and 0,1- 0,12 (wild growing  berries). In the course of removing from  the NPP multiplication of 137Cs deposition in  them  decreases. So,  at a distance  of 10 km from it  the multiplication falls by 2 times. On termination  of the forecasted time (60 years) in  the near zone the 137Cs concentration  in mushrooms and  berries will decrease up to 1,5 - 0,3 % РДУ.

Under  the undesigned emergency radioactive materials in  the forest ecosystemsа found at the  beginning will be  in bedding, afterwards  they will gradually move over into  the ground. The calculations related to  accumulation of  137Cs  in timber testify about the dependence  of its levels from  the types of edafotopes. The minimum levels are  forecasted in the woods on rich soils  having normal moistening,  the maximum - on peat soils rich with minerals.

On  the trace formed in   the result  of undesigned emergency with the top density for  radiation pollution  having concentration of 137Cs by many times  exceed  the РДУ in all sorts of  forest products -timber, mushrooms,  and berries.  The evaluation was  organized for  the following activities  of riper radio nuclides in the  surge:

- cesium - 137=3,5 1014 Bq;

- iodine - 131=3,1 1015 Bq;

Growing  the  number of  population in the  region. Increase in the  region of the population number by 30 thousand people in relationship with  the NPP construction will cause the total growth of the loads on its natural environment. These loads will are be connected mainly with exceeding  creation of sewage waters in the  place of  residence  for the arriving population, reinforcement of intensity  for  recreation  nature exploitation and, correspondingly, trampling down, damage and use of forest vegetation, increasing dangers of forest fires, reason  for which nearly always are  people, possible growing  of poaching.

Since  the arriving population will  be accommodated in the  populated settlement of Ostrovets,  the volume of  sewage waters will increase namely  here. Their receiver is  the river of Losha, which, like  many other inflows of the  river  Viliya, serves the place of  dwelling for specifically sensitive to  the water quality  for rare and valuable  sorts  of fish. For prevention of  its pollution  there will  be erected constructions of the new powerful rectification elements.

Increase  of tapping  sewage waters from the part of the populated settlement Ostrovets in combination with their creation at the  same NPP is capable to intensify total polluting  influence on  the river of  Viliya. In this connection  there arises necessity for realization water protection measures on  the territory of the  total water collection pool presented  by the river Viliya. These measures may touch creation of water protection zones, rectification of  sewages from the  cattle growing farms, diminishing  the process of  washing down polluting materials from the  agricultural  fields and  etc.

The main load  rendered  by the resting peopele will feel vegetation, located closely near the coast band along rivers and lakes, previously total in  the places for active rest. With increase  of trampling down decreases the total spare stock of the forest bedding and  the ground is packed down. These changes at the beginning  will influence on growth and development of the  lower levels of vegetation, and then  of wood valance, which in total  leads to considerable loss in spare stock of  raw timber, mushrooms and wild growing  berries, lowering of oxygen productivity  in  forest phytoscenosis.

In present time the most strong recreation influence is rendered upon the  woods, located near great populated points: the populated settlements of  Ostrovets, villages of  Mihalishki, Voronyany, Zhodishki, settlement of  Sviri, as well as near the rivers  Viliya, Oshmyanka, lake of  Sviri, Sorochansky and other water reservoirs. For significant recreation loads there are  subjected,  pine woods, located  along  the river  Viliya.  Reinforcement of the  influence rendered to  them from the  resting people may  cause  deterioration of  their ecological state

Not to allow degradation of  forest vegetable community, in connection with growing recreation loads it is necessary to  introduce special modes  of  forest exploitation in the most visited woods, as well as project making for  the  created rest zones. The most  important value herewith has determination  of their maximum  possible recreation capacitiy, providing determination  of such maximum quantities  of resting people which will not bring about violation of stability for the  vegetation complexes and their capabilities for self restoration.

Since many attractive in recreation attitude  woods  are featured  with  high firing danger, and increasing the  quantities of the resting people will raise the threat of the fire aising, then it will be necessary to intensify measures  for firing  safety.

Taking into consideration presense in region  of big quantities of protected sorts  of plants and cattle, special value here has planning  of tourist routes, ecological paths, parking platforms for automobile transport, other objects, intended for rest. They must not violate conditions  for existence  of these  sorts.

To eliminate the threat  rendered to resourse animals and particularly  to protected types of fish in connection with possible growing for poaching there are  needed measures for  reinforcement of control over their state and use.  For improvement of natural conditions for  reproduction the most valuable sorts of  fish – salmon, there will  promote liquidation on  the  spawning rivers  of beaver settlings and dams, which prevent  the  producers from coming into them. Besides  it is  reasonable  to creatу a  fish nursery aimed at artificial reproduction of salmon and other valuable in commercial attitude sorts of fish. Such measure will enable not only to compensate the damage from unfavourable influence on these sorts and save their resourse potential, but also will  give the right on reception of the quotas for  catching out the  salmon (kumzha) in  the Baltic sea.

18 PROPOSALS ON ORGANIZING THE PROGRAM FOR

ECOLOGICAL   MONITORING OVER

18.1 General provisions

The base  for ecological safety  of the byelorussian NPP is monitoring over over the  surrounding environment on  the platform and in the zone  of observation. It must  be executed within the framework of the National system  for monitoring over over the  surrounding environment (НСМОС) in  the Republic  of Belarus in accordance with  the acting legislation:

- the Law of the Republic  of Belarus "About protection  of the surrounding environment" of 17.07.2002  No  126-3;

- the Regulations about national system for  monitoring over of the  surrounding environment in  the  Republic of  Belarus, approved by  the Resolution of the council of  ministers of  the  Republic of  Belarus of 14.07.2003 No  949.

In accordance with Item 2 of the  Regulations about national system for  monitoring over of the  surrounding environment in  the  Republic of  Belarus, НСМОС includes organizing-independent and executed on the general principles the  following types of  monitoring over over the  surrounding environment:

- monitoring over lands;

- monitoring over surface waters;

- monitoring over underground waters;

- monitoring over atmospheric air;

- radiation monitoring;

- geophisical monitoring  and others

Realization of general principles for  execution of  monitoring over the  surrounding environment is realized by means of development and execution  of programs for observation of conditions  in the surrounding environment and influence on it rendered from natural and anthropogenic factors,  for restriction of collection and treatment  of the data, analysis and keeping in storage of the  information, ensuring the information exchange within the framework of НСМОС, development of forecasted state  for the surrounding environment and influence on it from  natural and anthropogenic factors, preparation and submission of the  information  into the state organs, juridical persons, citizens.

Ecological monitoring, being  the "complex system for observation, estimation and forecast of  the changes in the  state surrounding environment under the  influence of  natural and anthropogenic factors", in  the regions of atomic station location must consist of subsystems  for monitoring over the main influence factors (radioactive, chemical materials, heat) and response  from ecosystems (biological monitoring) on changing  the parameter of the  environment.

Radiation monitoring over the  industrial platform of the byelorussian NPP, in its СЗЗ and ЗН will  be executed  by the laboratory  of radiation safety (ЛРБ) and external of dose measuring (ЛВД) and Republican centre  for radiationго control and monitoring.

During developmant of the  Program for  ecological monitoring in region of the projected byelorussian NPP location must be taken into account  the information, concerning characterисs  of agricultural lands, critical ecosystems and vegetation community which monitoring  is  necessary first of all,  the given material  is comprised into the corresponding  sections  of the byelorussian NPP OVOS.

The main purpose of the Program is  determination  of general requirements to arrangement of the structure and surge data  from the ecological monitoring (the structure, objects of  natural environment, nomenclature and inaccuracy of the controlled parameters measurement).

The main requirements to arranhement structure  of ecological monitoring  in  the region of the byelorussian NPP location is  provision of the information reception, necessary for motivation of correspondence of the  forecasted influence from surges/tapping of radiation and chemical materials from the projected NPP, the  level of acceptable risk, comparison with  the risk from  the natural and technogenic radiation background, from  the background  of pollution  with natural environment chemical materials, from surges/tapping of other enterprises.

The main reference data for estimation  of the radiation risk are the values for  effective doses over the population and corresponding risk factors. Methdological approaches to estimation of chemical risk are founded on the principles, adopted by the  Ministry of health, Ministry  of nature of the Republic of  Belarus, MAGATE. The main reference data for estimation  of risk for the  population from pollution with  natural environment chemical materials are their concentration in water, air, food, and  the corresponding risk factors.

Considering that the  hydrosphere is final "reservoir" and  the natural way  for migration of atmospheric fallouts  of radio nuclides and chemical materials on the ground surface, observations over  the dynamics of chemical materials concentration in hydrographic networks are necessary within the area,  being close to the zone of the radiation monitoring  (in СЗЗ and ЗН stations).

The zone  of ecological monitoring around  the byelorussian NPP will be determined at the stage  of architectural projects.  The network  of stations for observation must be chosen with  taking into account   direction of the flow  of the controlled tapping  waters, acting wind rose and  the presented ООПТ.

18.2 Specifically protected natural territory

Within the limits of 30-km zone  around location  of the NPP there are located 5 specifically protected natural territories (See Figure 145). Into their composition enter: a part of the territory  from the National park "Narochanskiy", completely landscape reserve having republican value "Sorochanskie lakes", as well as 3 ландшафтных reserves having local value ("Blue lakes", "Sergeants", "Lake Byk") and 2 monuments of the nature having local value ("Lime path with three oaks" and "Starazhytny oak”).

The most large ООПТ concentrated in  the north-easterly part of the region. Here is situated  the republican reserve "Sorochanskie lakes"  having  the total areю about 13 thousand hecters,  within which  limits is individually  treated the monument of the nature having  local value "Starazhytny oak", and also the part  of the National park "Narochanskiy" territory (7,7 thousand hectares of the  area covered with woods). In the south-western part  of the 30-km zone there  are located  landscape reserves  with local value "Lake "Byk" and "Sergeants", and also the monument of the nature with  local value "Lime path with three oaks". In the  south-east part of  territory  there is located the landscape reserve having  local value "Blue lake”.

In  total  the specifically protected natural territories occupy about 15 %  of lands  within 30-km zone for location  of the NPP which is by  2 times greater the  average for Belarus factor and is the a certificate for high value of the region for preservation  of biological and landscape variety within the  national level. All of them are found at sufficiently large distance from  the area  of construction, and execution of construction works itself will not  render influence to them.

Protected woods. Available in  the region protected woods (the woods pertaining to the I group) include water protection bands, protective bands along the automobile roads and railways, woods  in the national parks, reserves, green zones around cities. The highest area occupy water protection woods concentrated on the  coast of  rivers and lakes - about 30%  of the area covered with woods (See Table 182). By the  woods of ООПТ  there is occupied the sixth part, and by protective bands along roads -  the tenth part of  this area.

Table 182 – Distribution of lands in the forest fund  within

30-km zone  around the  NPP  according to the

categories of  economic exploitation

| Category | Area |
| --- | --- |
|  | Thousand hectares | % |
| Woods of the I group, | 57,8 | 62,5 |
| including the category of protection: |  |  |
| - restricted (water protection) bands | 27,7 | 29,9 |
| - protective bands along the automobile roads | 1,2 | 1,3 |
| - protective bands along railways | 9,4 | 10,1 |
| - wooden national park | 7,3 | 7,8 |
| - wooden reserves, having republican value | 7,8 | 8,5 |
| - green belts with forests and parks | 0,2 | 0,3 |
| - green belts with forests having exploitation value | 4,2 | 4,6 |
| Woods of the II group (the exploited woods) | 34,8 | 37,5 |
| Total | 92,6 | 100,0 |

Figure 145 – Specially protected  natural territories within 30-km zone

around    location  of the NPP

The spaceous distribution  for woods of the  I group  is determined  by location particuliarities of economically  exploited  and urbanized,  the ООПТ  and water ecosystems. In particuliar,  the water protection woods are  mainly concentrated along  the river of Viliya. They actа as the ecological corridor having the  international value, connecting specifically protected natural territories of  Belarus and Lithuania.

The woods of the  I group  in total occupy 62,5 % of the  covered with woods area within 30-km zone, which by 12 % is  higher than the  average for Belarus factor and also is indicative of high nature protection value  for the region.

Valuable forest ecological systems. Within the  borders of 30-km zone  there is marked out a category row for  valuable forest communities, not all from which have a status  of being protected, but all of them  need for protection in the power of their high ecological and resouse value. They comprise the following communities:

- little violated forest areas (protected zones of reserves and  difficult  for reaching massives at flood plains and amongst the marhy regions);

- areas with  old woods;

- areas  of complex composition and structure of  forest plantings or tree standing  with single trees remaining after the previous generations;

- areas of woods with  rare and residing under threat of disappearance  types  of wood;

- areas with populations of  rare or threatened sorts  of flora and fauna;

- areas with  the presense in  the wood level of  rare wide-leaf sorts (the maple, lime, elm-tree);

- areas  with woods in natural flood plains of the rivers, around the sources  of rivers and springs;

- areas  with woods with restricted accessibility (the islands on the  lakes, mineral island amongst open marshes.

The indicated valuable vegetation communities have in  the region rather broad distribution. They occupy 7,1 % of its covered with woods area. These communities are  met in the form of  small  areas practically within the whole 30-km zone. Mainly they  are tied  to its south-eastern sector. In  the center part  of the territory, closely to the platform  of construction and within  the radius  of 5 km  around it, such communities  are not revealed.

Protected types of  plants. Totally in the  region there are discovered 17 protected sorts  of plants (See Figure 146) the most representation ecotopes for growing these plants are valleys of the rivers, hollows of  lakes and large areas of  forest arrays. Their list comprise    the  following  sorts.

1 Huperzia selago (L.) Bernh. – Плаун-баранец. IV category  of protection (NT). It is revealed in sourly fir-grove with birch, pine forest with spruce and alder near the  streams.

2 Berula erecta (Huds.) Cov. – Берула прямая. III category of protection (VU). It is revealed within coasts of  small streams,  within the river  low forest.

3 Сarex rhizina Blytt ex Lindbl. – Осока корневищная. IV category  of protection (NT). It is revealled on  the  grown slope of ravines.

4 Pulsatilla pratensis – Прострел луговой. IV category  of protection (NT). Is revealled in mossy pine forest.

5 Ajuga pyramidalis L. – Живучка пирамидальная. IV category of  protection (NT). It is revealled among mossy vegetation.

6 Lilium martagon L. – Лилия кудреватая. IV category of protection (NT). It is revealled in  the  wood on  ravines  declivity.

7 Listera ovata (L.) R. Br. – Тайник овальный. IV category  of protection (NT). It is revealled in pine forest with spruce and alder near  streams.

8 Malaxis monophyllos (L.) Sw. – Мякотница однолистная. II category of  protection (EN). It is revealled birch forest with alder.

Figure 146  – Protected sorts of  plants animals  within 30-km

zone  around location  of the AES

9 Liparis loeselii (L.) Rich. – Лосняк Лезеля. II category of protection (EN). It is revealled in birch- alder and birch-sedge forests.

10  Saxifraga hirculus L. – Камнеломка болотная. I category  of protection (CR).

It is revealled in birch-sedge forests.

11 Trollius europaeus L. – Купальница европейская. IV category of  protection (NT). It is revealled in birch nemoral-grass forest.

12  Ветреница лесная – Anemone sylvestris. L. IV category of protection (NT). It is revealled in pine mossy forest.

13  Gymnadenia conopsea (L.) R.Br. – Кокушник комарниковый. III category of protection (VU). It is revealled on mezophylic cereal-grassy meadow.

14 Coeloglossum viride (L.) C.Hartm. – Пололепестник зеленый. III category  of protection (VU). It is revealled on moistened cereal-grassy meadow.

15 Orchis morio L. – Ятрышник дремлик. II category of  protection (EN). It is revealled on mezophylic cereal-grassy meadow.

16  Baeothryon alpinum (L.) Egor. – Пухонос альпийский. III category of  protection (VU). It is revealled in birch-pine sedge forest.

17 Eriophorum gracile Koch – Пушица стройная.  III category of  protection (VU).  It is revealled in in birch-pine sedge forest.

Practically all discovered populations  of protected sorts of plants are found at  considerable distance from of the area  of the AES construction and  the planned operation may  not render to  them  any direct influence. The exception constitutes one type - Trollius europaeus L. – Купальница европейская.  which is growing in 2 km from  the area.

Protected sorts of animals

Within 30-km zone  of  the NPP location there is registered dwelling of 25 protected sorts  of birds, 2 mammals, 2 amphibious, 7 insects, 1 water invertebrates and 8 sorts  of fish  ( See Figure 146).

Protected types of  invertebrates. There are  discovered 7 sorts. 4 of them are revealed in woods, mainly,  in pine marshy fore.  This is violet ground beetle, (Carabus violaceus L.), sgagreen ground beetle (Carabus coriaceus L.), springdung-beetle,  (Geotrupes vernalis (L.)), lattice ground beetle (Carabus cancellatus Ill.). Per one type there are found correspondingly in moistured mixed wood -  (Pericallia matronula (L.)), on  pasture - (Emus hirtus L.), on marshy territory -  (Colias palaeno (L.)).

Protected types of fish. All 7 protected  sorts of fish, and also 1 type of fish similar species - a river lamprey dwelling in  the river of  Viliya and its inflows. The spawning  places of  atlantic  salmon are discovered in the rivers of Viliya, Senkanka, Dudka, probable their presense is also in  the rivers of  Oshmyanka, Gozovka, Stracha. The spawning  places  of kumzha are  noted in the riverss Senkanka, Gozovka, Dudka, their  greatest number is registered in  the river of Tartak.

The total quantity of producers for  communicating salmon fish,  entering for  spawning into the  indicated water streams of  the  Viliya pool is small. It constitutes about 250-300 exemplares.  Besides  this in  small amount these fish  enter into 12 small streams more.

Dwelling of  stream trout  is noted in 18 rivers – inflows of the  river  Viliya. The given type is the most multiple amongst  the protected sorts of fish. Distribution of  trouts within separate  areas of the  rivers changes from 20-30 ( the rivers of Tartak, Sorochanka, Ratagol and others) up to 100-150 ekz./km (the rivers of Pelyaka, Senkanka). As a whole the  condition  for its population in  the pool of the river  Viliya may be characterized as favourable.

The common barbell is met in the rivers of Viliya, Stracha, Oshmyanka. Its amount is  small and in average  within the  area of water  in the river of  Viliya,  constitutes 5-10 ekz./hectare.

European  umber dwells in the rivers of Viliya, Stracha, Oshmyanka and Losha. The given type is small, but in the main places of  dwelling its density approaches to 70 ekz./ hectare

Rybec common (syrty) is discovered in the rivers of Viliya, Stracha and Oshmyanka.  The number  of rybec common  is small and in average along the riverbed of the river Viliya constitutes 10-15 ekz./ hectare.

Podust common dwells in the river of Viliya. Is the type having the  most small population. Its number along the riverbed of the river Viliya does not exceed 5 ekz/ hectare.

Protected types of  amphibious. There are  discovered 3 local local  representatives of rushy toad (Bufo calamita) and 8 local  representatives of  triton pectinate (Triturus cristatus). All of them are dwelling  at a distance over 5 km from of the area  for  the AES construction.

Protected types of  birds. There were  revealed 25 sorts of birds, registered in the  Red book of the Republic of  Belarus (2004.). Nearly half of them (10 of sorts) dwell on water basins or near such reservoirs, 9  sorts of them  inhabit  woods, 3 types -  dwell in  marshes, 3 types – within the open space.

Protected types of mammals.  There is discovered  dwelling two of sorts of mammals  -  badger and lynx. In  the northern part   of the region  there is noted also communicating persons  of  brown bear.

The main area for  dwelling of  protected  sorts of  invertebrate, amphibious, birds and  mammals concentrates at a distance not more than 10 km from of the area and  is tied mainly to large lakes and  forest massives filled  with water reservoirs. So  the construction itself will not render  any influence to them.

At sufficiently large  distance from  the area  there is found the majority of the rivers – inflow of the river Viliyai, into which enter  for spawning  the protected sorts of fish. The exception constitutes  the river of  Gozovka, which right inflow is located at a distance not more than 1 km from  the area.

18.3 Organizing structure  of ecological monitoring

Within the framework of  the united system for  ecological monitoringа  it is necessary to distinguish monitoring over the  polluting materials, the main task  of which is  observation, estimation and forecast for the  levels of  pollution (radiation and chemical monitoring), and monitoring  of  the biota response  (biological monitoring), into which task  enters  clarification  of response reactions  from the components of  overland and water ecosystems to the  external influence.

In sanitary-protective zone and  the zone  for observation  over the projected byelorussian NPP there  must be  organized points of  constant observation over the contents of  radio nuclides and chemical materials in the  natural ambience (the air, waters, ground), component being overland (including agrarian and forest) and water ecosystems, and also  there  must be measured  the power  of exposed  doses and  the absorbed dose in the air.

Observations  over contents of  radio nuclides and chemical materials must executed at specially equipped  posts for  observation. The simultaneous measurement  of meteorological parameters (direction and velocity  of the wind, temperature of the  air, moisture, atmospheric pressure) is executed at the  post ofcontrol, located in СЗЗ of the  station. At  selection of the places  for location  of observation posts there must be taken into account  the necessity to receive the representation  information about the  levels of  pollution  in the atmospheric air within the  zone  of greatly possible influence on  the population and  the surrounding environment: on  the industrial platform, in the  populated settlements and places for  production of agricultural products, ООПТ and etc. The obtained results of measurements must be sent into the centre for collection and analysis of  information. It is reasonable to execute  observations over pollution of the overland ecosystems in  the points of  constant observation over condition in the  atmospheric air.

It is reasonable to execute  biological monitoring  over the overland ecosystems,  the aim of which  will be estimation  of  the influence  rendered by surges within the byelorussian on NPP critical components, within  the radius  of 3 km and  at control point, located outside the  influence of  surges from the  byelorussian NPP.

The volume  of monitoring  over water ecosystems may  be motivated after 3 years of  observations over the chemical composition, temperature and volume of  fluid sewages from the  byelorussian NPP with  the aim  of final development according to restrictictes observations and  the list  of  the values being under definitions.

It is necessary to organize  reception of the  representative meteorological information for identification from the source of probable pollution for  near ground atmosphere  with radio nuclides and estimation of  dissipation from  gas-aerosole surges rendered by the byelorussian NPP, located near radiation objects, and  the influences  from  the cooling towers.

18.3.1 Requirements to  the surge data  from ecological monitoring

The types of  objects  in the surrounding environment, volume, place, periodicity for  selection of the test samples, nomenclature  of controlled parameters are defined  with the aim:

-  to minimize  the probability not to find changing in natural ambiences and components of  ecosystems, at the moment  of their appearance;

- arrangement, technical and methodical facilities will be  sufficient for identification  in natural objects of  low (background) concentration  for radio nuclides and chemical materials;

- to execute quantitative estimation  of contribution  from  surges/tapping of the  byelorussian NPP into changing parameters of the  ecological situation within  the region  of its location.

18.3.2 Radiation monitoring

Radiation monitoring must provide reception of information, being necessary for:

-  identification and ranking  the sources  of techniogenic radio nuclides in  the natural ambience (waters, air, ground) and components  of ecosystems (overland, water, agrarian);

- estimation  of contribution, rendered by  gas-aerolosole surges  from the byelorussian NPP to the  dose loads on  the population;

-  identification of the most influence zones from  the surges and tapping  sewages of the  byelorussian NPP on the  surrounding environment and radio nuclides, contributing  the main contribution into the  doses of  irradiation  over the population;

- revealing the reguliarities in long-term dynamics of pollution  for natural ambiences and ecosystems under  exploitation  of the byelorussian NPP;

- estimation of doses for  external and  internal irradiation  over the population, uncertainties  of estimation for  dose loads and radiation risk.

Collection of information about contamination of  natural environment  with radio nuclides must be executed within  the process of current monitoring of the  atmosphere, hydrosphere, overland components, including  the agrarian, forest and water ecosystems.

The data  about the surge/tapping of radio nuclides and chemical materials are given  by the enterprises on  application.

In accordance with  the Program in the obligatory order there  must  be executed analysis of pollution  over the natural ambiences (air, water, soil) and biotas  of  gamma-irradiating radio nuclides (technogenic and natural). The gamma spectre measuring analysis is the most informative method and enables to define concentration  of suppressing majority of  radio nuclides as  of natural, so  of technogenic origin within broad energy range (50-2000 keV) with inaccuracy not over 15-20 %.

For lowering uncertainties under estimation of  the dose loads within  the program  for monitoring there  is provided regular (once per 4-5 years) reception of information about specific/volume activity  of tritum, strontium-90, plutonium isotope, as well as natural radio nuclides  from uranium-torium row in components of  natural environment.

It is necessary  that the results of monitoring will be  complemented  by the value of diffusing the  surges of carbon-14 and tritium and of dose loads according to the models, verified  by the  regional data. Keeping, analysis,  showing of  the information must executed by means of  the bank data and  the package of  applied programs.

The organizing, technical and methodical facilities must be sufficient for identification in natural objects of  low (background) concentration  of radio nuclidesat   the level  of global fallouts.

The objects of  radiation monitoring are:

- natural environment (the air - aerosole and gas components, atmospheric precipitations, surface and undergraund water, drinking waters, ground);

- components  of overland ecosystems, including agrarian and forest ecological systems (long-living herbs, pine-needles, moss, mushrooms, berrys, timber bedding, milk, grains and other agricultural products  of the local production);

- components  of water ecosystems  within rivers and lakes ЗН (the plankton, wate plants, bottom sediments, fish, suspension);

- absorbed dose, power of  esposed doses.

The list of controlled in natural ambience radio nuclides is determined by  nomenclature of radio nuclides, thrown out by the  local radiation objects under their standard r exploitation (carbon-14, tritium, inert radioactive gases, cesium-134,137, cobalt-60, manganese -54, iodine-131, strontium-89,90, torium-232, uranium -238, radium-226, polonium -210), list of radio nuclides, forming the technogenic (the tritium, cesium-134,137, strontium-90, plutonium-239,240, torium-232, uranium -238, radium -226) and natural (torium-232, uranium -238, radium -226, potassium-40, radon-226) radiation background, and probable of dose loads on  the population under hypothetical emergencies (iodine-131, gamma-spectrum).

18.3.3 Сhemical minitoring

The aims for  chemical minitoring in region of the byelorussian NPP location are:

- determination  of levels and dynamics of pollution  with chemical materials of the  air, water, overland components and water ecosystems;

- determination of  contribution from surges/tapping of  the byelorussian NPP into pollution  over the natural environment  with chemical materials.

The sources  of pollution  over the surrounding environment in  the region of the byelorussian NPP location  with chemical materials may to be  store houses of radiation waste, boilers,  and other industrial enterprises,  the place for storage domestic  waste, automobile transport, surface washing down of fertilizers fron the  agricultural  filelds, located near water collection pools  or water objects.

The objects of  chemical minitoring are: over ground air, surface and undergraund water, vegetation and animal world, and also the  products of  feeding  from the local production.

Into  list of  chemical materials, subjected tocontrol, there are included:

- oil products and heavy metals (Fe, Al, Su, Mn, Zn, Pb, Co, Mo, Cd, Ni, Cr, Sr, V, Hg);

-  polycyclic aromatic hydrocarbons and heterocyclic compounds;

- polychlorated dioxins  and  biphenyls;

- inorganic polluting materials (sulphur, nitrogen oxides);

- suкафсу-active materials;

-  nitrogen and phosphorus;

-  chlorides, sulphates, contents of  salts in the ground.

As a whole, the list of  controlled chemical materials is determined on the grounds of the  data  from enterprises about tapping of  sewage / surges into the  surrounding environment.

Chemical minitoring  over the surface waters provides the reception of the  information about   the hydrochemical mode and  the quality of natural waters: рН, chlorides, sulphates, contents of salts, susperded materials, the forms of  nitrogen and phosphorus, oxygen, carbon, biological and chemical consumption  of oxygen. Taking out  of the test samples for  contents  of the specified polluting materials in  the objects of  water environment is executed in  the tapping  channels  of the enterprise, rivers of the  water collection pool. The points of taking out the test samples from the air and overland environment are determined in the points of constant observation in accordance with  the character  of the wind rose and  the landscape.

For observation over the  background condition  in the  water basin there  is chosen the  station, where  there are  excluded evident influences upon the quality  of water  from such  tapping of enterprisees or agricultural complexes, inflow of sources, operation  on deepening of the riverbed, etc. The points of taking out the test samples and periodicity of taking out the samples from the  atmospheric component and overland environment  are the same, as in  the system of the  radiation minitoring, in particular, for analysis of  heavy metals contents  is distinguished out  the quantity of  general sample.

Analysis  of the test  samples  from the objects  of natural environment is executed in stationary analytical laboratory  by commonly adopted  methods.

Analytical equipment must provide  the required sensitivity for determination  of chemical materials concentrationat at  the level  of natural contents in  the natural objects.

It is reasonable  to check delivery  of chemical materials with drainage waters from the  enterpriser by means of posts for observation, equipped with automatic systems for  checking  the sewage waters.

Besides the stationary base analytical laboratory and the  observation posts, to provide  operative  control  it is necessary to have portable, and also mobile laboratories for chemical control over the quality  of water and pollution  of the atmosphere.

18.3.4 Biological minitoring

Biological minitoring must be oriented to obserbation over conditions in  biological systems  being  organized  at  different levels: populations of  separate sorts-indicators, bioscenoses  (according to dynamics of structural and functional values).

The purpose  of the biological minitoring - estimation and forecast for changing the  state  of overland and water ecosystems. Basing  on the data  about radiation and chemical minitoring, biological minitoring enables to evaluate  reaction of the biota on the anthropogenic loads.

The base  for minitoring over overland ecosystems are complex field investigations  of their state, including determination of the current and  being in dynamics levels of  agroscenosis state, topsoil, vegetation (the phytoscenosis),  of the animal  world, determination and analysis  of contents for  radio nuclides, heavy metals and other possible polluting materials in components of  overland ecosystems.

At the  chosen constant test areas and  control  areaх within three years  there are executed investigations with the aim of  final development according to the observation restrictions and  the list  of definied values.

Within the first 3 years in  the settlements monitoring over hydrochenical parameters must be organized and executed  in the form of observations over hydrobiological factors of the  state in  water objects. Besides, observations must be organized over the  parameters of the  state  in the bottom sediments.  Location of the points for  observations must be chosen with  taking into account morphological particularities, influence of  sewage waters fron the  byelorussian NPP, as well as  the data about  the system  of water usage, and other accompanying volumes of  economic activity.

Into composition  of hydrobiological studies enters:  the study of quantitative characteristics  for hydrobioscenoses (the phyto-, zoo- and bacillary plankton, bentos, peritophon, macrophytes, ichthiofauna); the study migration characteristics of hydrobionts;  determination of  sanitary-hygienic state in the  water object.

For estimation of the  current chemical composition in the  bottom sediments and its change  there are  taken out test  samples in layers from the bottom sediments. In the selected test samples  there are defined technogenic and natural radio nuclides, heavy metals.  Selection of the tested   suspensions and bottom sediments is executed once in 4 - 5 years.

For specifications  of mechanical composition in  the surrface layer and according to the profile of bottom sediments  there are defined hranulometric specifications, volume mass, natural moisture, density and power of individula layers of the bottom sediments. For estimation  of velocities for the  processes  of sedimentation and accumulation of  sediments in water there is  defined concentration of suspensions under various hydrometeorological conditions, their distribution  according to water profile and within the  area of water,  internal perennial and internal seasonal changeability.

Final development of  restrictions over observations and the list  of definied values for the  state  of natural ambiences, components of  overland and water ecosystems is executed on the  results of  observations in  the first three yeas after the station commissioning.

Except the aboveenumerated works for undertaking ecological minitoring in  overland and water ecosystems in  the region of the byelorussian NPP location there are executed observations over the  level and dynamics of radio nuclides and chemical materials in  the underground waters.

19 SUMMARIES  of non- technical  CHARACTER

With the aim  of the state energy policy  there is greatly efficient  to use natural fuel-energy resources (ТЭР) for providing the economic growth and raising the  life quality  for the  population  of the country. Optimizing  the expenditure  part  of the fuel-energy balance provides overcoming the trends of  natural gas dominating  at the  internal energy market with diminishing its share from 79,7 % in 2008 up to the  level about 50-60 % by 2020 year. This  will considerably raise the  level  of energy safety  for the country, particularly under conditions growing  the prices for organic fuel. By 2020 yearу in  the republic  there  will appear the  first generating powers  based on alternative source forms, including NPP (2,240 MW), on  carbon (about 1000 MW), GES (290 MW), TES on local sorts  of fuel (up to 265 MW).

The main direction  for development  of the  thermal energy complex (ТЭК) branches in the  country are determined  by the Concept for  energy safety  of the Republic of  Belarus, confirmed by Edict of the President of the Republic of  Belarus dated September 17, 2007 No  433, Directive of the President of the Republic of  Belarus No  3 "Economy and thrift – the main factors for  economic safety  of the state”.

Within the framework for realization  of these strategic documents in the  country  there is accepted and realized  a package of the state programs. The main of them "State complex program for modernization  of the main production funds for the  Byelorussian energy system, energy  economy and increasing the share of  using in the republic  of the own fuel-energy resources within the  period by 2011". (The similar program  for the  period 2011-2015 years is  under development).

Realization of  the  programme documents will enable in the nearest time to put into  commission 1146,6 MW of highly effective generating powers (within the period  of 2006 – first  half of  2009 there were put in to commission 420 MW),  to spare by 2011 in total within the country over 7,55 million thermal units including on the  system  of ГПО "Belenergo" 1,15 million  thermal units (for the  period  of 2006-I-st hlfa of 2009 there was  spared about 5,5 million. thermal units within the country, and on the  system  of ГПО "Belenergo" -1,05 million thermal units).

The volume consumption  of local and renewed  sorts  of fuel by 2011 yearу will be brought to the  level  of 6,48 million thermal units.

By 2011 year energy  consumption of  the ВВП is planned  to reduce by  31%  related  to relastion  level  of  2005, in 2015  year - by 50 %,  and  in 2020 year by  60 %.

Belarus does not possess perspective hydro resources for creation large HES (ГЭС). Other real alternative sources  of energy having the necessary power, except  the TES (basing on gas) for the  given region does not exist. Coming from economic and ecological considerations  the NPP in  the given event is  more preferable.

The platform for construction  of the byelorussian NPP is located in  the agricultural zone in  north-west of the Republic of  Belarus.

The hunting  fields of the  territories with valuable and rare types of  vegetation and animal world after submerging  of the territory  will not  suffer .

Influence upon  the hydrological mode of the  terrain is restricted by local redistribution  of the streams with near ground waters,  which mode is determined basically  by the atmospheric precipitations. The hydrological  mode  of  the located in region  rivers and lakes will not suffer any changes. Using circulating system for technical water supply with evaporation  cooling towers minimizes extraction of water from the river Viliya (feeding) and practically excludes chemical and heat influence on the  region. Influence of the  moisture surge from  the cooling towers is  minimum and does not present  dangers for the  population and ecosystems of the region  for  the NPP location.

The NPP is designed in such manner that the  radiation influence on  the population and  the surrounding environment in standard long lasting exploitation, supposed explotation breaches and  the projected emergencies does  not lead to exceeding of the  installed doses  for irradiation over the population and is limited under  the undesigned emergencies. Radiationе influence on  the population and  the surrounding environment is supported  by considerably lower than the installed normative limits and at sensibly attainable low level.

Under standard operationof  the energy blocks the  main source  of radio nuclides delivery into  the  surrounding environment is gaseous–aerosol surge through high-altitude vent pipe. Besides the gases and aerosols, in  the process of  the energy blocks exploitation  there are created and accumulated fluid and hard (ЖРО and ТРО correspondingly) radioactive waste (РАО).  The ЖРО are processed and converted  into  ТРО. All РАО  is kept within the AES rerritory.

Throwing out harmful non-radiactive materials   into the  surrounding environment  is excluded technical means. The rectified sewage waters are  used in  the  operation cycle of the  station. Non-radiactive waste  are subjected  to  transportation on  the  range for industrial  remainders.

Electromagnetic irradiation, noise and harmful surges from  the NPP buildings are found  as being  within the permitted limits  and do not influence upon  the surrounding natural environment and  the population  dwelling outside the borders of the object  area.

The influence on  the soil, air and water ambiences, vegetation, animal world of the region in the  period of   the NPP construction  is unconsiderable.

For  execution of control over  condition  of the surrounding natural environment, including  the  radiation situation,  there is provided creation of local monitoring networks fully matching with  the national system  of minitoring over the  surrounding environment in  the Republic  of Belarus.

In accordance with  the law "About using atomic energy" and  the normative requirements to accommodation of  atomic stations in  the region  of location  for  the byelorussian NPP will be  installed  the  СЗЗ and the zone  of observation.

In  the zone  of observation there is  provided constant minitoring  over the  parameters for  radiation situation and  the population health.

For non-stop control and forecast  of the  radiation situation on  the territory  of the byelorussian NPP and in the  zone  of observation there  is provided:

- creation  of automated system  for radiation minitoring and putting into commission the  automatic system  for checking radiation situation (АСКРО);

- control of all radiation parameters for the  surrounding environment, including  the radiation background, near ground layer of the air, of atmospheric precipitations, water environment, soil, vegetation;

- execution  of monitoring over the  population health;

- control  over  agricultural products produced and comsumed  by the population

The   provided project decisions in the field of execution nuclear and radiation safety provide the  level  of safety, corresponding to  the existing requirements  of the law and  standards.

With technical decisions there  is reached minimal consumption of  water for  the necessities of the NPP . The quantity of waste is  minimimal.

The quality specifications and some available quantity specifications forecast for the  condition  in the surrounding natural environment and conditions  for dwelling of the  population enable to value  the belorussian NPP, as ecologicalle safe.

In the  process  of development and motivation for  investments into the NPP construction, estimation  of its influence on  the surrounding environment will  be shown to the  public and  subjected to  the state ecological expertize in accordance with normative requirements and  the acting  legislation.

It is necessary to note also big social-economic value  of the byelorussian NPP construction  for the north-west region  of Belarus and, certainly, for Grodno area and Ostrovets region, and also   positive attitude of inhabitants  to location NPP in this  region.

20 LIST OF REFERENCE NORMATIVE DOCUMENTS And LITERATURE

1 Electroenergetics abroad. Volumes XIX - XX www.polpred.com

2 BELTA,18.10.2008.

3  www.regnum.ru/news/1223143.html 16:43 09.11.2009.

4 12.12.2208// information-analytical centre at Kursk NPP /Press-service JSC "Concern Energoatom”.

5 27.11.2008// Centre for public information  at Balakovskaya NPP

6 Bylkin B.K., Egorov Yu.A., Emeliyanov A.G. and others "System  for provision  of ecological safety  of atomic power stations " Problems of  radioecology and bordering disciplines.  Collection of the scientific works.  Issue 12.  Ekaterinburg, 2009

7 Bylkin B.K., Egorov Yu.A., Emeliyanov A.G. and others "Ecological safety  of the NPP.  As this shall be  understood." Problems radioecology and bordering disciplines.  Collection of the scientific works.  Issue 12.  Ekaterinburg, 2009

8 A.V.Nosov “Questions of  motivation  for ecological safety of investment-construction projects for the  NPP”, seminar 20.05.2009 JSC "Atomenergoproject", Moskva.

9 Instructions about  the order  for estimation  of the influence rendered to the  the surrounding environment  from planned economic and other activity in the  Republic  of Belarus.  Approved  by  the Resolution  of Ministry  for natural resources and protection  over the the surrounding environment of the  Republics of  Belarus. Dated  June, 17. 2005   No 30.

10 ТКП 099-2007 (02120/02300). Accommodation of  atomic stations. Guidance for   development and contents for  motivation  of ecological safety at  atomic stations.  Approved  by  the Resolution  of Ministry  for natural resources and protection  over the the surrounding environment of the  Republics of  Belarus. Dated   October, 10. 2007 No   6-t/88.

11 Convention about estimation of  influence on  the the surrounding environment in  the transborder context, UNO, New York and Geneva, 1994.

12 Khmelinitskaya AES, energy block 2. Estimation of the  influence on the the surrounding environment, КИЭП "Energoproject", 43-915.201.012.ОВ13.

13 Reports on estimation of the  influences upon  the the surrounding environment. New atomic power station in Lithuania in August,21.2008, NNPP_EIAR_D2_Combined_Ru_200808_FINAL

14 Nizhegorodskaya NPP. Energy blocks No  1 and 2. The preliminary variant of   materials on estimation   the influence on the surrounding environment. ПКФ "Concern Energoatom", 2009.

15 NPP -2006 Motivation of  investments into construction  of the Leningrad NPP -2. Volume 5. Estimation of  influence on the surrounding environment.  ФГУП «СПбАЭП».

16 NPP -2006 Motivation of  investments into construction  of the Baltic NPP. Volume 5. Estimation of  influence on the surrounding environment.  ФГУП «СПбАЭП».

17 About using atomic energy. The Law of the Republic  of Belarus  dated July, 30. 2008 , No   426-Z.

18 About radiation safety for the  population. The Law of the Republic  of Belarus  dated January, 5. 1998  No   122-Z.

19 Standards for  radiation safety (НРБ-2000),  approved by  the Resolution  of the Chief state sanitary physician of the Republic  of Belarus dated January, 22.2002, No  5.

20 Main sanitary rules for  provision  of the radiation safety (ОСП-2002),  approved by the Resolution  of the Chief state sanitary physician of the Republic  of Belarus dated January, 22.2002, No  6.

21 Motivations  for investments into construction of the atomic power station in the Republic of  Belarus.  Book 1. Development of initial data. РУП "Belnipienergoprom", 2009.

22 Conduct the study over natural-geographical conditions  within the competitive  area, located in the point ,chosen at previous  stage  of studies  (the optimum point) and  to submit the  conclusion with  the total estimation  of  the competitive  area according to the sum of  all values. ГНУ «ОИЭЯИ-Sosny» NAN Belarus,  No 558, 2008.

23 Give the description  of ecological conditions  over  the competitive and to submir conclusiosы with total estimation of competitive area according to all ecological values. ГНУ «ОИЭЯИ-Sosny» NAN Belarus,   Report No 558, 2008.

24 Summary volume "Complex  of exploratory and prospecting  works at selecftion  of the area for location  of the atomic station in the  Republic of  Belarus". Total explanatory  note. РУП "Belnipienergoprom",

25 Scenario for  energy policy up to 2050 year:  the european region.  Analytical review  of  the summary report over  the  study from МИРЭС (October, 2007). Energy facilities abroad. 2008, No  2.

26 International energy agency has updated the  forecast for the  world consumption  of energy raw materilas. Dated March, 6. 2008, 23:40 News for the  branches Internet.

27 Protocol of the State commission from 20.12.2008 No  3.

28 Yan Gor-Lessi, director  of Uranium information center, Australia. The nuclear electricity. Rostovskiy information-analytical centre РоAES.

29 "Nucleus energy – stable technology". Bulletin  of European atomic forum,  No 62.

30 Risks  of influence  from atmospheric surges at  power stations on  the population health ". Thernal energetics. No 1. Moscow. 2009.

31 Yakovlev R.M. "About reactors of  new generation". PROATOM. 2005

32 Koshelev F.P. Nucleus source of energy in Tomsk: ecology, economy, safety. Tomsk, June, 7-8. 2007, ТПУ, 2007, page 32//Physico-technical problems of energy: Collection  of  report thesis at IУ International scientifically-practical  conference.

33 Krylov D.A., Krylov E.D., Putintseva V.P. "Estimation of surges into the  atmosphere SO2, NO2, hard particles and heavy metals under operation of  the TES, using kuznetsky and kansko-achinsky coal", Bulletin . on atomic energy.2005.  No4. Pages 32-36.

34 Sanitary rules  for project making and for exploitation of atomic stations СПАС-03, Ministry of health of the  RF, 2003.

35 F.Ran, A.Adamentiades, J. Kenton, Ch.Brawn. Guide  for to nuclear power technologies. Under edition of  V.A.Legasov M.Energoizdat, 1989

36 Anthony Froggatt. Nucleus energy: myth and reality. No 2,   December, 2. 2005  The russian version.

37 Main regulations for NPP -2006. ZAO "Atomstroyeksport", Moscow, January, 2009.

38 Project of  the  NPP -2006. Leningrad AES-2. JSC «СПбAES», 2009.

39  ФГУП ОКБ Hydropress. Dated 03.07.2007.

40 Safety of  atomic stations: projecting. Requirements No  NS-R-1 MAGATE,  Vienna, 2003.

41 Voronin L.M, Zasorin R.E, Kayoli A., Schapyu K., and others. Safety  of atomic stations EDF-FPN-DSN-Paris-September, 1994.

42 General provisions for  provision  of safety  at atomic stations ОПБ-88/97. Gosatomnadzor  of Russia. 14.11.1997  No 9.

43 Requirements  of european energy companies  laid to  the AES with light  water reactors.  Valume 2, Chapter1. Requirements  for safety. Version C. Edition 10, dated  April, 2001.

44  Conditions отведения technical sewageов byelorussian NPP. ОАО «СПбАЭП», 2009.

44 Conditions  for tapping of technical sewages at the  byelorussian NPP. «СПбАЭП», 2009.

45 Perennial report about activity of the Federal service  for  ecological, technological and atomic control in 2005 year.

46 НП -019-2000 Collection, treatment, keeping in storage and air-conditioning  of fluid radiation  waste. Requirements  of safety. Gosatomnadzor  of the RF, 2000.

47 НП -020-2000 Collection, treatment, keeping in storage and air-conditioning  of hard radiation waste. Requirements  of safety. Gosatomnadzor of the RF, 2000.

48 НП-021-2000 Handling of  gaseous nuclear waste. Requirements  for safety. Gosatomnadzor, 2000.

49 Rules  of safety at keeping in storage  and transportation of  nucleus fuel to the objects using atomic energy НП-061-05

50 Series of the publishings on safety,  No 115, MAGATE, Vienna, 1997.).

51 Development of extended framework for emergency response criteria" (IAEA-TECDOC-1432, Vienna, Austria, 2005)

52 Generic procedures for medical response during a nuclear or radiological emergency" EPR-MEDICAL, IAEA, Vienna, Austria, 2005.

53 Withdrawal of installations from  exploitation  in nucleus fuel cycle. Guidance   No WS-G-2.4, , IAEA, Vienna, Austria, 2005.

54 НП-007-98 Rules for  provision  of safety under withdrawal from  exploitation of  industrial reactors. Gosatomnadzor of the  RF, 1998.

55 General regulations for provision of  safety at shooting from exploitation  of the atomic power station and exploratory nucleus reactors (НД306.2.02/1.004-98),  approved by  the Order  of the Ministry for ecological safety, dated 09.01.98 No  2 and Registered by  Ministry of justice of the Ukraine 23.01.98 under   47/2487.

56 "General regulations for provision  of safety at  atomic stations" (ОПБ-88/97).

57 Atomic energy is  reliable and safe  in comparison with other sources: expert. Constant address of the news: www.regnum.ru/news/1224826.html 15:14 13.11.2009.

58 Expert: Construction  of the AES influences on lifes of the local inhabitants into better direction. Constant address of the news: www.regnum.ru/news/1220176.html 12:49 30.10.2009.

59 Doses  of irradiation in connection with  surges from atomic stations by  10 000 times lower, than irradiation from  the natural background: Rafael Arutyunyan. Constant address of the news: www.regnum.ru/news/1210953.html 19:40 01.10.2009. Version for issuing.

60 Provision of  localizing functions of the  protective shells НВ AES – 2 (NPP -2006)) under ЗПА with  drains from reactor installation B-392 M". D.I.Kozlov, S.A.Konstantinov, M.B.Malitsev, V.G.Peresadko. ФГУП "Atomenergoprojectt", Moscow, V.B.Proklov, S.S.Pylev. ИПБ ЯЭ РНЦ "Kurchatovskiy institute" Moscow.

61 Ecology  at the AES. How  foresee all  the rest?  JSC ТВЭЛ. Representation in Ukraine. // www.tvel.com.ua/ru/materials/ecology/1330.

62 Execution  of the exploratory and prospecting works complexа with  the aim to make  choice of the area for the  place of  atomic power station location and preparation there are necessary materials submitted to  the act of the choice for the place  of location corresponding to  the ground  area.

Ostroveckiy point, Ostroveckaya platform - 1. (Geophysical materials to the summary volume "Explanatory notes for the  stage of  choosing  the area  for construction  of the NPP”).

УДК State registration.  No  01-08-214/1. РУП "Belgeologiya”.

63 Information report on the task: "To execute complex geophysical shooting with  characteristic of  resources for the  underground waters and forecast for migration of  radio nuclides with underground waters from the  territory  of Ostrovetsky point  at possible location of the NPP  " Stage 16.15. Composition of  schematic maps -geomorphologic, quarterly, before-quarterly sedimentation within  the scale 1:100 000, building  of geologic-geophysicalcross-sections. РУП "Belgeologiya”.

64 Intermediate report on the task: "To execute complex geophysical shooting with  characteristic of  resources for the  underground waters and forecast for migration of  radio nuclides with underground waters from the  territory  of Ostrovetsky point  at possible location of the NPP " Stage 16.6 To execute field operation by the methods  of  gravitation reconnaissance, magnetic reconnaissance, at the scale 1:5 000 - 1:10 000, radon measuring of electric reconnaissance, in the near radius along the  lines of  the expected profiles ЗМПП  within the  area. РУП "Belgeologiya”.

65 Summary report about complex engineering-geological and hydrogeological shooting  at the scale 1:50 000-1:5 000  of  the Ostrovetsky platform for  possible location  of the NPP.  Stage 5. Object   333/08-02, inventory No.   53470. РУП "Geoservis”.

66 ТКП 098-2007.

67 Report about results after execution of the works "Complex seismo-tectonic studies at Ostrovetsky point and platform for possible location  of the AES".  Stage 19,3 "Composition of generalised seismo-tectonic model of the region  for location point and  the area  for possible construction  of the NPP 1:100 000 -1:50 000". НАН Б Institute  for the nature exploitation,  Centre of  geophysical minitoring.

68 Arapis G., Petrayev E., Shagalova E., Zhukova O., Sokolik G. & Ivanova T. Effective migration velocity of 137Cs and 90Sr as a function of the soil types in Belarus.// J.Environ.Radioactivity. - 1997. - Volume 34. - N 2. - P. 171-185.

69 Petryaev E.P., Sokolik G.A., Ivanova T.G., Morozova T.K., Surmach N.G. Dynamics  of vertical migration for  radio nuclides in Chernobyl soils // Geochimiya. - 1993. -  No 11. - Page 1649-1656.

70 Petryaev E.P., Sokolik G.A., Ivanova T.G., Ovsyannikova S.V., Kilchitskaya S.L., Leynova S.L. Forms of occurrence and migration of Chernobyl radionuclides into the  Byelorassian soils. // SPETRUM'94, Proceeding of nuclear and hardous waste. Management of International Topical Meeting. Atlanta. - Georgia, USA, 1994. - Page 182-187.

71 Ovsiannikova S.V., Sokolik G.A., Eismont E.A., Rubinchik S.Ya.  Occurence of 137Cs and 90Sr and their mobility in peat soils of Byelorussia. // International Peat Journal. International Peat Society, 1998.  No 8. Page. 32-41.

72 Ovsyannikova S.V., Sokolik G.A., Eysmont E.A. Contents of 137Сs, 90Sr, 239,240Pu и 241Am in  the soil moisture  as criterion for radio nuclides mobility // Reports  of НАН of  Belarus. 1998. Issue 42.   No 3. - Page 103-116.

73 Ovsyannikova S.V., Sokolik G.A., Eysmont E.A., Kilichickaya S.L., Kimlenko I.V., Zhukovich N.V., Rubinchik S.Ya. The soil porous dilutions in  the process  of migration 137Сs, 90Sr, 239,240Pu и 241Am // Geochimiya. –  2000. – No 2. – Page.222–234.

74 Sokolik G., Ovsiannikiva S., Kimlenko I. Distribution and mobility of 137Cs, 90Sr,    239, 240 Pu and 241 Am in solid phase-interstity soil solution system // Radioprotection-Collogues.- 2002. – Volume . 37. - Page. 259-264.

75 Sokolik G.A., Ovsyannikova S.V., Kimlenko I.M., Rubinchik S.Ya. Sorbtion processes and migration 137Cs, 90Sr, 239,240Pu и 241Am in  the system "hard phase - dilution" in  the soils  of water collection lake ecosystems // Lake ecological systems, biological processes, antropogenic transformation, the quality  of water: Materials of the  II International scientific conference. September, 22-26. 2003, Minsk - Narochi / Under general edition of  T.M. Micheyeva. Mn.: БГУ, 2003. - Page 73-76.

76 Blakitny household belongings of  Belarus: encyclopedia. - Mn.: Byel En, 2007. - 480 page.

77 Main hydrographical specifications  of small water streams and their water collections. Belorussia and Verhneye Podneprovie. The main management of hydrometeo service at  the Council of Ministers of the  USSR. Management hydrometeo service of the  Byelorussian SSR.1975

78 Resources  of surface waters  in the USSR.Volume. 5. Belorussia and Verhneye Podneprovie. Part 1/ Under  edition of  K.A. Klyueva. - L.: Hydrometeorologicalpublishing house, 1971. - 1105 page.; Blakitny household belonings  of Belarus: encyclopedia. - Mn.: Byel En, 2007. - 480 page.

79 Water exploitation  of the  main water stock reservoir on  the  river Viliya in 5 km above  the town of Vileyka.// Ukrwatersokanalproject  No 1532-ТГ-пз/1.

80 To develop and approve the system  for estimation  the ecological state  of rivers with using  mastering  values: report about НИР (Conclusion) / Center research institute  for complex use of water resources; the chief A.P. Stankevich. - Minsk, 2008. – 180 page. -   No ГР 20063015.

81 Motivation for selection of observation  ranges on  the background of  the areas of water streams in pool of the rivers Zapadnaya Dvina, Dnepr, Pripyati, Neman, Zapadny Bug: Report about НИР / Center research institute  for complex use  of water resources; the chief. A.P. Stankevich. - Minsk, 2008. - 71 page. -   No ГР 20071579.

82 Methodical recommendations for formalized complex estimation of the quality in the  surface and sea waters according to hydrochemical factors. State committee of the USSR on hydrometeorology. - M.: 1988 .

83 Report about НИР "Execution  of ecological motivation and debelopment of projects for  water protection zones and coast bands in  the rivers Neman, Zapadnaya Berezina, Viliya and Schara within the limits Grodnenskaya area". Mn., ЦНИИКИВР, 2004.

84 Akimova O. D. Biomass of phytoplankton in the  lakes of  Narochansky group and  other lakes of  Belorussia // cientific reports  of the  БГУ. -Issue 17. – Series of  biological sciences - Mn.,1954.- pages. 109-115.

85  Blakitny household belongings of  Belarus: encyclopedia. - Mn.: Byel En, 2007. - 480 page.

86 Vinberg G.G. Materials to hydrochemical characteristic of the  lakes in  Narochansky group. - pages.11-19.

87 Vlasova B. P., Yakushko O. F., Gigevich G.S. and others. Lakes of  Belarus:Reference book. - Mn.: БГУ, 2004. - 284 pages.

88 Gigevich G.S., Vlasov B. P., Vynaev G.V. High waterly plants of  Belarus: ecologic-biological specification, usage and protection // Under general edition of  G. S. Gigevich. - Mn.: БГУ, 2001. - page. 29.

89 Gigevich G.S., Vlasov B.P., Vynaev G.V. High waterly vegetation  of Belarus: ecologic-biological specification, usage and protection. - Minsk, БГУ. 2001. Page 76-86.

90 Kudeliskiy A. V. Tales about water: Belorussian springs. - Mn.: Science and technology, 1981. - 119 s.

91 Moros M. D., Giginyak Yu.G., Golubev A. P., Muhin Yu. F. Fauna  of springs as constituent part of biologic variety  of water pools within the  Belorussian Poozeriya // Problems  of  landscape ecology  for  cattle and preservation of  biologic variety : Materials of republican scientific-practical conference. - Minsk. 1999.

92  To conduct the inventory record of  springs in Myadelisky, Vileysky, Volozhinsky and Logoysky regions within  Minsk area,  to reveal the most valuable in natural attitude with  the aim to make recommendations for creation  of specifically protected natural territories / Report about НИР / НИЛ  executed  for  studying lakes, БГУ. - 2004.

93 Springs  within Minsk area, protection and use / Report about НИР / Institute of  zooloy НАН of  Belarus. - No  ГР 19961986. - 1996.

94 Annotated report about complexй engineering-geological and hydro-geological  shooting at the scale 1:50 000  of Ostrovetsky point (area 25 km2) // Dorogokupets L.V., Taran V.V., Lyarskiy S.P. Minsk, УП "Geoservis", 2009.

95 СанПиН 10-124 РБ 99. Drinking waters. Hygienic requirements to water quality of sentered systems of drinking water  supply. Checking the quality. Minsk, 1999.

96 Pashkevich V.I.  Main zonal  features of chemical composition for  the  underground waters  within the zone  of active water exchange  in the  central part of  Pripyati artesian pool // Mode, balance and geochemie  of underground waters  within Pripyati Polesye. Minsk, Science and technology, 1983, page. 113-121.

97 Pashkevich V.I., Shelukhin S.V. Estimation of  natural geochemical background for  underground waters in  quarterly sediments  of Belarus // Materials of  scientific research conference "Water resources and stable  development  of economy  in Belarus", volume 2, Minsk, ЦНИИКИВР, 1996,  page 63-65.

98 Kudeliskiy A.V., Pashkevich V.I., Yasoveev M.G. Undergraund waters in  Belarus // ИГН НАН  of Belarus. Minsk, 1998. 260 page.

99 Report about complex engineering-geological and hydrogeological shooting  at the scale 1:10 000 of the Ostrovecky area.  Stage 3. Object  No  333/08-02, inventory number No 53091. РУП "Geoservis”.

100 Reference book to СНиП 2.06.15-85 "Forecast for submerging and calculation of drainage systems within  the territories being under construction and designed for  construction".- M., Stroyizdat, 1991.

101 Recommendations for selection of  geological parameters for motivation of the way for drainage of  submerging urban territories. ПНИИИС Gosstroy SSSR. - M., Stroyizdat, 1986.

102 Report about НИР "To develope regional hydrodynamic scheme  of the streams with  underground waters within the  transbordering territories in the region  of possible location for the NPP ". РУП "Belorussian research geological reconnaissance institute". Mn., 2009. - 53 page.

103 СНиП 2.06.15-85 Engineering protection from submerging.

104 Kryshev I.I., Aleksakhin R.M., Sazykina T.G. and others. Radioactivity  of regions around the  NPP. Under edition of I.I. Krysheva. M.: ИАЭ I.V. Kurchatov, 1991.

105 Pertsov D.A. Ionizing irradiation in the  biosphere. M.:Atomizdat, 1973.

106 Margulis U.Ya. Atomic energy and radiation safety. M., Energoatomizdat, 1988.

107 Aleksakhin R.M.  Nucleus energy and biosphere. M.:Energoizdat, 1982.

108 Ilyin L.A., Ivanov A.A., Kochetkov O.A. and others. Tehnogenic irradiation and safety  for human being. Under edition of  academic L.A. Ilyin. M.: Publishing house, 2006.

109 Izraeli Yu. A., Vakulovskiy S. M., Vetrov V. A. and others. Chernobyl: radioactive pollution  of natural ambiences. Under edition of  academic Yu. A. Izraeli.  L.:Hydrometeoizdat, 1990.

110 Gusev N.G., Belyaev V.A. Radioactive surges in biosphere: Reference book. M.:Energoatomizdat, 1991.

111 Possible surges of radiation and harmful chemical materials into the near ground layer of atmosphere. Under edition of E.N. Teverovsky and I.A. Ternovsky M.:Atomizdat, 1980.

112 Kozlov V.F. Reference book for  radiation safety. M.:Energoatomizdat, 1991.

113 Tehnogenic irradiation and safety of human being. Under edition of  academic L.A. Ilyin.; M.: Publishing house, 2006.

114 Agricultural radio ecology. Under edition R.M. Aleksahin, N.A.Korneyev. M.:Ecology, 1992.

115 Aleksakhin R.M., Buldakov L.A., Gubanov V.A. and others. Large radiation emergency: consequences and protective measures. Under edition  of L.A. Ilyin and V.A. Gubanov. M.: Publishing house, 2001.

116 ГН 10-117-99 "Republican possible levels  for contents of radio nuclides cezium-137 and stroncium-90 in food-stuffs and drinking water (РДУ-99)".

117 Republican possible levels  for contents  of cezium-137 and stroncium-90 in agricultural raw materials and provender.

118 Landscape map of the  Byelorussian SSR. M. 1:600000. ГУГК, 1984.

119 Landscapes of Belorussia / Under edition  of G.I. Martsinkevich, N.K. Klitsunova. Mn., 1989.

120 Useful minerals of Belarus / Edition board.: P.Z. Khomich and others. Mn., 2002.

121 Cadastre reference book. Peat fund  in the BSSR. Mogilevskaya area. Management of  state peat fund "Gostorffond" attached to Gosplan of the  BSSR. Mn., 1979.

122 Glazovskaya M.A. Geochemistry of  natural and technogenic landscapes. M., 1988.

123 Polynov B.B.  Teaching about landscapes // Questions of to geography. Collection. 33, 1953.

124  Paces T. Critical Loads of Trace Metals in Soils: a Method of Calculation. Water Air and Soil Pollution, 105, 1998. - 451-458 pp.

125 Borovik E.A. Fish growing lakes in Belorussia. Mn., 1970.

126 Fish: Reference book. Mn., 1989.

127 Red book of the Republic Belarus: Rare and being under threat of  disappearance types  of wild  animals - Minsk, БелЭН, 2004.

128 Pikulik M.M. Amphibious  in Belorussia - Mn., 1985.

129 Pikulik M.M., Bakharev V.A., Kosov S.V. Reptiles in Belorussia. - Mn., 1988.

130 Nikiforov E., Yaminskiy B.V., Shklyarov L.P.  Birds in Belorussia. - Mn., 1989.

131 Public health in  the Republic  of Belarus: official statistics, collection for 2005 / Ministry of public health of the Republic  of Belarus. - Minsk: ГУ РНМБ , 2006. – 276 pages.

132 Public healths in the  Republic of Belarus: official statistics, collection for 2006 / Ministry of public health of the Republic  of Belarus. - Minsk: ГУ РНМБ , 2007. – 280 pages.

133 Public health in the  Republic  of Belarus: official statistics, collection for 2007 / Ministry of public health of the Republic  of Belarus. - Minsk: ГУ РНМБ , 2008.

134 Public health in the  Republic  of Belarus: official statistics, collection for 2008 / Ministry of public health of the Republic  of Belarus. - Minsk: ГУ РНМБ , 2009.

135 Population of the  Republic of  Belarus: official statistics, collection for 2008/ Ministry of statistics and analysis of the  Republic of  Belarus. - Minsk, 2008.

136 Regions of the Republic  of Belarus: official statistics, collection for 2008 / Ministry of the statistics and analysisа Republics Belarusi. - Minsk, 2008.

137 Population  of the Republic of  Belarus,2008: official statistics, collection / Ministry of  statistics and analysis in the  Republic of  Belarus. - Minsk, 2008.

138 Regions of the Republic of Belarus, 2008: official statistics, collection  / Ministry statistics and analysis of the  Republic of  Belarus. - Minsk, 2008

139 Borovikov V.B. Statistics: art of  analyzising the  data with computer. For professionals / V.B. Borovikov. - СПб.: Peter, 2001. - 656 pages.

140 Petri A., Demonstrative statistics in medicine / A. Petri, K. Sebin; translation from Englich by  V.P. Leonov. - M.: ГЭОТАР МЕД, 2003. - 144 page.

141 Public health in  the Republic of  Belarus, 2005: official statistics, collection / Ministry of public health of the Republic  of Belarus. - Minsk: ГУ РНМБ, 2006. - 276 pages.

142 Public health in  the Republic  of Belarus, 2006: official statistics, collection / Ministry  of public health of the Republic of Belarus. - Minsk: ГУ РНМБ, 2007. – 280 pages.

143 Public health in the Republic  of Belarus, 2007: official statistics, collection / Ministry  of public health of the Republic Belarus. - Minsk: ГУ РНМБ, 2008.

144 Public health in  the Republic  of Belarus, 2008: official statistics, collection. / Ministry  of public health of the Republic of Belarus. - Minsk: ГУ РНМБ, 2009.

145 Polyakov S.M. Malignant new formations in Belarus 1998-2007: official statistics, collection. / S.M. Polyakov, L.F. Levin, N.G. Shebeko; under edition of  A.A.Grakovich (and others.). - Minsk: РНПЦ МТ, 2008. - 197 pages.

146 Letters Grodno regional executive committee No 01-01-30/32 dated  30.01.2009.

147 Kochanovskiy S.B., Vaneyeva I.P., Neverova T.A., Udovenko S.A., Yakubovskaya N.S. Particularities  of ecological restrictions at accommodation  of economic objects on  the types  of natural resources // Nature  exploitation and protection  of the surrounding environment / Collection  of  articles: Mn. - 2000.- Page 11.

148 Shachov I.S., Chernyak V.Ya. Ecological restrictions for exploitation of  sewage rivers // Land reclamation and water facilities. - 2000. - No 2. - Pages 37-38.

149 Stankevich A.P. Prediction of the water unstable  motion in the system of water streams down the  circled  areas. // Compilation.  Hydraulics  of opened river beds.  M.- ВНИИГИМ,1984,  pages 35-39.

150 Analysis of homogeneity  in  the rows  of river sewages. Recommendations. - Mn.: ЦНИИКИВР,  1985. - 40 pages.

151 Ponds  of Belarus as anthropogenic water  objects, their particularities and mode: monography/ I.I. Kirveli. Mn.: БГПУ, 2005 - 234 pages.

152 State water cadastre. Water resources, their use and the quality of  waters (for 2007)/ Mn., ЦНИКИВР, 2008.

153 Advanced methods  for prognosis  calculations of  spreading along the river networks of highly polluted waters with  taking into account migration forms of the most dangerous polluting materials. Recommendations// ГУ "Hydrochemical institute" Roshydromet, Rostov-over-Don: 2008, 166 pages.

154 Obligatory technological rules  for construction of  atomic power station with reactors of the type  ВВЭР-1000. ОТП-86. Volume I. Summary volume/ Ministry of energy and electrification of the  USSR.  Main technical management on construction and building industryi. M., 1988 -  112 pages.

155 Motivations  ofr making investments  into construction of the atomic power station within  the Republic  of Belarus.  Stage 4. Estimation of influence on the surrounding environment.  Explanatory note. 1588-П3-ОИ4.  Book 3.  Description  of the NPP. Specifications  for sources  of influence  from the NPP.  Ministry of energy in the Republic of Belarus. Projecting- research republican unitary enterprise «БЕЛНИПИЭНЕРГО-ПРОМ» / Mn., 2009 - 69 pages.

156 Protasov A. A., Silayeva A.A. Composition, distribution, abudance  of shellfish in water basins,  being subjected to  the influence  of tapping  warmed  sewage waters  from the power station //  Zhitomir, state pedagogical institute - 2002. -  No 10. - Page 16-17.

157 Protasov A. A. Fresh water perifiton.- Kiev: Наук. думка,  1994. - 307 page.

158 Gusev N.G., Belyaev V.A. Radioactive surges into  the biosphere: Reference book. M.:Energoatomizdat, 1991.

159 Permitted surges  of radiation and harmful chemical materials into near ground layer of atmosphere. Under edition of  E.N. Teverovsky and I.A. Ternovsky M.:Atomizdat, 1980.

160 Agricultural radioecology. Under edition of  R.M. Aleksahin, N.A.Korneyev M.:Ecology, 1992.

161 Georgievskiy V.B. Ecological and  dose model under radiation emergencies.  Kiev: Навукова думка, 1994.

162 Novels G.N.  Liquidation of consequences from the radiation emergences: Reference guide. M.: Publishing house, 1993.

163 Podolyak A., Bogdevich I. M., Ageets V. Yu., Timofeyev S. F. Radiologic estimation  of protective measures, applicable in agricultural complexеs of the  Republic of  Belarus in 2000-2005 years. (by 20-th anniversary of  emergency at Chernobyl AES). Radiation biology. Radioecology. 2007. Volume 47.  No 3.

164 Aleksakhin P.M., Fesenko S.V., Sanzharova N.I.  Main totals  of the works in the field of agricultural radioecology for liquidation of  consequences  from  the emergency at the Chernobyl AES in 1986-2001 years. Radiation biology. Radioecology. 2001. Volume 41. No  3.

165 Kashparov V.A, Lasarev N.M, Polischuk S.V.  Problems of agricultural radiology in Ukraine at the  modern stage. Agroekologichniy journal, 2005,  No 3.

166 Prister B.S.  Problem of long-term forecast for dynamics of  accumulation 137Cs  with plants. Radioactivity after nucleus blast and emergencies: Works ov International conference, Moscow, December, 5-6. 2005, Volume 3. Influence of  radiation pollution on the  anthropogenic and agricultural ecological systems. Doses of irradiation over the  population in the result  of radiation pollution over the surrounding environment under nucleus blast and emergencies.  Strategies and counter measures. Under edition of academician Yu.A.Izraeli.

167 Mosharov O.V. Forecast for accumulation of long living radio nuclides in agricultural plants: statistical methods and model. Thesis  for competition of  scientist degree  as candidate of  sciences. Obninsk, ВНИИСХРАЭ, 2006.

168 ГН 2.6.1.8-127-2000 Standards forradiation safety (НРБ-2000),  are  approved by resolution  of the Main state sanitary physician of the Republic of  Belarus dated January, 25. 2000 No  5.

169 "The International Nuclear Event Scale (INES)". User`s Manual. 2001 Edition. Jointly prepared by IAEA and OECD/NEA. International Atomic Energy Agency, Vienna, 2001

170 Project AES-2006.  Main specifications. Technical decisions on  the system  of safety.  Report of the First deputy of the general director. The Director on project making for objects. I.I.Kopytov. ФГУ "Atomenergoproject" the town of Tomsk, 13 of May, 2008)

171 AES-2006.  Technical requirements for development of the  base project. 2006.

172 USA-APWR DCD. 2008

173 INSAG-3. Reports on safety. Basic principles  for safety of atomic power stations.  Report of the  International consulting group on nuclear safety.-1989.- 92 pages.

174 Preliminary report on motivation  of safety for the  Leningrad NPP -2,  Cjhapter 15. Analysis  of emergencies, book 7. ФГУП «СПбАЭП», 2007.

175  A simplified approch to estimating reference source terms for LWR design. IAEA-TECDOC-1127.

176 Reports on motivation for safety  of Tyanivaniskoy NPP -2,  Chapter 15, Analysis  of emergencies, Book 4. ФГУП «СПбАЭП», 2002.

177 Fennovoima. Environmental Impact Assessment Report for a Nuclear Power Plant. Fennovoima Ltd., October 2008;

178  New Nuclear Power Plant in Lithuania. Environmental Impact Assessment Report Summary. International hearing. August, 27th. 2008.

179 Supplementing the Loviisa NPP with a third Plant Union - Loviisa 3. Environmental Impact Assessment Report Summary. Fortum Power and Heat Oy, 2008.

180 Shamov G.I. The river alluviums. L.: "Hydrometeorological publishers", 1959. - 378  pages.

181 Annenkov B.N., Yudintseva E.V.  Bases  of agricultural radiology. M.: Agropromizdat, 1991.

182 Krivolutskiy D.A., Tikhomirov F.A., Fedorov E.A. and others. Action  of ionizing radiation on bioscenosis. M.:Science, 1988.

183 Effects of ionizing radiation on non-human biota. Report of 56 Session United Nations Scientific Committee on the Effects of Atomic Radiation. Vienna, 2008.

184  Arrangements for Preparedness for a Nuclear or Radiological Emergency. Safety Guide, Safety Standards Series  No GS-G-2.1 / International Atomic Energy Agency. - Vienna: IAEA, 2007.

185  Generic Assessment Procedures for Determining Protective Actions during a Reactor Accident. IAEA-TECDOC-955 / International Atomic Energy Agency. - Vienna: IAEA, 1997. - 259 p.

186 Series of the publishings on safety, No  115. The international main standards of  safety for protection from ionizing irradiation and dangerous handling with the sources of  irradiation / International agency on atomic enery. - Vienne: MAGATE, 1997.

187 RASCAL 3.0, Description of Model and Methods, NUREG-1741 / USNRC: - Washington, DC 2001.

188  Generic Procedures for Assessment and Response during a Radiological Emergency. IAEA-TECDOC-1162 / International Atomic Energy Agency. - Vienna: IAEA, 2002.

189 Instructions on using. Determination of  the absorbed  doses of  irradiation by the  thyroid gland in the  populated settlements of the Republic  of Belarus: Approved  by the Ministry of  public health  in the Republic of  Belarus 03.10.08, No  048-0508. - Gomeli, 2008.

190 Recommendations of the  international commission on radiologic protection.  Publication  no  60 - Moscow. 1994.

191  Criteria for use in Preparedness and Response to a Nuclear or Radiological Emergency. Safety Guide. Safety Standards Series №GS-R-2.2 / International Atomic Energy Agency. — Vienna: IAEA, (in preparation).

21  LIST  OF ADOPTED ABBREVIATIONS

АСРТК - automatic system  for radiation technological control

АСУ ТП - automatic system for technological process management

AES -  atomic electric station

АЯЭ – agency for  nuclear energy

BQП5 - biochemical consumption  of oxygen

БПУ -  block point of control

БРУ-А - high-speed reduction device  for tapping  into the  atmosphere

БЭР - block  for electric distribution

БТЕ - british heat unit

ВВП -  gross internal product

ВАО -  highly active waste

ВКУ – iternal  corps device

ВВК - conclusion  of  internal reactor device

ВАБ - probability analysis for  safety

ВХВ -  harmful chemical materials

ВКР -  upper end breaker

ВХР - water chemical mode

ВПП -  gross primary product

ВПФ - external natural factors

ВХБ - water exploitation balance

ВМВС - Viliya-Minsk water system

ГЦНА - main circulating pumping unit

ГЦН - main circulating pump

ДР – distance  lattice

Д - destruction

ЖУ -  hard rest base

ЖРО -  fluid radioactive waste

ЖРС -  fluid radioactive ambience

ЖРС - undesigned emergency

ЗО -  protection shell

ЗКД -  zone  for controlled access

ЗРУ - protection distributing device

ЗН -  zone  for observation

ИС – regerence  event

ИЗВ – index of  pollution  for water

КИУМ -  ratio for utilization of  installed  power

КИП -  checking measuring instrument

КГС -  factor of hydraulic resistance

КТП -  factor  of heat mixing

МЭА - world energy  agency

МДР - minimum possible expediture

МД - power doses

НК -   guiding  channel

НЗХК - Novoisbirskiy  works for  chemical concentrates

НКВ -  lower end breaker

НИОКР - research and  development works

НТД - normative technical documentation

НЭ - normal exploitation

ННЭ -  breaches  in standard  exploitation

НЗК - an irretrievable protection container

ОЭСР – Organization for  cooperation and development

ОЯТ – worked out nucleus fuel

OAO -  open join-stock company

ОКБ ПГ -  experiment design agency "Hydropress"

ОКБ -  general kolimorphic bacillas

ООПТ - specially protected natural territory

ОВК - united auxiliary troop

ПС СУЗ -  consuming peg

ПЭЛ -  consuming element

ПООБ -  preliminary report on motivation safety

ПГ – steem generator

ПДК -   most permissible concentration

ПАВ - maximum emergency surge

РАО -  radioactive waste

РУ - reactor installation

РНУ КИ -  Russian scientific centre "Kurchatovskiy institute"

РВ - radioactive materials

РСА - diffusing ability of atmosphere

РП - platform

СУЗ - system  for control of protection

СРК - system  of radiation control

СПП - separator-industrial  overheater

СПОТ ПГ - system of passive tapping for  heat of the  steam generator

СПОТ ЗО - system of passive tapping for  heat of the  protective shells

СПОТ - system  for passive tapping of  heat

СЗЗ - sanitary-protection zone

СПАВ - syntetic surface-active materials

СКУ AES - system  for control and governing the atomic station

ТЭЦ – thermal electriс center

ТЭР -  fuel energy resources

ТЭС - heat electric station

ТЭК -  fuel energy complex

ТВС – heat producing  assembly

ТЗ -  technical requirements

TTO - transport-technological operations

ТРО -  hard radioactive waste

УТВС - advanced ТВС

УЛР -  device  for  localizing melted materials

УУФ -  installation  of  UV filtration

УОО - installation  of  the inverse osmosis

УВ - level  of interference

ХТРО – storehouse  for hard radiation waste

ХПК -  chemical consumption of the oxygen

ЦМС - center material storehouse

ЦВД -  cylinder of  high pressure

ЦНД -  cylinder of  low pressure

ЦДР – zirconium distance lattice

EB -  energy block

OOOKS -  building for treatment of  low-active waste

UKS - auxiliary reactor buildings

UIS -  premises of  reactor buildings